Physical Facilities, Maintenance, and Construction in Higher Education Institutions (HEIs)

Registers, Audit Frameworks, and Accreditation Evidence for NAAC, NIRF, QS I·GAUGE, and NBA

Dr Venkata Rama Krishna Tottempudi

Sai Saran Tottempudi

# ACKNOWLEDGEMENT

I express my deepest gratitude to all those who contributed directly or indirectly to the completion of this work on Physical Facilities, Maintenance, and Construction in Higher Education Institutions (HEIs): Policies, Registers, and Best Practices.

First and foremost, I sincerely thank the Institutional Leadership, Governing Councils, and Academic Administrators who have consistently emphasized the importance of infrastructure development, safety, and sustainability in higher education. Their vision has inspired the framework and direction of this book.

I owe special thanks to the faculty members, technical staff, estate and facilities departments, IT cell, safety officers, and housekeeping teams in various universities and colleges. Their day-to-day commitment to maintaining physical facilities and ensuring the smooth functioning of campus infrastructure provided valuable insights that shaped the case studies, compliance registers, and policy frameworks included in this volume.

My appreciation extends to the quality assurance bodies such as NAAC, NBA, NIRF, QS I·GAUGE, UGC, and AICTE, whose guidelines and standards have served as the foundation for aligning infrastructure management with accreditation, governance, and sustainability goals. Their benchmarks ensured this book remains relevant to both practitioners and institutions.

I am deeply grateful to my colleagues, peers, and research collaborators who provided constructive feedback, shared institutional reports, and contributed practical perspectives on infrastructure challenges and solutions. Their expertise enriched the comprehensiveness of this work.

A heartfelt acknowledgement goes to my family and well-wishers for their encouragement, patience, and constant support throughout the writing process. Without their understanding, this book would not have been possible.

Finally, I dedicate this work to the students, the ultimate beneficiaries of improved physical facilities and sustainable campus environments. Their needs for safe, inclusive, and accessible learning spaces have been the guiding principle behind every policy, register, and best practice presented in this book.

In addition, I gratefully acknowledge the support of Dr. P. Phanidhar Varma and Dr. Mahesh Babu Kota whose contributions have been invaluable.

Most importantly, I must thank my wife and best friend, Sailaja Tottempudi, for her unwavering support and strength through every phase of this journey.

Finally, I express my deep gratitude to my family and well-wishers for their continuous encouragement and moral support throughout this endeavor.

This book is a humble contribution toward building a more quality-conscious, outcome-oriented, and institutionally accountable higher education ecosystem in India.

Dr. V. Rama Krishna Tottempudi

Sai Saran Tottempudi

# About Dr. T. V. Rama Krishna

Dr. T. V. Rama Krishna is a distinguished academician, researcher, and administrator with 25 years of teaching experience and a proven record in higher education governance, academic leadership, accreditation, and quality assurance. His contributions extend across teaching, research supervision, institutional development, and academic administration in several reputed universities of Andhra Pradesh and Telangana.

He has successfully guided 5 Ph.D. scholars and continues to serve as a recognized research supervisor at Andhra University, JNTU Ananthapuram, Koneru Lakshmaiah Education Foundation (KLEF) University, and Sri Chandrasekharendra Saraswathi Viswa Mahavidyalaya University. His supervision has fostered high-quality research outcomes in engineering, technology, and applied sciences.

Dr. Rama Krishna is a prolific researcher with an extensive publication record of 97 research papers, including 50 indexed in Scopus and 3 in SCI journals. His research expertise is widely recognized, and his profile can be accessed here: Scopus Author ID – 56397099300.

Dr. T. V. Rama Krishna has held several distinguished academic and administrative positions across reputed institutions in Andhra Pradesh and Telangana. At Sanketika Vidya Parishad Engineering College (SVPEC), he served as the Ratified Principal from Andhra University, where he also took on responsibilities as Dean of Academics, Ratified Professor, and Member Secretary of the Governing Body, a statutory body under UGC. He later contributed as the Ratified Principal from JNTU, Hyderabad at Bharat Institute of Engineering and Technology (BIET), where his primary duties included serving as Dean of Academics and Member Secretary of the Governing Body.

At Sasi Institute of Technology and Engineering (SITE), he functioned as a Ratified Professor from JNTUK, Kakinada, while also serving as Principal and Dean of Academics. His statutory and governance roles at SITE included Governing Body Member, Academic Council Member Secretary, BoS Member, Finance Committee Coordinator, Planning & Development Committee Coordinator, NAAC Coordinator, IQAC Coordinator, and NBA Coordinator, reflecting his extensive expertise in quality assurance and institutional governance.

At Koneru Lakshmaiah College of Engineering (KLCE) / KLEF University, Dr. Rama Krishna contributed as a Ratified Professor, Director of e-Resources, Associate Dean of Academics, and Associate Dean of Library Resources & Technical Services and Certificate Courses. Additionally, he served as Professor In-Charge of Certificate Courses and the Central Library, while also holding statutory roles as Academic Council Member and BoS Member under UGC guidelines.

Earlier in his career, at R.V.R. & J.C. College of Engineering, he was ratified as an Assistant Professor and subsequently promoted to Associate Professor under Acharya Nagarjuna University. During this period, he also served as NBA Criterion 7 In-Charge, focusing on infrastructure, facilities, and sustainability in accreditation processes.

With his 25 years of teaching, 5 awarded Ph.D.s, 97 publications, and extensive administrative contributions, Dr. T. V. Rama Krishna stands as a respected leader in Indian higher education. His blend of research, academic leadership, and quality assurance roles has significantly advanced institutional growth, accreditation readiness, and global academic visibility.

🔗 LinkedIn Profile: Dr. Tottempudi Venkata Rama Krishna

# Abstract

Physical facilities, maintenance, and construction form the backbone of quality education delivery in Higher Education Institutions (HEIs). A well-structured infrastructure framework ensures not only the smooth functioning of academic and administrative activities but also contributes directly to student learning outcomes, research productivity, institutional reputation, and compliance with accreditation benchmarks. This book, Physical Facilities, Maintenance, and Construction in Higher Education Institutions (HEIs): Policies, Registers, and Best Practices, presents a comprehensive approach to managing campus infrastructure in alignment with national and international quality assurance frameworks.

The work emphasizes the holistic management of facilities including classrooms, laboratories, libraries, research centers, hostels, canteens, sports complexes, administrative blocks, and digital infrastructure such as ERP, LMS, and ICT services. It highlights the importance of maintenance policies—preventive, corrective, and annual contracts (AMCs)—in ensuring sustainability, safety, and longevity of resources. Special attention is given to compliance with NAAC, NBA, NIRF, QS I·GAUGE, AICTE, UGC, and ABET norms, which mandate systematic documentation, record-keeping, and audit-ready evidence to demonstrate effective utilization of infrastructure.

Registers and reporting mechanisms form a unique focus of the book. Templates for compliance registers, audit reports, facility allocation records, maintenance schedules, vendor agreements, and waste management systems are provided to support institutions in operationalizing policy frameworks. By standardizing documentation practices, the book enables institutions to integrate physical facilities governance with quality assurance and accreditation readiness.

Another key dimension addressed is sustainability and green campus development. Policies and registers for energy management, solar power, water conservation, waste recycling, and eco-friendly construction are mapped to Sustainable Development Goals (SDGs 3, 6, 9, 11, 12, and 13), ensuring that HEIs contribute to national and global sustainability agendas. The book also emphasizes safety and security through building codes, fire safety policies, disaster preparedness, and accessibility for differently-abled persons, thereby promoting inclusivity and resilience in infrastructure planning.

Through policy drafts, compliance checklists, registers, and model reports, this work equips administrators, estate officers, IQAC members, and academic leaders with practical tools for effective governance. It bridges the gap between theoretical policy frameworks and operational evidence required during institutional audits.

In conclusion, this book provides a practical, policy-driven, and accreditation-focused framework for managing physical facilities in HEIs. It is designed to serve as a handbook for institutional leaders, accreditation teams, and quality assurance professionals, ensuring that infrastructure development and maintenance are strategically aligned with educational excellence, regulatory compliance, and sustainable growth.

# Table of Contents

| S. No | Content | Pg. No |
| --- | --- | --- |
| 1 | Physical Facilities, Maintenance and Construction in Higher Education Institutions (HEIs) | 001 |
| 2 | Preventive Maintenance Schedule for Electrical Apparatus | 007 |
| 3 | Preventive Maintenance Schedule for Electrical & ICT Apparatus in HEIs | 009 |
| 4 | Electrical Maintenance and Operation Process Checklist | 012 |
| 5 | Building Maintenance | 023 |
| 6 | Policies Related to Physical Facilities, Maintenance & Construction | 029 |
| 7 | Master Plan & Campus Development Policy | 031 |
| 8 | Campus Facilities & Infrastructure in HEIs | 045 |
| 9 | Accessibility Policy | 056 |
| 10 | ICT Facility Policy | 063 |
| 11 | Infrastructure Development Policy | 069 |
| 12 | Space Allocation Policy | 073 |
| 13 | Green Campus Policy | 078 |
| 14 | Building Codes & Standards Compliance Policy | 083 |
| 15 | Sustainable Construction Policy | 089 |
| 16 | Annual Maintenance Contract (AMC) Policy | 097 |
| 17 | Capital Expenditure & Budget Allocation Policy | 105 |
| 18 | Budget Plan – Procurement of Stationery, Inventory, and Construction | 112 |
| 19 | Accreditation Compliance Policy | 116 |
| 20 | Waste Management & Recycling Policy | 121 |
| 21 | Energy & Utilities Management Policy | 128 |
| 22 | Standard List of Housekeeping Activities in HEIs | 134 |
| 23 | Standard List of Activities on Solar Panels in HEIs | 140 |
| 24 | Details of Maintenance on Battery Backups & Inverters | 146 |
| 25 | Documentation & Record-Keeping Policy | 152 |
| 26 | Disaster Management & Emergency Response Policy | 156 |
| 27 | Hazardous Materials Handling Policy | 163 |
| 28 | Water & Wastewater Management Policy | 173 |
| 29 | Vendor & Contractor Accountability Policy | 182 |
| 30 | Facility Audit & Inspection Policy | 191 |
| 31 | Building Safety & Security Policy | 206 |
| 32 | References | 214 |

# 1. Physical Facilities, Maintenance and Construction in Higher Education Institutions (HEIs)

## 1. Introduction

Physical infrastructure is a fundamental enabler of quality education in HEIs.

It encompasses academic facilities (classrooms, labs, libraries), residential facilities (hostels, staff quarters), administrative spaces, sports, healthcare, and utility infrastructure.

Well-planned physical facilities combined with systematic maintenance and construction policies ensure compliance with NAAC, NBA, NIRF, QS I·GAUGE, and NEP-2020 benchmarks.

## 2. Physical Facilities in HEIs

### a) Academic Facilities

Classrooms: Equipped with ICT (projectors, smart boards, Wi-Fi).

Laboratories: Subject-specific labs (science, engineering, language, computer).

Libraries: Digital + physical collections, reading halls, e-resource centers.

Research Centers: Dedicated spaces for innovation, incubation, and high-performance computing.

Examination Halls: Secured spaces with CCTV, biometric access, and ICT support.

### b) Administrative Facilities

Offices for management, departments, examination cell, IQAC, and finance.

ERP-enabled record rooms and data centers.

Meeting halls, seminar halls, and conference rooms.

### c) Student Facilities

Hostels with study spaces, Wi-Fi, and common areas.

Canteens, health centers, and counseling rooms.

Sports facilities (indoor & outdoor), gyms, auditoriums.

### d) Utility & Support Infrastructure

Power backup systems (UPS, generators, solar panels).

Safe drinking water and sanitation facilities.

Campus transport and parking areas.

Green initiatives – rainwater harvesting, waste management, e-waste recycling.

## 3. Maintenance of Physical Facilities

### a) Preventive Maintenance

Scheduled inspections of electrical systems, air conditioning, lifts, fire safety.

Regular servicing of ICT equipment (projectors, UPS, lab systems).

Landscaping and campus cleanliness through facility management teams.

### b) Corrective Maintenance

Repair/replacement of faulty equipment and furniture.

Emergency maintenance for network outages, water leakages, or power failures.

AMC (Annual Maintenance Contracts) for ICT, lab equipment, and utilities.

### c) Maintenance Registers

Hardware/Software Maintenance Register (IT Cell).

Building Maintenance Logbook (Engineering/Works Department).

Lab & Equipment Calibration Records (Science/Engineering Departments).

Obsolete Equipment Register (IT + Stores).

## 4. Construction in HEIs

### a) Planning and Development

Construction aligned with the Master Plan of the institution.

New buildings designed as eco-friendly, energy-efficient, and disability-inclusive.

Proposals vetted by Planning & Development Committee and approved by Governing Body.

### b) Funding & Approvals

Internal budget allocations.

Grants from UGC, AICTE, RUSA, World Bank Projects (TEQIP, EQUIP).

CSR contributions or PPP (Public-Private Partnership) initiatives.

### c) Execution & Monitoring

Engineering/Works Department executes projects with transparent tendering process.

Use of modern construction technology (prefab, green buildings).

Monthly progress reports submitted to Planning Committee.

### d) Safety & Compliance

Compliance with local building codes, fire safety, environmental laws, and accessibility standards.

Audit by internal and external committees at each stage.

## 5. Governance and Accountability

Engineering/Works Department → Oversees construction and building maintenance.

IT Cell → Maintains ICT-related infrastructure.

Library Committee → Oversees digital and physical library facilities.

Hostel & Student Affairs Committee → Maintains hostels, canteens, and student services.

Registrar/Finance Officer → Approves budgets, monitors expenditure.

## 6. Accreditation and Quality Assurance Linkages

NAAC: Criterion 4 (Infrastructure and Learning Resources) directly assesses adequacy and maintenance of facilities.

NBA: Criterion 7 (Facilities and Technical Support) emphasizes well-maintained labs and classrooms.

NIRF: TLR (Teaching, Learning & Resources) considers infrastructure as a core parameter.

QS I·GAUGE: Facilities, Diversity & Accessibility indicators include physical and ICT resources.

SDGs: SDG 9 (Infrastructure), SDG 11 (Sustainable Cities & Communities), SDG 12 (Responsible Consumption).

## 7. Challenges in Physical Facilities & Maintenance

Budget constraints for modernization.

Delays in construction due to administrative bottlenecks.

Rising maintenance costs for ICT and lab equipment.

E-waste and hazardous waste management.

Balancing heritage buildings with modern infrastructure requirements.

## 8. Recommendations

Adopt Facility Management Software (FMS) for monitoring repairs and maintenance.

Implement Green Building Codes and renewable energy systems.

Strengthen PPP models for infrastructure funding.

Schedule quarterly maintenance audits.

Introduce feedback mechanisms for users (faculty, staff, students).

## 9. Conclusion

Physical facilities are the backbone of quality higher education delivery. When combined with structured maintenance protocols and sustainable construction practices, they ensure that institutions remain future-ready, accreditation-compliant, and supportive of academic excellence, innovation, and student well-being.

### Physical Facilities & Maintenance Compliance Register

| S. No | Facility Type (Classroom/Lab/Library/Hostel/Admin/Utility) | Facility/Room No. or ID | Location / Department | Issue Reported (Yes/No) | Description of Issue / Maintenance Need | Date Reported | Priority (High/Medium/Low) | Action Plan Proposed | Responsible Team (IT/Engineering/Library/Hostel/Admin) | Target Resolution Date | Status (Open/In Progress/Closed) | Verified By (Committee/Officer) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Facility Type → Classify: Classroom, Lab, Library, Hostel, Admin Office, Utility (water/power).

Facility/Room No. or ID → Asset/Room identification (e.g., Lab-101, Library-Hall-A).

Location/Department → Specific department (Physics, Commerce, Admin Block).

Issue Reported → Drop-down: Yes/No.

Description of Issue → Example: “Projector not working,” “Water leakage,” “Broken chairs.”

Date Reported → When the issue was logged.

Priority → High (urgent – e.g., power outage), Medium (affects workflow), Low (minor).

Action Plan Proposed → Repair/Replace/AMC Contact/Upgrade.

Responsible Team → Engineering, IT Cell, Library Committee, Hostel Warden, Admin Office.

Target Resolution Date → Deadline for closure.

Status → Drop-down: Open / In Progress / Closed.

Verified By → Person/committee confirming resolution (e.g., HOD, Facility Manager).

Remarks → Notes like “Pending spare parts,” “Budget approval required.”

Sample Entries

| S. No. | Facility Type | Facility/Room No. | Location/Dept. | Issue Reported | Description of Issue | Date Reported | Priority | Action Plan Proposed | Responsible Team | Target Resolution Date | Status | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Classroom | Room-203 | Dept. of Commerce | Yes | Smart board not working | 05-09-2025 | High | Contact AMC vendor | IT Cell | 10-09-2025 | In Progress | HOD – Commerce | Part ordered |
| 2 | Lab | Lab-101 | Physics | Yes | 3 desktops not booting | 07-09-2025 | Medium | Replace RAM, check power supply | IT Cell – Hardware | 15-09-2025 | Open | HOD – Physics | To be verified after repair |
| 3 | Hostel | Block A – 2nd Floor | Hostel Dept. | Yes | Water leakage in washroom | 08-09-2025 | High | Plumber assigned | Engineering Dept. | 09-09-2025 | Closed | Hostel Warden | Resolved |
| 4 | Library | Reading Hall | Central Library | No | – | – | – | – | – | – | – | – | – |

### Monthly Physical Facilities Maintenance Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Engineering/IT Cell/Facility Manager)

### 1. Executive Summary

Total Facilities Audited: __________

Total Issues Reported: __________

Issues Resolved: __________

Pending Issues: __________

Compliance Percentage: __________ %

Key Highlights:

Example: “Smartboard issues resolved in 3 classrooms.”

Example: “Hostel water leakage fixed within 24 hours.”

Key Challenges:

Example: “Delay in projector AMC response.”

Example: “Budget approval pending for new lab equipment.”

### 2. Department/Facility-Wise Status

| S. No. | Department / Facility | No. of Issues Reported | Issues Resolved | Pending Issues | Priority Breakdown (High/Medium/Low) | Average Resolution Time (Days) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Classrooms (Commerce Block) | 3 | 2 | 1 | 1 High, 2 Medium | 4 | Pending spare part delivery |
| 2 | Physics Labs | 2 | 1 | 1 | 2 Medium | 5 | AMC vendor scheduled |
| 3 | Central Library | 1 | 1 | 0 | 1 Low | 2 | Completed |
| 4 | Hostel Block A | 4 | 3 | 1 | 2 High, 2 Medium | 3 | Plumbing completed, 1 electrical pending |
| 5 | Admin Offices | 2 | 2 | 0 | 2 Low | 1 | Fully resolved |

### 3. High-Priority Issues (Unresolved)

| Facility / Location | Description of Issue | Date Reported | Action Taken | Responsible Team | Target Resolution Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Commerce Block – Room 203 | Smartboard not working | 05-09-2025 | Vendor contacted, part ordered | IT Cell | 15-09-2025 | In Progress |
| Hostel Block A – 2nd Floor | Electrical short-circuit | 09-09-2025 | Temporary fix done, rewiring scheduled | Engineering | 12-09-2025 | Pending |

### 4. Preventive Maintenance Activities Completed

Electrical: Transformer serviced, backup generators checked.

ICT: Antivirus updated, UPS batteries inspected.

Water/Sanitation: RO systems serviced, leakages fixed.

Furniture: 10 desks repaired in Commerce classrooms.

### 5. Action Taken Report (ATR)

Example: “Wi-Fi complaint in Library – extra access point installed on 07-09-2025.”

Example: “Obsolete desktops in Lab 2 – removed and added to Obsolete Equipment Register on 10-09-2025.”

### 6. Recommendations

Install facility monitoring software for real-time tracking.

Expand AMC coverage for smart classroom equipment.

Allocate dedicated budget line for preventive maintenance.

Conduct monthly feedback survey from departments on facility status.

### 7. Verification & Approval

Report Prepared By: __________________ (Facility Manager / IT Cell Officer)

Verified By: __________________ (Head of Engineering/IT Cell)

Approved By: __________________ (Registrar / Dean / IQAC Coordinator)

# 2. Preventive Maintenance Schedule for Electrical Apparatus

## 1. Battery Systems

Check Voltage → Monthly

Ensures batteries deliver the required output consistently.

Check Voltage Alarm → Monthly

Verifies that alarms for over/under-voltage conditions are functional.

Specific Gravity and Plates → Annually

Maintains chemical balance and structural integrity of lead-acid or similar battery types.

◆ Benefit: Prevents power failure during outages and ensures backup systems remain reliable.

## 2. Emergency Transfer Schemes

Standby Generators – Run Up → Weekly

Regular testing keeps generators in ready condition.

Complete Transfer Test → Annually

Simulates full system transfer to backup power, ensuring seamless emergency readiness.

◆ Benefit: Avoids system downtime in critical moments and validates generator reliability.

## 3. Main Circuit Breakers

Operational Check → Monthly

Confirms breakers function correctly and can interrupt circuits when required.

Oil Inspection → Annually & Every 3 Years

Checks insulation oil for contamination or degradation, preventing overheating and faults.

◆ Benefit: Prevents insulation breakdown, electrical fires, and catastrophic system failure.

## 4. Main Substation Transformers

Temperature & Load Check → Monthly

Verifies that transformers are not overloaded and operating within safe temperature limits.

Oil Inspection → Annually & Every 3 Years

Oil analysis detects contamination, ensuring insulation and cooling effectiveness.

◆ Benefit: Improves transformer lifespan, reduces overload risk, and avoids breakdowns.

## 5. Motors

Bearings → Annually

Inspected for wear to prevent failures.

Greasing → Annually (or as required)

Lubrication minimizes friction and overheating.

Ventilation → Annually

Ensures cooling systems are free from blockages.

◆ Benefit: Keeps motors energy efficient, prevents unexpected downtime, and extends service life.

## 6. Protection Equipment

Cleaned and Checked for Calibration → Annually

Maintains proper functioning of protective relays and devices.

Kilowatt-hour Meters → Every 3 Years

Calibrated to ensure accurate measurement of energy consumption.

◆ Benefit: Protects against electrical faults, ensures fair billing, and maintains compliance.

## 7. Substation – High Voltage

Incoming Lines – Dirty Atmosphere → Annually

Dust and pollution increase insulation breakdown risk, requiring frequent checks.

Incoming Lines – Clean Areas → Every 2 Years

Cleaner environments reduce the frequency of checks needed.

◆ Benefit: Ensures safety and uninterrupted power supply by preventing line faults.

## 8. Unit Substations

Ground Indicators → Monthly

Monitors grounding systems to avoid electrical shocks.

Sump Pump → Monthly

Prevents water accumulation and flooding in substations.

Housekeeping → Monthly

Ensures safe, clutter-free working environment.

Temperature & Load Check → Annually

Avoids overheating and overloading of local transformers.

Oil Inspection (Transformers) → Annually & Every 3 Years

Similar to main substation transformers, ensures insulation and cooling.

◆ Benefit: Prevents accidents, maintains substation reliability, and ensures smooth operation.

## 9. Frequency Codes (PM Frequency)

| Frequency | Activities |
| --- | --- |
| Weekly | Generator tests, sump pump checks. |
| Monthly | Voltage checks, breaker operational checks, transformer load checks, housekeeping. |
| Annually | Oil inspections, motor maintenance, protective equipment calibration. |
| Every 2 Years | High-voltage incoming lines (clean areas). |
| Every 3 Years | Circuit breaker and transformer oil checks, meter calibration. |
| Change Only If Required | Greasing motors and other conditional replacements. |

## 10. Importance of Preventive Maintenance

Reliability → Reduces the risk of sudden equipment failure.

Safety → Protects workers, students, and infrastructure from electrical hazards.

Longevity → Extends the service life of expensive electrical assets.

Efficiency → Keeps energy distribution smooth and optimized.

Compliance → Ensures adherence to industrial safety regulations and audit standards.

# 3. Preventive Maintenance Schedule for Electrical & ICT Apparatus in HEIs

## 1. UPS & Battery Backup Systems

Check Voltage → Monthly

Check Voltage Alarm → Monthly

Specific Gravity / Battery Health Test → Annually

◆ Ensures uninterrupted power for servers, labs, and examination systems. Prevents power loss during outages.

## 2. Generators & Emergency Power

Run Generator (No-load test) → Weekly

Complete Power Transfer Simulation → Annually

◆ Keeps standby power supply reliable for classrooms, labs, and hostels during outages.

## 3. Classroom Projectors & Smart Boards

Operational Check → Monthly

Lamp/Filter Cleaning → Quarterly

Deep Service / Calibration → Annually

◆ Ensures smart classrooms remain functional without interruptions.

## 4. Campus Transformers & Substations

Temperature & Load Check → Monthly

Oil Inspection & Analysis → Annually & Every 3 Years

◆ Protects against overload, overheating, and energy supply failures for hostels, labs, and admin offices.

## 5. Laboratory Equipment (Computers, Instruments, Servers)

Hardware Check (RAM, Storage, Boot) → Monthly

Dust Cleaning / Ventilation Check → Quarterly

Calibration of Instruments → Annually

◆ Keeps labs (Physics, Chemistry, Computer Science, Engineering) safe and ready for academic/research work.

## 6. Solar Panels & Renewable Energy Units

Cleaning of Panels → Monthly

Inverter/Controller Check → Quarterly

Performance & Energy Yield Audit → Annually

◆ Maintains energy efficiency, supports green campus initiatives, and ensures compliance with SDG goals.

## 7. Safety & Protection Equipment

Fire Extinguishers (Check pressure & expiry) → Quarterly

Electrical Protection Devices (ELCBs, MCBs) → Annually

Energy Meters – Calibration → Every 3 Years

◆ Ensures safety and accurate energy monitoring across hostels, labs, and classrooms.

## 8. Networking & ICT Infrastructure

Wi-Fi Access Points & Switches – Reboot/Test → Monthly

Cabling & Rack Inspection → Quarterly

Firewall/Server Backup Testing → Annually

◆ Keeps campus connectivity smooth, reliable, and cybersecure.

## 9. Hostel & Utility Equipment

Water Pumps (Motor Check, Lubrication) → Monthly

Sump Pump & Drainage → Monthly

Electrical Wiring Inspection → Annually

◆ Ensures student services run without breakdowns.

### PM Frequency Codes for HEIs

| Frequency | Activities |
| --- | --- |
| Weekly | Generator test runs, sump pump operation. |
| Monthly | UPS checks, projector operation, Wi-Fi access point tests, solar panel cleaning. |
| Quarterly | Filter cleaning (projectors/AC), lab dust removal, fire extinguisher inspection. |
| Annually | Calibration of lab instruments, deep cleaning/service of projectors, oil inspection for transformers, firewall/server test. |
| Every 3 Years | Transformer oil deep check, energy meter calibration, replacement of end-of-life UPS batteries. |
| As Required | Lamp/toner replacement, grease for motors, IT equipment upgrades. |

### Benefits for HEIs

Reliability → Smooth academic operations (smart classrooms, labs, hostels).

Safety → Fire, electrical, and cyber risks reduced.

Longevity → Equipment lifespan extended, saving costs.

Sustainability → Supports NAAC/NBA audits, SDGs (clean energy, responsible consumption).

Compliance → Provides verifiable documentation for IQAC, Green Audits, and accreditation bodies.

### Preventive Maintenance Register – HEIs

| S. No. | Equipment / Facility | Preventive Maintenance Activity | Frequency (Weekly/Monthly/Quarterly/Annually/3-Year/As Required) | Date Scheduled | Date Completed | Status (Pending/In Progress/Completed) | Responsible Person / Team | Verified By (IT/Engineering/Facility Committee) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number for record-keeping.

Equipment / Facility → UPS, Generator, Projector, Transformer, Solar Panel, Lab PC, Wi-Fi AP, etc.

Preventive Maintenance Activity → Example: “Check Voltage,” “Clean Air Filter,” “Calibration,” “Oil Inspection.”

Frequency → Drop-down menu: Weekly, Monthly, Quarterly, Annually, 3-Year, As Required.

Date Scheduled → Planned date of activity.

Date Completed → Actual completion date.

Status → Drop-down: Pending / In Progress / Completed.

Responsible Person / Team → IT Cell, Engineering Dept., Lab In-Charge, Vendor.

Verified By → HOD, Facility Committee, or Audit Officer confirming the activity.

Remarks → Notes like “Part replaced,” “Vendor delayed,” “Shifted to next audit cycle”.

Sample Entries

| S. No. | Equipment / Facility | Preventive Maintenance Activity | Frequency | Date Scheduled | Date Completed | Status | Responsible Person / Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | UPS – Admin Block | Check Voltage & Alarm | Monthly | 05-09-2025 | 06-09-2025 | Completed | IT Cell – Anil Kumar | HOD – Admin | Battery health normal |
| 2 | Generator – Hostel | Run Test (No Load) | Weekly | 10-09-2025 | 10-09-2025 | Completed | Engg. Dept. – Rajesh | Hostel Warden | Operational |
| 3 | Projector – Room 203 | Filter Cleaning | Quarterly | 15-09-2025 | – | Pending | IT Cell – AV Team | Dean – Academics | Lamp replacement required |
| 4 | Lab PCs – Physics Lab | Dust Cleaning & Ventilation Check | Quarterly | 20-09-2025 | 21-09-2025 | Completed | Lab In-Charge | IQAC Rep. | 3 PCs marked for upgrade |
| 5 | Solar Panels – Library Roof | Panel Cleaning & Inverter Check | Monthly | 25-09-2025 | 25-09-2025 | Completed | Engg. Dept. – Green Cell | Sustainability Committee | Yield report submitted |
| 6 | Transformer – Substation | Oil Inspection | Annually | 30-09-2025 | – | In Progress | Vendor – ABC Power Ltd. | Engg. Dept. Head | Awaiting oil sample results |

# 4. Electrical Maintenance and Operation Process Checklist

What this checklist is

A structured review of everything needed to manage electrical assets effectively.

Divided into process areas (numbered 1–11), each covering a major domain (documentation, training, maintenance, safety, etc.).

Each lettered item (A, B, C, etc.) is a control point to verify with evidence (manuals, reports, calibration certificates, etc.).

Helps institutions avoid accidents, outages, regulatory penalties, and inefficiency.

## 1. Documentation & Drawings

As-built drawings: Must reflect the current state of the system, easily accessible.

Instruction manuals: Available in labs, substations, and control rooms.

Revision control: After every modification, manuals/drawings are updated with approval stamps, revision logs, and version numbers.

Why: Prevents errors during maintenance and ensures new staff can operate equipment safely.

## 2. Maintenance Program Design & Criticality

Maintenance plan: Defines scope, frequency, methods, responsibilities.

Evidence of execution: Completed preventive maintenance (PM) checklists, sign-offs, backlog reports.

Updates after change: Linked to Management of Change (MOC) system.

Critical equipment: Identified and prioritized (e.g., UPS for data center, substation transformers).

Work controls: Lockout/Tagout, permits, supervision.

Redundancy: Configurations like N+1 ensure continuous service.

Condition-based adjustment: Test results like insulation resistance, DGA (oil analysis), breaker contact resistance trend over time.

Repair vs. replace decisions: Based on life-cycle cost, downtime risks, and spares availability.

Why: Keeps essential teaching, research, and campus operations uninterrupted.

## 3. Technical Training & Competence

Formal training program: Curriculum, refresher courses, periodic testing.

Training records: Up-to-date logs of who has been trained and on what.

Needs analysis: Identifies training gaps.

Program review: Updates content for new hazards or technologies.

Test instruments: Available, fit-for-purpose, and within calibration.

Why: Competent staff reduce risks of accidents and costly mistakes.

## 4. System Studies & Protective Devices

Short-circuit & coordination studies: Must reflect current one-line diagram.

Protective devices: Tested periodically (relays, breakers, fuses).

Revalidation: After any major system change or utility supply variation.

Why: Ensures devices trip correctly to prevent large-scale blackouts or equipment damage.

## 5. Arc-Flash & PPE Management

Arc-flash studies: Performed and labels posted on equipment.

PPE categories: Clearly marked (face shield, gloves, arc suits).

Updates: Required when system capacity or fault levels change.

Why: Protects technicians from life-threatening electrical incidents.

## 6. Load & Power-Quality Monitoring

Load monitoring: Logs of demand, feeder loads, transformer performance.

Power quality: Monitors harmonics, voltage sags/swells.

Corrective actions: Derating, balancing, filters as needed.

Why: Reduces outages, protects sensitive lab equipment, ensures energy efficiency.

## 7. Unplanned-Outage Risk & Investigation

Cost awareness: Staff trained on consequences (safety, academic loss, fines).

Other liabilities: Environmental violations, missed research/project deadlines.

Root Cause Analysis (RCA): Formal investigations after outages.

Feedback loop: Results used to improve design, maintenance, and training.

Why: Prevents repeat failures and ensures accountability.

## 8. Environmental Compliance

Inclusion in environmental manual: Especially for oil-filled transformers, batteries.

Worker training: Spill response, waste handling.

Audits: Physical verification of containment, labeling, disposal manifests.

Why: Protects environment and ensures regulatory compliance.

## 9. Hazardous-Area Identification

Drawings: Hazardous zones marked (labs, chemical storage).

Signage: Physical warnings in place.

Updates: After modifications to layouts or installations.

Why: Prevents ignition of flammable areas, aligns with safety codes.

## 10. Electrical Safety Manual & Work Practices

Work procedures: LOTO, energized work permits, absence-of-voltage testing.

Manual updates: Reflect code changes and lessons learned.

Corrective actions: Incidents documented and closed.

Training & assessments: To ensure workers follow procedures.

Audits: Supervisors verify compliance in field conditions.

Why: Enforces a culture of safety and accountability.

## 11. Emergency Repair & Spares Readiness

Emergency repair plan: Lists critical assets and action steps.

Contact lists: Contractors, suppliers, utilities.

Spares program: Controlled inventory, shelf-life checks.

Updates: After equipment additions/removals.

Why: Enables fast recovery and minimizes downtime.

### Evidence Required

Controlled drawings, PM records, calibration certificates, training logs, arc-flash labels, PQ data, RCA reports, environmental permits, safety audits, spare inventory, emergency call trees.

### Typical Gaps

Outdated one-lines, expired PPE labels, missing calibration, uncontrolled spares, training lapses, studies not updated post-upgrade, undocumented settings changes.

### How to Adapt for HEIs

Scope: Campus substations, UPS systems in data centers, smart classroom panels, lab DBs, hostel power systems.

Audit tie-in: Link to ICT/Facilities Monthly Reports.

Accreditation evidence: Use as NAAC/NBA/NIRF/ISO documentation.

Registers: Connect corrective actions to Preventive Maintenance Register & Monthly Physical Facilities Maintenance Report.

### Electrical Compliance Register

| S. No. | Process Area (Block No.) | Checklist Item | Compliance Status (Yes/No/Partial) | Evidence/Document Reference | Date of Last Review | Responsible Person/Team | Next Due Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Breakdown

S. No. → Serial number for tracking.

Process Area (Block No.) → Refers to 1–11 (Documentation, Maintenance, Training, etc.).

Checklist Item → Sub-point being verified (e.g., “Are updated as-built drawings available?”).

Compliance Status → Drop-down: Yes / No / Partial.

Evidence/Document Reference → File name, register no., link to scanned copy.

Date of Last Review → Last time this was verified.

Responsible Person/Team → IT Cell, Engineering Dept., Safety Officer, Lab In-Charge.

Next Due Date → When next audit/check is due.

Remarks → Notes like “Update required,” “Pending budget approval,” etc.

Sample Entries

| S. No. | Process Area | Checklist Item | Compliance Status | Evidence | Date of Last Review | Responsible Person | Next Due Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Documentation (Block 1) | Do updated as-built drawings exist? | Yes | Drawing Register #D-2025 | 05-09-2025 | Engineering Dept. | 05-09-2026 | Verified during annual audit |
| 2 | Documentation (Block 1) | Are equipment manuals available? | Partial | Manual Library, Shelf 3 | 05-09-2025 | IT Cell | 30-09-2025 | 2 manuals missing for new UPS |
| 3 | Maintenance Program (Block 2) | Is there a documented PM plan? | Yes | Preventive Maintenance Register | 01-09-2025 | Facilities Manager | 01-03-2026 | Updated for new lab equipment |
| 4 | Training (Block 3) | Are training records current? | No | HR Training Records | 01-08-2025 | HR + Safety Officer | 01-12-2025 | Refresher training overdue |
| 5 | Arc-Flash & PPE (Block 5) | Are arc-flash labels posted? | Partial | Electrical Panel Photos | 05-09-2025 | Safety Officer | 05-12-2025 | 3 panels missing updated labels |
| 6 | Spares Readiness (Block 11) | Is spare inventory updated? | Yes | Inventory Register – Stores | 10-09-2025 | Stores Dept. | 10-03-2026 | Verified, stock levels adequate |

### Fault & Rectification History Register – Electrical Equipment

| Serial No. | Equipment Code | Equipment Description | Date of Fault | Description of Fault | Corrective Actions Taken | Responsible Person / Vendor | Verified By | Evidence Reference (Service Report / Invoice / Photo) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial No. → Running entry number.

Equipment Code → Unique ID for tracking (e.g., UPS-01, TRF-03, GEN-05).

Equipment Description → Name/type (UPS 10KVA, Substation Transformer, Lab Motor, Circuit Breaker).

Date of Fault → When the issue occurred.

Description of Fault → Short explanation (overheating, short circuit, tripping, oil leakage).

Corrective Actions Taken → Repair, replacement, rewiring, vendor service, preventive checks.

Responsible Person/Vendor → Facilities team / AMC vendor / IT Cell.

Verified By → Supervisor, Electrical Engineer, IQAC, or CDC.

Evidence Reference → Service report, invoice, photo of rectified equipment.

Remarks → Notes about follow-up, warranty, repeat issues.

Sample Entries

| Serial No. | Equipment Code | Equipment Description | Date of Fault | Description of Fault | Corrective Actions Taken | Responsible Person / Vendor | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | UPS-01 | UPS 10 KVA – Academic Block A | 03-09-2025 | Backup failure – battery not holding charge | Replaced 2 faulty batteries; preventive maintenance done | Vendor – Numeric AMC | Facilities Head | AMC/UPS/2025/03 | Stable after service |
| 2 | TRF-03 | 100 KVA Transformer – Substation | 05-09-2025 | Oil leakage detected at gasket | Oil top-up, gasket replaced, insulation tested | Facilities Team | Electrical Engineer | Report/TRF/0905 | Scheduled annual oil test |
| 3 | GEN-05 | 50 KVA Diesel Generator – Hostel B | 06-09-2025 | Failed to start – starter motor fault | Starter motor replaced; load test successful | AMC Vendor – Cummins | CDC | GEN/AMC/0906 | Working, monitored weekly |
| 4 | MTR-12 | Induction Motor – Physics Lab | 08-09-2025 | Overheating and unusual vibration | Bearings replaced, motor rewound | Lab Technician | HOD – Physics | LAB/MTR/0908 | Needs quarterly vibration test |
| 5 | INV-07 | Solar Inverter – Research Block | 10-09-2025 | Inverter error code 101 – low voltage | Firmware reset, DC input cables tightened | Vendor – SunTech Solar | Green Campus In-Charge | SOL/INV/0910 | Monitoring efficiency weekly |

### Electrical Faults & Corrective Actions Register

| Serial No. | Date of Fault | Location of the Fault (Block / Lab / Hostel / Substation) | Description of the Fault | Corrective Actions Taken | Responsible Officer / Vendor | Verified By | Evidence Reference (Service Report / Photo / Invoice) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial No. → Unique entry number for tracking.

Date of Fault → Date the fault occurred or was reported.

Location of the Fault → Exact place (Academic Block A, Physics Lab, Hostel C, Substation).

Description of the Fault → Short summary (short circuit, tripping, overheating, low voltage, cable fault, light not working).

Corrective Actions Taken → Repair, replacement, rewiring, preventive checks, vendor call.

Responsible Officer / Vendor → Facilities staff, electrician, AMC vendor.

Verified By → HOD, Electrical Engineer, Facilities Head, or IQAC.

Evidence Reference → Attach proof (service report ID, invoice, before/after photo).

Remarks → Notes on follow-up, warranty, repeat issue monitoring.

Sample Entries

| Serial No. | Date of Fault | Location of the Fault | Description of the Fault | Corrective Actions Taken | Responsible Officer / Vendor | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 03-09-2025 | Academic Block A – Room 203 | Lights flickering due to loose wiring | Rewiring done, switchboard replaced | Campus Electrician | Facilities Supervisor | Report/ELEC/0903 | Stable after repair |
| 2 | 05-09-2025 | Substation – Transformer TRF-03 | Oil leakage at gasket | Gasket replaced, oil top-up done | Vendor – PowerGrid AMC | Electrical Engineer | AMC/TRANS/0905 | Annual oil test scheduled |
| 3 | 06-09-2025 | Hostel Block B Corridor | Circuit breaker tripped during overload | Reset breaker, redistributed load | Facilities Team | Hostel Warden | Log/HOST/0906 | Load balancing planned |
| 4 | 08-09-2025 | Physics Lab 101 | Overheating of induction motor | Bearings replaced, motor rewound | Vendor – Motor Service | HOD – Physics | LAB/MTR/0908 | Preventive vibration test required |
| 5 | 10-09-2025 | IT Block – Data Center | UPS not switching to backup mode | Faulty battery replaced | Vendor – Numeric AMC | IT Cell In-Charge | AMC/UPS/0910 | Monitoring backup time weekly |

### Electrical Power Shutdown Register – [Year XXXX–YY]

| Serial No. | Date of Shutdown | Reason for Shutdown (Planned / Unplanned) | Description of the Shutdown (Location, Duration, Impact) | Corrective Actions Taken | Responsible Officer / Vendor | Verified By (Facilities / Safety Officer) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial No. → Running entry number.

Date of Shutdown → When the power outage occurred.

Reason for Shutdown →

Planned → Preventive maintenance, load testing, transformer servicing.

Unplanned → Equipment failure, overload, short circuit, grid failure.

Description of Shutdown → Details of location, duration, affected facilities (labs, hostels, classrooms, IT).

Corrective Actions Taken → Immediate measures (repairs, load balancing, vendor call, replacement).

Responsible Officer / Vendor → Facilities Manager, Electrical Engineer, AMC Vendor.

Verified By → Safety Committee / Registrar / IQAC.

Remarks → Notes on follow-up, recurring issues, preventive steps.

Sample Entries

| Serial No. | Date of Shutdown | Reason for Shutdown | Description of the Shutdown | Corrective Actions Taken | Responsible Officer / Vendor | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-07-2025 | Planned | Transformer TRF-02 maintenance, Substation Block – Power off for 3 hrs, affected Admin Block & Library | Oil top-up and relay testing done, power restored safely | Facilities Dept. + AMC Vendor | Electrical Engineer | Preventive maintenance completed |
| 2 | 15-08-2025 | Unplanned | Cable fault near Hostel Block B, outage lasted 2 hrs, impacted hostel lighting and mess | Faulty cable replaced, rewiring done | Campus Electrician | Facilities Manager | Monitoring cable load |
| 3 | 10-09-2025 | Planned | UPS load testing in IT Block – Data Center offline for 1 hr | UPS batteries checked, preventive replacement scheduled | IT Cell + Vendor | Registrar | Report linked to AMC log |
| 4 | 18-09-2025 | Unplanned | Generator failure during storm – Academic Block without power for 45 min | Generator serviced, fuel filter replaced | Cummins Vendor | Safety Officer | Vendor issued performance guarantee |
| 5 | 20-09-2025 | Planned | Main Substation power shutdown for annual inspection, 6 hrs campus-wide outage | Oil DGA test, breaker checks, earth resistance testing | PowerGrid AMC | Governing Body | Scheduled inspection report attached |

### Special Electrical Lighting Arrangements Register

| Date of Lighting | Location (Hall / Ground / Block) | Purpose / Event | Number of Illumination Points Installed | Number of Units of Power Consumed (kWh) | Amount (₹) | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Date of Lighting → When the lighting arrangement was done.

Location → Place where lighting was used (Auditorium, Ground, Block A, Hostel).

Purpose / Event → Why the lighting was arranged (Convocation, Annual Day, Sports Meet, Seminar).

Number of Illumination Points → No. of lights/floodlights/decorative fixtures used.

Number of Units Consumed → Total energy consumed in kWh (calculated from load × hours).

Amount (₹) → Cost incurred (based on units × tariff rate).

Responsible Officer / Dept. → Facilities / Electrical Dept. / Event Coordinator.

Verified By → Accounts Officer / Registrar / Audit Team.

Remarks → Notes on efficiency, re-use, or sustainability (e.g., LED vs. halogen).

Sample Entries

| Date of Lighting | Location | Purpose / Event | Number of Illumination Points | Units Consumed (kWh) | Amount (₹) | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05-08-2025 | Main Auditorium | Convocation Ceremony | 120 | 450 | 3,600 | Electrical Supervisor | Accounts Dept. | Used 100% LED fixtures |
| 10-09-2025 | Sports Ground | Annual Sports Meet | 80 (Floodlights) | 620 | 5,200 | Facilities Manager | Registrar | Solar backup used for 20% |
| 15-09-2025 | Library Block | Cultural Fest – Exhibition | 60 | 310 | 2,480 | Event Coordinator | IQAC | Decorative LED strips reused |
| 20-09-2025 | Hostel Block C | Festival Celebration | 40 | 180 | 1,440 | Hostel Warden | Facilities Head | Lights borrowed from central store |
| 25-09-2025 | Research Block | International Seminar | 30 | 120 | 960 | IT & Electrical Cell | Audit Officer | Power managed via UPS backup |

### Power Generation Details Register

| Month – Year | Type of Power Generated (Solar / Wind / DG / Biogas / Other) | Number of Units Generated (kWh) | Number of Units Consumed (kWh) | Surplus Units Exported (kWh) | Amount Earned (₹) | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Month – Year → Reporting period (e.g., Aug-2025).

Type of Power Generated → Solar panels, wind turbine, diesel generator, biogas, hybrid.

Number of Units Generated → Energy produced (kWh) based on meter readings.

Number of Units Consumed → Energy used within campus facilities.

Surplus Units Exported → Units sent to the grid (if applicable).

Amount Earned → Income through net metering/export (Units × tariff rate).

Responsible Officer / Dept. → Green Campus Cell / Facilities / Electrical Engineer.

Verified By → Registrar / IQAC / Governing Body.

Remarks → Notes on efficiency, maintenance, outages, or renewable integration.

Sample Entries

| Month – Year | Type of Power Generated | Units Generated (kWh) | Units Consumed (kWh) | Surplus Exported (kWh) | Amount Earned (₹) | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Aug-2025 | Solar PV Plant (200 kW) | 25,000 | 20,000 | 5,000 | 35,000 | Green Campus In-Charge | Facilities Head | Exported surplus under net metering |
| Aug-2025 | Diesel Generator (100 kVA) | 2,500 | 2,500 | – | – | Electrical Engineer | Registrar | Used during 3 power shutdowns |
| Sep-2025 | Solar PV Plant (200 kW) | 22,000 | 18,000 | 4,000 | 28,000 | Green Campus In-Charge | IQAC | Cloudy weather reduced generation |
| Sep-2025 | Biogas Plant | 1,200 | 1,200 | – | – | Facilities Manager | Safety Officer | Powered hostel kitchen hot water system |
| Sep-2025 | Wind Turbine (50 kW) | 8,000 | 6,000 | 2,000 | 10,000 | Renewable Energy Cell | Governing Body | Grid export successfully credited |

### Electrical Consumption Register – [Month-Year]

| Month + Year | Location (Block / Lab / Hostel / Library / Ground) | Number of Units Consumed (kWh) | Type of Power (Grid / Solar / DG / Wind / Biogas) | Amount (₹) | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Month + Year → Reporting period (e.g., Aug-2025).

Location → Place of consumption (Academic Block A, Hostel Block B, IT Block, Sports Ground).

Number of Units Consumed → Meter reading in kWh.

Type of Power → Grid electricity, Solar, Diesel Generator (DG), Wind, Biogas.

Amount (₹) → Cost calculated (Units × Tariff Rate).

Responsible Officer / Dept. → Facilities, Electrical Engineer, Hostel Warden, Lab In-Charge.

Verified By → Accounts / Registrar / Audit Team.

Remarks → Notes (e.g., high usage, breakdown, efficiency measures).

Sample Entries

| Month + Year | Location | Units Consumed (kWh) | Type of Power | Amount (₹) | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Aug-2025 | Academic Block A | 12,500 | Grid | 1,00,000 | Electrical Engineer | Accounts Dept. | Peak usage due to AC load |
| Aug-2025 | IT Block – Data Center | 8,000 | Solar + Grid | 60,000 | IT Cell In-Charge | Registrar | 40% powered by solar |
| Aug-2025 | Hostel Block B | 6,200 | Grid | 49,600 | Hostel Warden | Facilities Manager | Usage spike during summer |
| Aug-2025 | Sports Complex | 4,500 | DG (Backup) | 35,000 | Facilities Dept. | Safety Officer | 3 shutdowns, DG used |
| Aug-2025 | Library Block | 3,200 | Grid + Solar | 24,800 | Librarian | Audit Team | 25% solar utilization |

# 5. Building Maintenance

## 1. Introduction

Building maintenance refers to the systematic care, repair, and upkeep of institutional infrastructure to ensure safety, efficiency, and usability.

In HEIs, it covers classrooms, laboratories, hostels, libraries, auditoriums, administrative offices, ICT facilities, and utility systems.

It is both preventive (routine inspections to avoid failures) and corrective (repairs after damage or breakdown).

## 2. Objectives of Building Maintenance

Safety → Ensuring structural, electrical, and fire safety for students, faculty, and staff.

Functionality → Maintaining classrooms, labs, ICT infrastructure, and utilities in working condition.

Longevity → Extending the life of assets by timely care.

Compliance → Meeting regulatory standards, building codes, and accreditation requirements (NAAC, NBA, ISO, SDGs).

Sustainability → Reducing resource wastage (energy, water) and promoting green practices.

## 3. Types of Building Maintenance

### A. Preventive Maintenance

Scheduled checks (monthly, quarterly, annually).

Examples: roof inspections, pest control, HVAC servicing, electrical safety audits.

### B. Corrective Maintenance

Repairs carried out after failure or damage.

Examples: fixing a leaking pipe, replacing broken glass, repairing faulty wiring.

### C. Predictive Maintenance

Using sensors and monitoring tools to predict failures before they occur.

Examples: IoT-based HVAC monitoring, transformer oil analysis.

## 4. Key Areas of Building Maintenance

### A. Structural Maintenance

Exterior Walls → Ensure cleanliness, no cracks, pest-free.

Roof → Check leaks, vents, flashings, and access safety.

Doors & Windows → Condition, locks, weather-stripping, hinges.

### B. Electrical Systems

Panels & Receptacles → Covers secure, no exposed wiring.

UPS/Generators → Regular load tests.

Smart Classrooms → Projector and ICT equipment maintenance.

Campus Lighting → Energy-efficient fixtures, emergency lighting checks.

### C. Plumbing & Water Systems

Water Faucets & Fixtures → Leak checks, winterization where needed.

Drainage → Free from blockages.

Sanitation → Proper functioning of toilets and washrooms.

### D. Furniture & Fixtures

Seats/Tables → Ensure no sharp edges, stable and safe.

Lab Benches → Resistant to chemicals, wear, and tear.

### E. Safety & Compliance

Fire Safety → Fire extinguishers charged, alarms tested, evacuation routes marked.

Hazardous Materials Handling → For labs, proper storage and disposal.

Emergency Plans → Updated repair contacts, spares inventory, call lists.

## 5. Building Maintenance Process

1.	Inspection & Audit

Monthly/quarterly checklists for classrooms, labs, and utilities.

Specialized audits (electrical, fire safety, environmental).

2.	Reporting

Issues logged in a Maintenance Register (manual or digital).

Classified by urgency (High/Medium/Low).

3.	Action & Repair

Task assigned to responsible department (engineering, IT cell, housekeeping).

Repairs documented with date and cost.

4.	Verification & Closure

Issue re-inspected and closed with a signature by verifying authority.

5.	Review & Planning

Annual report created for IQAC/Facilities Committee.

Used for budget planning and accreditation evidence.

## 6. Accreditation & Compliance Linkages

NAAC Criterion 4 → Infrastructure and Learning Resources.

NBA Criterion 7 → Facilities and Technical Support.

NIRF TLR → Teaching, Learning, and Resources (availability of functional facilities).

QS I·GAUGE Facilities & Governance → Emphasis on physical infrastructure and sustainability.

SDGs → Especially Goal 9 (Infrastructure), Goal 11 (Sustainable Communities), and Goal 12 (Responsible Consumption).

## 7. Benefits of Proper Building Maintenance

Ensures safe, functional learning spaces for students and staff.

Minimizes costly emergency repairs through preventive care.

Enhances institutional reputation and student satisfaction.

Supports energy efficiency and sustainability commitments.

Provides documented evidence for quality audits and accreditations.

## 8. Tools & Records

Building Maintenance Checklist (monthly inspection sheet like the one you uploaded).

Maintenance Compliance Register (records issues, actions, closure dates).

Monthly/Annual Audit Reports (for management and IQAC).

Digital Facility Management Systems (FMS) → For large campuses.

## Building Maintenance Checklist

### 1. Header Section

Year & Location → Identifies which building/site is being monitored and for which calendar year.

Ensures traceability when records are stored for annual audits, NAAC/NBA facility reports, or ISO compliance.

### 2. Layout

Columns: Months (January – December) → Each month has a column where inspections are recorded.

Rows: Building Components (Exterior walls, Doors, Windows, Roof, etc.) with specific checkpoints listed under each.

Entries are typically marked as:

✓ (Good condition/Compliant)

✗ (Issue detected)

N/A (Not applicable for that facility)

### 3. Categories of Inspection

A. Exterior Walls

Clean → Free of dirt, moss, mold, or graffiti.

Flashings/Secure → Properly sealed to avoid water seepage.

Good Condition → No cracks, bulges, or structural damage.

No Pest/Wasp/etc. → Check for nests, infestations.

Other → Any unusual findings (e.g., water stains, loose plaster).

◆ Importance: Maintains structural integrity, prevents pest hazards, and ensures a safe external appearance.

B. Doors

Good Condition → No warping, cracks, or rot.

Secure Hardware/Handles → Functioning properly without looseness.

Locks Working → Tested for security (especially in labs, classrooms, storage).

Glass Good Condition → For doors with glass panels, no cracks.

Other → E.g., automatic closers, accessibility features.

◆ Importance: Ensures safety, accessibility, and security of building spaces.

C. Windows

Good Condition → Frames intact, no broken glass.

Latches in Place → Locking mechanisms work.

Weather-stripping Good → Prevents drafts and water leakage.

Hinges Secure → No rusting or loose fittings.

◆ Importance: Energy efficiency, ventilation, and safety compliance.

D. Roof

Good Condition → No sagging, cracked tiles, or structural weakness.

Flashings Secure → Prevents water leakage at joints/edges.

Vents Clear → No obstructions in air vents.

Access Clear → Safe pathway for maintenance staff.

No Evident Leaks → Ceiling inspections to detect water marks.

Other → E.g., bird-proofing, antenna fixtures.

◆ Importance: Prevents water damage, structural deterioration, and indoor hazards.

E. Electric Panels/Receptacles

Covers in Place → No open wiring, panels securely closed.

Nothing Left Plugged In → Prevents overheating/fire risk.

◆ Importance: Electrical safety and compliance with IT/electrical audit standards.

F. Water Faucets

Not Leaking → Reduces water wastage and slip hazards.

Winterized → Pipes insulated to prevent freezing (for cold regions).

◆ Importance: Utility efficiency, sustainability (SDG-6 compliance).

G. Seats/Tables

Good Condition → Classroom and outdoor furniture checked for stability, no sharp edges, no damage.

◆ Importance: Comfort, safety, and usability for students and staff.

### 4. How it Works in Practice

Each month, the maintenance officer/IT cell/facility manager inspects the listed items.

Records are entered in the corresponding month’s cell (✓/✗/remarks).

Any issues found are reported in a Maintenance Action Register (with corrective action details, responsible team, and closure date).

At year-end, this sheet provides evidence of continuous monitoring for:

NAAC (Criterion 4: Infrastructure & Learning Resources)

NBA (Facilities & Technical Support)

NIRF (Teaching-Learning Resources)

ISO/QS I·GAUGE Facility Audits

### 5. Benefits

Structured Monitoring → Ensures no aspect of building upkeep is missed.

Accountability → Departments know when and where issues were reported.

Preventive Maintenance → Small issues (like leaks) fixed before becoming major repairs.

Audit-Ready Evidence → Serves as proof of systematic building care.

### Building Maintenance Compliance Register

| S. No. | Building / Location | Facility/Component | Inspection Criteria | Compliance Status (Yes/No/Partial) | Date of Inspection | Issues Found | Action Taken / Proposed | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number for tracking.

Building / Location → Block, lab, hostel, library, admin wing, etc.

Facility/Component → Exterior Walls, Doors, Windows, Roof, Electric Panels, Water Faucets, Seats/Tables, etc.

Inspection Criteria → Example: No leaks, Locks secure, No cracks, Ventilation clear.

Compliance Status → Drop-down: Yes / No / Partial.

Date of Inspection → When the facility was last checked.

Issues Found → Describe if non-compliance observed (e.g., “Window latch broken”).

Action Taken / Proposed → Repair/Replace/AMC/Vendor contact.

Responsible Team → Engineering Dept., IT Cell, Housekeeping, Facility Manager.

Verified By → HOD, Maintenance Supervisor, IQAC Member.

Remarks → Additional notes (“Budget approval required”, “To be rechecked next month”).

Sample Entries

| S. No. | Building / Location | Facility/Component | Inspection Criteria | Compliance Status | Date of Inspection | Issues Found | Action Taken / Proposed | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Physics Lab – Lab 101 | Windows | Hinges secure & weather-stripping | No | 06-09-2025 | Hinges rusted | Replacement ordered | Engineering + Vendor | Lab In-Charge | To be completed by 15-09-2025 |
| 3 | Hostel Block A – 2nd Floor | Roof | No evident leaks | Partial | 07-09-2025 | Dampness near stairwell | Waterproofing scheduled | Civil Works Team | Hostel Warden | Pending |
| 4 | Library | Electric Panels | Covers in place, nothing left plugged in | Yes | 08-09-2025 | None | – | IT Cell | Librarian | Compliant |
| 5 | Auditorium | Seats/Tables | No cracks, stable | No | 09-09-2025 | 12 chairs broken | Vendor contacted | Admin Office | Dean – Facilities | Urgent replacement |

### Monthly Building Maintenance Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Facility/Engineering Department)

Location(s) Covered: ____________________

### 1. Executive Summary

Total Buildings/Blocks Inspected: ________

Total Facilities/Components Checked: ________

Compliance Rate: ________%

Issues Reported: ________

Issues Resolved: ________

Issues Pending: ________

Key Highlights:

Example: “All classrooms inspected – 92% compliance.”

Example: “Roof leak repairs completed in Physics Block.”

Key Challenges:

Example: “Delay in furniture replacement due to vendor lead time.”

### 2. Department/Block-Wise Maintenance Status

| Building/Block | Facilities Checked | Issues Found | Issues Resolved | Pending Issues | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Commerce Block | 25 | 3 | 2 | 1 | 92% | Door repairs pending |
| Physics Lab Block | 18 | 4 | 2 | 2 | 78% | Roof dampness, window hinges rusted |
| Hostel Block A | 20 | 5 | 4 | 1 | 80% | Electrical sockets pending repair |
| Library | 15 | 1 | 1 | 0 | 100% | All OK |
| Auditorium | 10 | 2 | 0 | 2 | 60% | Chairs replacement delayed |

### 3. High-Priority Issues (Unresolved)

| Location | Facility | Issue Description | Date Reported | Action Taken | Responsible Team | Target Resolution Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hostel Block A | Electrical Panel | Loose sockets, sparks noticed | 05-09-2025 | Vendor contacted | IT Cell + Electrical Team | 15-09-2025 | Urgent |
| Physics Lab 101 | Roof | Damp patch, water seepage | 06-09-2025 | Waterproofing contractor engaged | Civil Works | 20-09-2025 | In progress |

### 4. Preventive Maintenance Activities Completed

Pest control in Admin Block.

AC filter cleaning in library.

Water faucet checks in hostels.

Fire extinguisher inspection in auditorium.

Roof inspection across all blocks.

### 5. Action Taken Report (ATR) – from Last Month

Example: “Windows in Commerce Block repaired by vendor on 02-09-2025.”

Example: “12 chairs in canteen replaced – closure signed off by Dean Facilities.”

### 6. Recommendations for Continuous Improvement

Implement digital fault reporting system for faculty/students.

Schedule quarterly roof and plumbing inspections before monsoon.

Budget allocation for annual furniture replacement.

Expand AMC coverage for electrical and ICT facilities.

### 7. Verification & Approval

Prepared By: __________________ (Facility Manager)

Verified By: __________________ (Head of Engineering/IT Cell)

Approved By: __________________ (Registrar / IQAC Coordinator / Dean Facilities)

# 6. Policies Related to Physical Facilities, Maintenance & Construction

## 1. Physical Facilities Policies

Infrastructure Development Policy – outlines planning, allocation, and upgrading of academic, research, and student facilities.

Space Allocation Policy – ensures equitable distribution of classrooms, labs, offices, hostels, and common areas.

Green Campus Policy – promotes eco-friendly practices (energy efficiency, water conservation, e-waste, solar power).

ICT Facility Policy – ensures provision and upkeep of digital infrastructure (Wi-Fi, smart classrooms, LMS, ERP).

Accessibility Policy – provides inclusive design for differently-abled persons (ramps, lifts, signage).

## 2. Maintenance Policies

Preventive Maintenance Policy – defines periodic inspections for buildings, electrical, water, and ICT facilities.

Corrective & Emergency Maintenance Policy – covers immediate response to breakdowns or hazards.

Annual Maintenance Contract (AMC) Policy – ensures third-party servicing of ICT equipment, HVAC, elevators, lab equipment.

Building Safety & Security Policy – ensures fire safety, electrical safety, structural safety, and compliance with codes.

Energy & Utilities Management Policy – monitoring of electricity, water, HVAC, generators, and renewable sources.

Waste Management & Recycling Policy – includes solid waste, biomedical waste (labs/clinics), and e-waste disposal.

## 3. Construction Policies

Master Plan & Campus Development Policy – long-term roadmap for expansion, zoning, and sustainability.

Building Codes & Standards Compliance Policy – ensures alignment with NBC (National Building Code), local municipal rules, and fire safety norms.

Construction Procurement & Tendering Policy – transparent guidelines for vendor selection and project execution.

Environmental Impact Assessment (EIA) Policy – mandates environmental clearance for large-scale construction.

Sustainable Construction Policy – emphasizes green materials, renewable energy integration, and smart building technologies.

Capital Expenditure & Budget Allocation Policy – defines financial approval process for new buildings and renovations.

## 4. Safety & Emergency Policies

Disaster Management & Emergency Response Policy – preparedness for fire, earthquake, flood, or electrical failures.

Occupational Health & Safety (OHS) Policy – safety of maintenance workers, contractors, and staff during facility operations.

Hazardous Materials Handling Policy – especially for laboratories (chemicals, gases, radioactive materials).

## 5. Compliance & Audit Policies

Facility Audit & Inspection Policy – regular audits of classrooms, labs, hostels, utilities, and ICT facilities.

Accreditation Compliance Policy – ensures facilities meet NAAC/NBA/NIRF/QS I·GAUGE benchmarks.

Documentation & Record-Keeping Policy – registers for building maintenance, ICT facilities, obsolete equipment, safety checks, etc.

## 6. Governance & Accountability Policies

IT & Facility Management Cell Formation Policy – defines roles/responsibilities of facility management committees.

Delegation of Financial Powers for Maintenance Policy – assigns authority to approve repairs/construction.

Vendor & Contractor Accountability Policy – ensures adherence to timelines, quality standards, and safety rules.

# 7. Master Plan & Campus Development Policy

## 1. Introduction

A Master Plan is a long-term roadmap for guiding the physical growth and infrastructure development of a university or HEI.

It integrates academic priorities, student growth, sustainability, inclusivity, safety, and technology adoption into campus expansion.

This policy ensures that the campus evolves in line with the institution’s vision & mission, accreditation standards, and sustainable development principles.

## 2. Objectives

To provide a structured framework for campus growth and infrastructure modernization.

To align space, utilities, and infrastructure with projected student and faculty strength.

To adopt sustainable practices in construction, energy, water, and waste management.

To ensure universal accessibility and inclusivity for all stakeholders.

To create a smart campus integrating ICT, IoT, and digital technologies.

To provide evidence-based documentation for accreditation and quality audits.

## 3. Scope

This policy applies to:

Academic facilities (classrooms, laboratories, libraries, research centers).

Student amenities (hostels, canteens, health centers, sports complexes).

Administrative facilities (departments, offices, exam cells).

Digital infrastructure (data centers, smart classrooms, LMS/ERP).

Utilities & services (water, power, sanitation, transport, landscaping).

Green & sustainable infrastructure (solar, rainwater harvesting, waste management).

## 4. Guiding Principles

Alignment with Institutional Vision – Infrastructure must directly support teaching, research, and extension activities.

Sustainability – Adoption of green buildings, renewable energy, zero-waste management, and biodiversity protection.

Inclusivity & Accessibility – Universal design standards for PwDs, gender-sensitive facilities, and safe spaces.

Phased Development – Expansion based on student intake, new programs, and research growth.

Integrated Infrastructure – Multipurpose facilities (auditoriums, ICT labs) for efficient use of resources.

Resilience & Safety – Compliance with fire safety, disaster management, seismic codes, and cybersecurity norms.

## 5. Governance & Responsibility

Campus Development Committee (CDC):

Chair: Dean (Planning & Development).

Members: Registrar, Heads of Departments, Finance Officer, Facilities Manager, IQAC representative, Student Council nominee.

Responsibilities:

Prepare and update the Master Plan (10–20 year horizon).

Prioritize projects annually based on academic and institutional needs.

Monitor implementation and ensure compliance with regulations.

Report progress to Governing Body / Board of Management.

## 6. Implementation Framework

1.	Needs Assessment – Collect input from departments, students, and stakeholders.

2.	Master Plan Preparation – Define zoning (academic, residential, recreational, green).

3.	Phasing & Budgeting – Short-term (1–3 years), medium-term (3–7 years), long-term (7–20 years).

4.	Execution – Construction through transparent tendering and vendor selection.

5.	Monitoring – Quarterly progress reviews by CDC and IQAC.

6.	Documentation – Maintain registers, project files, architectural drawings, and approvals.

## 7. Accreditation & Compliance Linkages

NAAC Criterion 4 – Physical facilities & infrastructure adequacy.

NBA Criterion 7 – Technical support & adequacy of infrastructure for OBE.

NIRF TLR – Teaching-learning resources linked to infrastructure quality.

QS I·GAUGE – Campus development, governance, and sustainability benchmarks.

SDGs – SDG 9 (Infrastructure), SDG 11 (Sustainable Cities & Communities), SDG 13 (Climate Action).

## 8. Review & Upgradation

The Master Plan will be reviewed every 5 years, or earlier if major expansions are needed.

Updates will incorporate new academic programs, student growth, technology upgrades, and sustainability trends.

### Campus Development Compliance Register

| S. No. | Project Title / Facility | Department / Location | Type (New / Renovation / Upgrade) | Proposal Submitted By | Date of Proposal | CDC Review Status (Approved / Deferred / Rejected) | Approval Authority (Registrar / GB / MC) | Budget Allocated (₹ Lakhs) | Funding Source (Institution / Grant / CSR / PPP) | Target Completion Date | Actual Completion Date | Compliance with Standards (NBC / UGC / AICTE / Green Building Code / Fire Safety) | Compliance Status (Yes / No / Partial) | Evidence / Document Reference | Responsible Team | Verified By (CDC / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Project Title / Facility → e.g., “New Research Center”, “Library Renovation”, “Smart Classroom Setup”.

Department / Location → Where the project is situated.

Type → New construction, Renovation, or Upgrade.

Proposal Submitted By → Faculty, HOD, Committee, Student Council.

CDC Review Status → Decision of Campus Development Committee.

Approval Authority → Governing Body (GB), Registrar, or Management Council (MC).

Budget Allocated → Financial allocation in Lakhs/Cr.

Funding Source → Institution, UGC/AICTE grants, CSR partnerships, Alumni contributions, PPP models.

Target vs. Actual Completion Date → For project monitoring.

Compliance with Standards → Building codes, environmental clearances, fire safety norms.

Evidence / Document Reference → Proposal ID, tender docs, contract copies, photos, invoices.

Responsible Team → Engineering Dept., Vendor, Contractor.

Verified By → CDC / IQAC for audit compliance.

Remarks → Pending approvals, vendor delays, budget variations.

Sample Entries

| S. No. | Project Title / Facility | Department / Location | Type | Proposal Submitted By | Date of Proposal | CDC Review Status | Approval Authority | Budget Allocated (₹ Lakhs) | Funding Source | Target Completion Date | Actual Completion Date | Compliance with Standards | Compliance Status | Evidence / Document Reference | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Smart Classroom Setup | Commerce Block – Room 203 | New | HOD – Commerce | 05-07-2025 | Approved | Registrar | 15.0 | CSR – ABC Pvt Ltd. | 15-10-2025 | – | UGC ICT Norms, Fire Safety | Yes | Proposal Doc #CDC/2025/07/12 | IT Cell + Vendor | CDC | Work order released |
| 2 | Research Lab Renovation | Physics Block – Lab 101 | Renovation | Lab In-Charge | 10-07-2025 | Approved | Governing Body | 25.0 | Institutional Fund | 30-11-2025 | – | AICTE Lab Standards | Partial | Tender Doc #PHYS/2025/REN | Engineering Dept. | IQAC | Instruments pending delivery |
| 3 | Hostel Washroom Upgradation | Hostel Block A | Upgrade | Student Council | 12-07-2025 | Approved | Management Council | 12.5 | AICTE Grant | 15-09-2025 | 10-09-2025 | RPwD Act Accessibility | Yes | Completion Certificate #HOST/2025 | Civil Works | CDC | Completed early |
| 4 | Digital Library Expansion | Library | New | Librarian | 20-07-2025 | Deferred | – | – | – | – | – | NAAC Criterion 4 Standards | – | Proposal #LIB/2025/07 | Library + IT Cell | IQAC | Awaiting funds |

### Monthly Campus Development Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Campus Development Committee – CDC / Facilities Manager)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Development Projects: ________

Approved & In Progress: ________

Completed This Month: ________

Pending / Deferred: ________

Budget Allocated: ₹ ________ Lakhs

Budget Utilized: ₹ ________ Lakhs

Overall Project Compliance Rate: ________ %

Highlights:

Example: “New Smart Classroom inaugurated in Commerce Block.”

Example: “Hostel washroom renovation completed under AICTE grant.”

Challenges:

Example: “Digital Library expansion deferred due to lack of funds.”

### 2. Category-Wise Project Summary

| Category | Total Projects | Completed | In Progress | Deferred | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Academic (Classrooms, Labs, Libraries) | ___ | ___ | ___ | ___ | ___% | Includes smart classroom, library upgrade |
| Student Amenities (Hostels, Canteens, Health, Sports) | ___ | ___ | ___ | ___ | ___% | Hostel washroom, sports complex |
| Administrative Facilities (Offices, Exam Cell) | ___ | ___ | ___ | ___ | ___% | ERP-enabled exam office expansion |
| Digital Infrastructure (Data Centers, ERP, Smart Classrooms) | ___ | ___ | ___ | ___ | ___% | ERP renewal, cloud migration |
| Utilities & Services (Water, Power, Transport) | ___ | ___ | ___ | ___ | ___% | Generator AMC, new water line |
| Green & Sustainable Infra (Solar, Rainwater, Waste Mgmt.) | ___ | ___ | ___ | ___ | ___% | Solar rooftop expansion |
| Total | ___ | ___ | ___ | ___ | ___% | – |

### 3. Project Status – Ongoing / Completed

| Project Title | Department / Location | Type (New / Renovation / Upgrade) | Budget (₹ Lakhs) | Target Completion | Actual Completion | Compliance Status (Yes/No/Partial) | Evidence Ref. | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Smart Classroom Setup | Commerce Block – Room 203 | New | 15.0 | 15-10-2025 | – | Yes | CDC/2025/07/12 | In progress, projector installed |
| Research Lab Renovation | Physics Block – Lab 101 | Renovation | 25.0 | 30-11-2025 | – | Partial | PHYS/2025/REN | Equipment delivery pending |
| Hostel Washroom Upgrade | Hostel Block A | Upgrade | 12.5 | 15-09-2025 | 10-09-2025 | Yes | HOST/2025 | Completed early |
| Digital Library Expansion | Library | New | 20.0 | Deferred | – | – | LIB/2025/07 | Awaiting CSR funding |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Project / Facility | Issue Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CDC/2025/09/01 | Research Lab Renovation | Equipment not delivered | Delay in research work | Vendor + Engg Dept. | Vendor reminder sent | 20-09-2025 | In progress |
| CDC/2025/09/02 | Digital Library Expansion | Funding gap | Access delayed for students | Library + Finance | CSR proposal submitted | – | Deferred |

### 5. Preventive & Corrective Actions

Preventive maintenance of existing classrooms and labs integrated into development plan.

Fire & safety compliance audits conducted for new buildings.

Accessibility features (ramps, elevators, signage) included in all new projects.

Digital readiness checked for ERP & LMS integration.

### 6. Action Taken Report (ATR) – Previous Month

Hostel Block A washrooms renovated with accessible toilets.

Phase-1 solar rooftop installation (50 KW) completed in Hostel Block B.

Exam Cell office upgraded with biometric access control.

### 7. Recommendations

Prioritize funding approvals for deferred projects.

Expand smart classrooms to all major departments.

Plan a 5-year campus master plan review with CDC & IQAC.

Integrate green building certification (IGBC/LEED) for all new constructions.

Ensure digitization of all campus facilities records for accreditation evidence.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / CDC In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

### Space Allocation & Re-Allocation Register

| Serial Number | Building Number | Building Description | Room Number | Area Allocated (sq. ft / sq. m) | Purpose of Allocation (Classroom / Lab / Office / Library / Hostel / Exam Cell / Other) | Allocation Type (New / Re-allocation) | Date of Allocation | Responsible Officer / Dept. | Verified By (Registrar / IQAC / Estate Office) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record.

Building Number → ID of the building.

Building Description → Name or purpose (e.g., Science Block, Admin Block, Hostel A).

Room Number → Specific room/unit within the building.

Area Allocated → Measured space (in sq. ft or sq. m).

Purpose of Allocation → Intended usage (lab, classroom, faculty office, seminar hall).

Allocation Type → Whether it is a New allocation or Re-allocation (repurposing).

Date of Allocation → Date space was approved/assigned.

Responsible Officer / Dept. → Facilities Manager, Registrar, HOD, Estate Officer.

Verified By → Registrar, IQAC, Estate Office, Governing Body.

Remarks → Notes on modifications, pending approvals, or special usage conditions.

Sample Entries

| Serial Number | Building Number | Building Description | Room Number | Area Allocated | Purpose of Allocation | Allocation Type | Date of Allocation | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BLD/001 | Science Block | 204 | 1,200 sq. ft | Physics Laboratory | New | 05-07-2025 | HOD – Physics | Registrar | Fully equipped with new instruments |
| 2 | BLD/002 | Admin Block | 102 | 300 sq. ft | Examination Cell | Re-allocation | 10-07-2025 | Controller of Exams | IQAC | Converted from staff office |
| 3 | BLD/003 | Central Library | L-05 | 800 sq. ft | Digital Resource Center | New | 15-07-2025 | Librarian | Registrar | E-resource access enabled |
| 4 | BLD/004 | Hostel Block A | H-12 | 250 sq. ft | Faculty Quarters (temporary) | Re-allocation | 20-07-2025 | Hostel Warden | Estate Officer | Hostel room reassigned |
| 5 | BLD/005 | Sports Complex | S-02 | 1,500 sq. ft | Indoor Training Hall | New | 25-07-2025 | Sports Officer | Registrar | Converted from storage space |

### Facilities Provided to Functionaries – Register

| Serial Number | Facility Number | Facility Description | Functionaries Allocated (HOD / Dean / Faculty / Non-Teaching / Administrative Staff / Others) | Location (Building / Block / Office / Department) | Date of Allocation | Responsible Officer / Dept. | Verified By (Registrar / IQAC / Estate Office) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record of entries.

Facility Number → Unique ID for each facility (e.g., FAC/2025/01).

Facility Description → Type of facility provided (e.g., Office cabin with furniture, Laptop, Internet access).

Functionaries Allocated → Who is assigned (HOD, Dean, Faculty, Administrative Officer, Staff).

Location → Specific building/department where facility is located.

Date of Allocation → Date when facility was allocated.

Responsible Officer / Dept. → Estate Office, IT Cell, Facilities Manager.

Verified By → Registrar, IQAC, or Governing Body.

Remarks → Notes on condition, upgrades, or reallocation.

Sample Entries

| Serial Number | Facility Number | Facility Description | Functionaries Allocated | Location | Date of Allocation | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | FAC/2025/01 | Furnished Office Room with AC & Internet | Dean – Academic Affairs | Admin Block – Room 201 | 05-07-2025 | Estate Office | Registrar | Includes meeting table |
| 2 | FAC/2025/02 | Desktop with Licensed Software | HOD – Physics Department | Science Block – Office 102 | 08-07-2025 | IT Cell | IQAC | AMC active |
| 3 | FAC/2025/03 | Reserved Parking Space | Registrar | Main Admin Block | 10-07-2025 | Estate Manager | Governing Body | Staff pass issued |
| 4 | FAC/2025/04 | Laptop & Projector | Faculty – Computer Science | IT Block | 12-07-2025 | IT Cell | IQAC | Issued on loan |
| 5 | FAC/2025/05 | Hostel Accommodation | Non-teaching Staff – Warden | Hostel Block A | 15-07-2025 | Hostel Office | Registrar | With maintenance allowance |
| 6 | FAC/2025/06 | Conference Hall Access | Examination Controller | Admin Block – Hall 1 | 20-07-2025 | Facilities Dept. | IQAC | Scheduled through ERP |
| 7 | FAC/2025/07 | Official Transport (Campus Shuttle Access) | Faculty & Admin Staff | Campus-wide | 22-07-2025 | Transport Dept. | Registrar | Shared usage |
| 8 | FAC/2025/08 | Health Centre Medical Assistance | All Teaching & Non-Teaching Staff | University Health Centre | 25-07-2025 | Medical Officer | IQAC |  |

### Statement of Facility Utilization & Re-Allocations

| Serial Number | Facility Number | Facility Description | Department Allocated | Date Allocated | % Utilisation (Avg. per Month) | Department Reallocated To (if applicable) | Date of Reallocation | Responsible Officer / Dept. | Verified By (Registrar / IQAC / Estate Office) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record.

Facility Number → Unique code for each facility (e.g., FAC/2025/01).

Facility Description → Type of facility (lab, classroom, seminar hall, IT lab, office room, equipment).

Department Allocated → Which department initially received the facility.

Date Allocated → When facility was assigned.

% Utilisation → Average usage (based on schedules, ERP logs, lab booking systems, or audits).

Department Reallocated To → If shifted, new department name.

Date of Reallocation → When facility was re-assigned.

Responsible Officer / Dept. → Facilities Manager, Registrar, HoD, Estate Officer.

Verified By → Registrar, IQAC, Governing Body.

Remarks → Notes on under-utilization, repurposing, or AMC status.

Sample Entries

| Serial Number | Facility Number | Facility Description | Department Allocated | Date Allocated | % Utilisation | Department Reallocated To | Date of Reallocation | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | FAC/2025/01 | Physics Laboratory (60-seater) | Physics Dept. | 05-07-2025 | 85% | – | – | HOD – Physics | Registrar | Fully utilized |
| 2 | FAC/2025/02 | Seminar Hall (150 capacity, AC) | Computer Science Dept. | 08-07-2025 | 40% | MBA Dept. | 01-08-2025 | Estate Office | IQAC | Under-utilized, reallocated |
| 3 | FAC/2025/03 | Digital Resource Center | Library | 15-07-2025 | 70% | – | – | Librarian | Registrar | ERP log shows peak use at exam time |
| 4 | FAC/2025/04 | Classroom (80 capacity) | Civil Engineering | 20-07-2025 | 55% | Mechanical Engg. | 10-08-2025 | Facilities Dept. | IQAC | Shifted due to space optimization |
| 5 | FAC/2025/05 | Robotics Lab | ECE Dept. | 25-07-2025 | 30% | AI & Data Science | 15-08-2025 | Engineering Dean |  |  |

### Infrastructural Facilities & Gap Analysis Register – As on [DD/MM/YYYY]

| Serial Number | Infrastructure Number | Type of Infrastructure (Classroom / Lab / Library / Hostel / Sports / Office / Other) | Plinth Area (Sq. ft) | Carpet Area (Sq. ft) | Seating Capacity | Gadget Serial | Type of Gadget (PC / Projector / Lab Equipment / AC / Other) | Number of Gadgets | Area Required as per Norms (Sq. ft) | GAP in Area (Available – Required) | Compliance Status (Yes / No / Partial) | Responsible Dept. / Officer | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Infrastructure Number → Unique code for each facility (e.g., INF/2025/01).

Type of Infrastructure → Facility type (classroom, lab, library, hostel, office, etc.).

Plinth Area → Built-up area.

Carpet Area → Usable space.

Seating Capacity → Number of students/staff accommodated.

Gadget Serial & Type → Equipment allocated (computers, projectors, ACs, lab instruments).

Number of Gadgets → Count of devices available.

Area Required as per Norms → UGC/AICTE/NAAC/NBA minimum requirement.

GAP in Area → Shortage/Excess = Available – Required.

Compliance Status → Yes (Meets norms), No (Gap exists), Partial (Partially meets norms).

Responsible Dept. / Officer → Facilities Manager, HOD, Estate Officer.

Remarks → Notes on deficiencies, plans for expansion, or reallocation.

Sample Entries

| Serial Number | Infrastructure Number | Type of Infrastructure | Plinth Area (Sq. ft) | Carpet Area (Sq. ft) | Seating Capacity | Gadget Serial | Type of Gadget | Number of Gadgets | Area Required as per Norms (Sq. ft) | GAP in Area | Compliance Status | Responsible Dept. | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | INF/2025/02 | Computer Lab – IT Dept. | 1,800 | 1,600 | 60 | GAD/IT/015 | Desktops | 60 | 1,500 | +100 | Yes | IT Cell | Fully compliant |
| 3 | INF/2025/03 | Central Library – Reading Hall | 3,500 | 3,200 | 250 | GAD/LIB/009 | E-Resource Systems | 40 | 4,000 | -800 | No | Librarian | Space shortage, expansion proposed |
| 4 | INF/2025/04 | Hostel Block A – Mess Hall | 2,500 | 2,200 | 300 | GAD/HOST/003 | Fans & Dining Tables | 25 | 2,500 | -300 | Partial | Hostel Warden | Additional tables required |
| 5 | INF/2025/05 | Sports Complex – Indoor Hall | 5,000 | 4,800 | 400 | GAD/SPT/006 | Lighting Units | 15 | 4,500 | +300 | Yes | Sports Officer | Meets requirements |

### Approved Construction Plans Register

| Plan Serial | Plan Type (Master Plan / Building Layout / Structural Plan / Electrical Plan / Plumbing Plan / Fire Safety Plan / Green Building Plan / Other) | Plan Description | Approval Authority (Registrar / Governing Body / Engineering Dept. / Architect) | Responsibility (Engineering Dept. / Facilities / Estate Office / Contractor / Architect) | Date of Approval | Verified By (IQAC / Registrar / Safety Officer) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Plan Serial → Unique identifier for each approved plan (e.g., PLAN/2025/01).

Plan Type → Type of plan: master plan, structural, plumbing, fire safety, electrical, HVAC, green campus, etc.

Plan Description → Short description (e.g., G+3 Academic Block structural plan with earthquake-resistant design).

Approval Authority → Who approved it (Registrar, Governing Body, Architect).

Responsibility → Department/person responsible for execution (Facilities, Contractor, Architect).

Date of Approval → When plan was officially approved.

Verified By → Internal audit (IQAC, Registrar, Safety Officer, Estate Office).

Remarks → Notes on revisions, re-approvals, or compliance references.

Sample Entries

| Plan Serial | Plan Type | Plan Description | Approval Authority | Responsibility | Date of Approval | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PLAN/2025/01 | Master Plan | Overall campus development plan (Phase I & II expansion) | Governing Body | Engineering Dept. + Architect | 01-07-2025 | Registrar | Linked to 10-year strategic plan |
| PLAN/2025/02 | Structural Plan | Academic Block A (G+2 floors) RCC structure with seismic safety | Registrar | Engineering Dept. | 05-07-2025 | IQAC | Conforms to AICTE building norms |
| PLAN/2025/03 | Electrical Layout | Hostel Block A complete electrical wiring & UPS system | Estate Office | Contractor + Facilities Dept. | 12-07-2025 | Safety Officer | Fire & electrical audit compliant |
| PLAN/2025/04 | Plumbing & Sanitation | Central Library – water supply & drainage system | Registrar | Engineering Dept. + Contractor | 20-07-2025 | IQAC | Integrated with rainwater harvesting |
| PLAN/2025/05 | Fire Safety Plan | Sports Complex – emergency exits & fire-fighting system | Governing Body | Safety Officer | 25-07-2025 | Registrar | Meets National Building Code (NBC) |
| PLAN/2025/06 | Green Building Plan | Research Center – solar PV integration + natural ventilation | Governing Body | Green Campus Cell | 01-08-2025 | IQAC | Supports NAAC Criterion 7 evidence |

# 8. Campus Facilities & Infrastructure in HEIs

## 1. Academic Facilities

Classrooms

Equipped with ergonomic seating, projectors, whiteboards, and smart boards.

Designed for blended learning with ICT-enabled setups (Wi-Fi, streaming).

Adequate ventilation, lighting, and acoustics for effective learning.

Accessibility features: ramps, wide corridors, seating for PwDs.

Laboratories

Specialized labs for engineering, sciences, medical, and vocational studies.

Equipped with modern instruments, simulation software, IoT-enabled devices.

Safety provisions (fume hoods, fire extinguishers, eyewash stations).

Lab manuals, SOPs, and periodic maintenance schedules.

Libraries

Physical: Well-ventilated, digital catalogue, reading rooms.

Digital: E-journals, databases (IEEE, Springer, Scopus), e-books.

Facilities for differently-abled learners (screen readers, braille).

Integrated with Institutional Repository (IR) for theses and publications.

Research Centers

High-end research labs (AI/ML labs, biotech centers, innovation hubs).

Access to High-Performance Computing (HPC) and GPU clusters.

Collaboration spaces for interdisciplinary research.

Support for patents, incubations, and funded projects.

## 2. Student Amenities

Hostels

Safe, hygienic accommodation with Wi-Fi and study spaces.

Facilities: dining halls, common rooms, laundry, solar heating, water purifiers.

Gender-sensitive infrastructure and wardens.

Canteens & Food Courts

Affordable, hygienic meals.

Options for vegetarian/vegan, diet-conscious, and cultural diversity.

Waste segregation and composting for sustainability.

Health Centers

Basic healthcare with doctors/nurses on campus.

Tie-ups with local hospitals for emergencies.

Facilities for first-aid, vaccination, and mental health counseling.

Sports Complexes

Indoor & outdoor facilities: gym, yoga halls, courts, fields, swimming pools.

Support for national/international student competitions.

Provision of adaptive sports for differently-abled students.

## 3. Administrative Facilities

Departments & Offices

Dedicated spaces for each academic department.

Offices for faculty, administrative staff, and departmental libraries.

Equipped with ICT tools (ERP terminals, printers, LAN).

Examination Cell

Secure digital storage of question papers and exam records.

Facilities for digital evaluation, online exams, plagiarism checks.

Biometric or smart ID-based student verification systems.

Registrar & Governance Offices

Transparent records management with ERP integration.

Student service centers (admissions, fee payment, document verification).

## 4. Digital Infrastructure

Data Centers

Institutional servers for ERP, LMS, research storage, email systems.

Equipped with backup, firewall, IDS/IPS, and cloud integration.

Disaster recovery and redundancy mechanisms.

Smart Classrooms

ICT-enabled with interactive boards, cameras for hybrid teaching.

Lecture capture and streaming systems integrated with LMS.

Learning Management Systems (LMS)

Platforms like Moodle, Blackboard, SWAYAM, or custom ERP.

Features: course content, quizzes, assignments, analytics, student feedback.

Enterprise Resource Planning (ERP)

Modules: admissions, attendance, exams, HR, finance, hostels, transport.

Integration with Academic Bank of Credits (ABC) for NEP-2020 compliance.

## 5. Utilities & Services

Water Supply & Sanitation

Continuous clean water supply with purification and storage.

Water-saving fixtures and dual-flush systems.

Sanitation facilities as per Swachh Bharat Mission norms.

Power Supply

Redundant power with campus-wide UPS and generator backup.

Energy-efficient lighting (LED, motion sensors).

Transport

Buses, vans, and e-shuttles for students and staff.

Accessible transport for PwDs.

EV charging stations for sustainable mobility.

Landscaping & Campus Environment

Green belts, herbal gardens, biodiversity parks.

Spaces for student interaction, cultural events, and recreation.

## 6. Green & Sustainable Infrastructure

Renewable Energy (Solar/Wind/Biomass)

Rooftop solar panels for classrooms, hostels, labs.

Solar water heaters in hostels.

Rainwater Harvesting

Recharge pits and underground tanks.

Integrated with campus water supply for reuse.

Waste Management

Solid waste segregation (biodegradable, recyclable, e-waste, biomedical).

Composting units for food waste.

Certified e-waste disposal partners.

Green Buildings

Energy-efficient design following Green Building Code.

Use of natural lighting, ventilation, and eco-friendly materials.

Smart IoT-based energy monitoring.

### Campus Facilities Compliance Register

| S. No. | Facility Category (Academic / Student / Admin / Digital / Utilities / Sustainability) | Department / Location | Facility / Component | Compliance Standard / Benchmark | Compliance Status (Yes / No / Partial) | Issues Identified | Action Taken / Proposed | Responsible Team / Committee | Verified By (IQAC / CDC / Facility Committee) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Facility Category → One of six: Academic, Student, Admin, Digital, Utilities, Sustainability.

Department / Location → E.g., Physics Lab, Commerce Block, Hostel A, Library, Auditorium.

Facility / Component → Specific facility: Smart Classroom, Library Database, Hostel Room, Data Center, Solar Plant, Transport Service.

Compliance Standard / Benchmark → Reference: NAAC, NBA, UGC, AICTE norms, Green Building Code, WCAG, RPwD Act, Fire Safety Codes.

Compliance Status → Drop-down: Yes / No / Partial.

Issues Identified → Gaps found during audits (e.g., projector not working, water leak, ERP license expired).

Action Taken / Proposed → Repairs, upgrades, AMC renewal, vendor engagement.

Responsible Team / Committee → Engineering Dept., IT Cell, Hostel Admin, Library, Green Campus Committee, Exam Cell.

Verified By → IQAC, Campus Development Committee (CDC), External Auditors.

Remarks → Notes: pending budget, work in progress, critical priority, etc.

Sample Entries

| S. No. | Facility Category | Department / Location | Facility / Component | Compliance Standard | Compliance Status | Issues Identified | Action Taken / Proposed | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Academic | Commerce Block – Room 203 | Smart Classroom | ICT-enabled (NAAC C4) | Yes | None | – | IT Cell | IQAC | Fully functional |
| 2 | Academic | Physics Lab | HPC Server | Antivirus updated, AMC valid | Partial | Antivirus outdated | Vendor contacted | Sys Admin | ICT Cell | Pending update |
| 3 | Student | Hostel Block A | Accessible Toilets | RPwD Act compliance | Partial | Grab bars missing | Procurement approved | Civil Works | Accessibility Committee | To be fixed by 30-09-2025 |
| 4 | Admin | Exam Cell | ERP Software | Active license | No | License expired | Renewal initiated | ERP In-Charge | Registrar | Budget approval pending |
| 5 | Digital | Library | IEEE Xplore Subscription | Active until Dec 2025 | Yes | Renewal due in Dec | Renewal request initiated | Library + IT Cell | IQAC | Renewal planned |
| 6 | Utilities | Campus Wide | Water Supply System | Continuous, potable | Yes | None | – | Engineering Dept. | CDC | Compliant |
| 7 | Sustainability | Hostel Block B | Rooftop Solar Panels | 30% energy from solar | Yes | None | – | Green Campus Committee | IQAC | Generating surplus energy |

### Monthly Campus Facilities Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Facilities / Campus Development Committee)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Facilities Audited: ________

Overall Campus Compliance Rate: ________ %

Issues Identified: ________

Issues Resolved: ________

Issues Pending: ________

Highlights:

Example: “New Smart Classroom inaugurated in Commerce Block.”

Example: “Hostel Block B rooftop solar panels generating 35% of power demand.”

Challenges:

Example: “ERP license expired, pending renewal due to budget approval.”

### 2. Category-Wise Compliance Summary

| Facility Category | Total Facilities Audited | Fully Compliant | Partial | Non-Compliant | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Academic Facilities | ___ | ___ | ___ | ___ | ___% | Smart classrooms, labs, libraries |
| Student Amenities | ___ | ___ | ___ | ___ | ___% | Hostels, canteens, health, sports |
| Administrative Facilities | ___ | ___ | ___ | ___ | ___% | Departments, offices, exam cell |
| Digital Infrastructure | ___ | ___ | ___ | ___ | ___% | ERP, LMS, Data centers |
| Utilities & Services | ___ | ___ | ___ | ___ | ___% | Water, power, sanitation |
| Green & Sustainable Infra | ___ | ___ | ___ | ___ | ___% | Solar, rainwater, waste |
| Total | ___ | ___ | ___ | ___ | ___% | – |

### 3. Department/Block-Wise Status

| Department / Location | Facility / Component | Category | Compliance Status (Yes/No/Partial) | Issues Identified | Action Taken / Proposed | Responsible Team | Target Resolution Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commerce Block – Room 203 | Smart Classroom | Academic | Yes | None | – | IT Cell | – | Fully functional |
| Physics Lab | HPC Server | Academic | Partial | Antivirus outdated | Vendor contacted | Sys Admin | 15-09-2025 | Pending update |
| Hostel Block A | Accessible Toilets | Student | Partial | Grab bars missing | Procurement approved | Civil Works | 30-09-2025 | In progress |
| Exam Cell | ERP Software | Admin/Digital | No | License expired | Renewal request submitted | ERP In-Charge | 20-09-2025 | Budget approval pending |
| Library | IEEE Xplore Subscription | Digital | Yes | Renewal due Dec | Renewal initiated | Library + IT Cell | – | Compliant |
| Hostel Block B | Rooftop Solar | Sustainability | Yes | None | – | Green Campus Committee | – | Producing surplus |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Location / Facility | Category | Issue Description | Impact | Action Taken | Responsible Team | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FAC/2025/09/01 | ERP Software | Admin/Digital | License expired | Exam management affected | Renewal request sent | ERP In-Charge | 20-09-2025 | Pending |
| FAC/2025/09/02 | Hostel Block A Toilets | Student | Accessibility non-compliance | Inconvenience for PwDs | Procurement approved | Civil Works | 30-09-2025 | In progress |

### 5. Preventive Maintenance Activities Completed

Classroom projector calibration (Block C).

Wi-Fi access point firmware update across hostels.

Pest control in library and labs.

Fire extinguisher inspections in admin block.

Rainwater harvesting tank cleaned and functional.

### 6. Action Taken Report (ATR) – Previous Month

Library tactile signage installed and verified by Accessibility Committee.

Solar panels in Block A commissioned and integrated into campus grid.

Sports complex gym equipment repaired under AMC.

### 7. Recommendations

Develop a centralized AMC tracker for ICT, lab, and hostel equipment.

Expand rainwater harvesting to new construction blocks.

Prioritize ERP renewal automation with budget pre-approvals.

Introduce a digital space booking system for auditoriums and seminar halls.

Integrate sustainability & accessibility metrics into IQAC reporting.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / CDC In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

### Canteen Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Type of Maintenance (Plumbing / Electrical / Kitchen Equipment / Hygiene / Renovation / AMC / Other) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Person / Dept. | Verified By (Facilities / Hostel Warden / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record of maintenance works.

MS Number → Unique reference number for each scheduled maintenance activity.

Type of Maintenance → Category (plumbing, electrical, kitchen equipment, hygiene, pest control, furniture).

Date of Maintenance Scheduled → Planned date of work.

Description of Maintenance → Details (e.g., deep cleaning of kitchen exhausts, repair of gas pipeline).

Estimated Cost of Maintenance (₹) → Cost projection.

Date of Maintenance Undertaken → Actual date of execution.

Responsible Person / Dept. → Canteen Manager, Facilities Dept., Hostel Warden.

Verified By → IQAC, Registrar, or Food Safety Officer.

Remarks → Notes on delays, vendor performance, AMC coverage.

Sample Entries

| Serial Number | MS Number | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Person | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/CAN/2025/01 | Hygiene | 05-07-2025 | Deep cleaning of kitchen exhaust & chimneys | 5,000 | 06-07-2025 | Canteen In-Charge | Facilities Dept. | Completed successfully |
| 2 | MS/CAN/2025/02 | Plumbing | 10-07-2025 | Repair of leaking sinks & water supply line | 3,500 | 12-07-2025 | Facilities Engineer | Registrar | Minor delay due to parts |
| 3 | MS/CAN/2025/03 | Kitchen Equipment | 15-07-2025 | Annual servicing of refrigerators & ovens (AMC) | 8,000 | 15-07-2025 | AMC Vendor | IQAC | AMC certificate attached |
| 4 | MS/CAN/2025/04 | Electrical | 20-07-2025 | Replacement of faulty wiring in dining area | 6,200 | 22-07-2025 | Electrical Supervisor | Safety Officer | Verified and certified |
| 5 | MS/CAN/2025/05 | Pest Control | 25-07-2025 | Rodent & cockroach treatment | 4,000 | 25-07-2025 | Pest Control Vendor |  |  |

### Hostel Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Type of Maintenance (Plumbing / Electrical / Furniture / Hygiene / Renovation / AMC / Other) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Person / Dept. | Verified By (Warden / Facilities / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record for hostel maintenance activities.

MS Number → Unique reference ID for each maintenance schedule (e.g., MS/HOS/2025/01).

Type of Maintenance → Plumbing, electrical, sanitation, furniture, pest control, AMC, renovation.

Date of Maintenance Scheduled → Planned schedule.

Description of Maintenance → Specific details (e.g., repair of water pipeline leak, pest control drive).

Estimated Cost of Maintenance (₹) → Expected cost.

Date of Maintenance Undertaken → Actual date executed.

Responsible Person / Dept. → Hostel Warden, Facilities Dept., Electrical Supervisor.

Verified By → IQAC, Registrar, Safety Officer, Hostel Committee.

Remarks → Any deviations, delays, or follow-up actions.

Sample Entries

| Serial Number | MS Number | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Person | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/HOS/2025/01 | Plumbing | 05-07-2025 | Repair of leaking bathroom pipelines in Block A | 4,500 | 07-07-2025 | Facilities Engineer | Hostel Warden | Completed |
| 2 | MS/HOS/2025/02 | Electrical | 10-07-2025 | Replacement of damaged wiring & switchboards | 6,000 | 12-07-2025 | Electrical Supervisor | Safety Officer | Verified |
| 3 | MS/HOS/2025/03 | Furniture | 15-07-2025 | Repair & replacement of study tables in rooms | 8,200 | 20-07-2025 | Hostel Office | IQAC | 10 tables replaced |
| 4 | MS/HOS/2025/04 | Hygiene | 20-07-2025 | Pest control – mosquitoes & rodents | 3,000 | 20-07-2025 | Pest Control Vendor | Registrar | Quarterly activity |
| 5 | MS/HOS/2025/05 | Renovation | 25-07-2025 | Painting of Hostel Block B corridors | 25,000 | 01-08-2025 | Facilities Dept. |  |  |

### Grounds, Roads & Landscaping Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Bore Well Serial (if applicable) | Type of Maintenance (Road / Drainage / Lawn / Trees / Shrubs / Bore Well / Other) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer / Dept. | Verified By (Estate Office / Green Campus Cell / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record of activities.

MS Number → Maintenance Schedule ID (e.g., MS/GRN/2025/01).

Bore Well Serial → Unique number of bore well (if work involves groundwater/irrigation).

Type of Maintenance → Walkway, road, drainage, lawns, trees, shrubs, bore wells.

Date of Maintenance Scheduled → Planned maintenance date.

Description of Maintenance → Task details (e.g., tree pruning, pothole filling, bore well desilting).

Estimated Cost of Maintenance (₹) → Projected cost.

Date of Maintenance Undertaken → Actual execution date.

Responsible Officer / Dept. → Facilities Manager, Green Campus Cell, Horticulture Officer, Civil Engineer.

Verified By → Registrar, IQAC, Green Campus Committee.

Remarks → Progress notes, vendor details, next cycle of maintenance.

Sample Entries

| Serial Number | MS Number | Bore Well Serial | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/GRN/2025/01 | BW-01 | Bore Well | 05-07-2025 | Cleaning & desilting of bore well near Hostel A | 12,000 | 07-07-2025 | Civil Engineer | Estate Office | Completed |
| 2 | MS/GRN/2025/02 | – | Roads | 10-07-2025 | Pothole repair on main entrance road | 25,000 | 12-07-2025 | Facilities Dept. | Registrar | Vendor bill attached |
| 3 | MS/GRN/2025/03 | – | Drainage | 15-07-2025 | Desilting of stormwater drains before monsoon | 18,000 | 16-07-2025 | Civil Engineer | IQAC | Preventive action |
| 4 | MS/GRN/2025/04 | – | Lawns | 20-07-2025 | Re-seeding & fertilizer application in front lawns | 8,500 | 21-07-2025 | Horticulture Officer | Green Campus Cell | Quarterly activity |
| 5 | MS/GRN/2025/05 | – | Trees & Shrubs | 25-07-2025 | Pruning of trees along academic block pathways | 6,000 | 25-07-2025 | Garden Supervisor | Estate Office | Verified |

# 9. Accessibility Policy

## 1. Introduction

Accessibility is a fundamental principle of higher education, ensuring that all members of the university community — students, faculty, staff, and visitors, including persons with disabilities (PwDs) — have equal opportunity to access, participate, and benefit from academic and non-academic facilities.

This policy aligns with:

Rights of Persons with Disabilities (RPwD) Act, 2016

University Grants Commission (UGC) Guidelines

National Education Policy (NEP) 2020

Accreditation frameworks (NAAC, NBA, NIRF, QS I·GAUGE)

UN Sustainable Development Goals (SDGs 4, 10, 11)

## 2. Objectives

To provide inclusive infrastructure that supports universal accessibility.

To remove physical, digital, and academic barriers for differently-abled persons.

To ensure compliance with national laws and accreditation standards.

To sensitize the campus community about accessibility and inclusivity.

To continuously improve facilities through feedback and audits.

## 3. Scope

This policy applies to:

Physical Infrastructure: Classrooms, labs, libraries, hostels, offices, toilets, common spaces.

ICT & Digital Infrastructure: Websites, LMS, ERP, e-library, mobile apps.

Student & Staff Services: Admissions, examinations, transport, counseling, career services.

Community Engagement: Events, seminars, workshops, outreach programs.

## 4. Key Provisions

### A. Physical Accessibility

Ramps, elevators, tactile paths, wide corridors for wheelchair mobility.

Accessible toilets in all major buildings.

Signage in braille and large print.

Reserved seating in classrooms, libraries, and auditoriums.

Hostel facilities designed with accessibility features.

### B. ICT & Digital Accessibility

University website compliant with WCAG 2.1 standards (screen-reader compatibility, captions, alt-text for images).

Accessible e-learning platforms (LMS, MOOCs, ERP).

Assistive technology support (screen readers, speech-to-text, magnification tools).

Availability of digital course content in multiple formats (audio, e-text, large print, braille).

### C. Academic Accessibility

Flexibility in assessment and examinations (scribe facility, extra time, alternative evaluation).

Provision of accessible study materials (braille, e-books, recorded lectures).

Inclusive teaching-learning practices (universal design for learning).

Dedicated resource center for PwDs with assistive technologies.

### D. Transportation & Mobility

Accessible campus transport (ramps, hydraulic lifts).

Reserved parking spaces near academic and administrative blocks.

### E. Sensitization & Training

Awareness workshops for faculty, staff, and students on inclusivity.

Training for administrative staff in handling accessibility-related needs.

### F. Governance & Monitoring

Accessibility Committee chaired by Dean (Student Welfare / Planning & Development).

Inclusion of PwD representatives in decision-making.

Annual accessibility audit of physical and digital facilities.

Feedback mechanism for PwDs to report issues.

## 5. Accreditation & Quality Linkages

NAAC Criterion 4 & 7: Infrastructure inclusivity, student support, best practices.

NBA Criterion 7: Adequacy of facilities, equity of access.

NIRF Outreach & Inclusivity (OI): Accessibility for differently-abled students.

QS I·GAUGE Learner Diversity & Inclusivity: Infrastructure and support for PwDs.

SDGs:

SDG 4: Inclusive and equitable education.

SDG 10: Reducing inequalities.

SDG 11: Sustainable and inclusive communities.

## 6. Review of Policy

The Accessibility Policy will be reviewed every 2 years.

Updates will reflect changes in laws, accreditation frameworks, and stakeholder feedback.

### Accessibility Compliance Register

| S. No. | Department / Location | Accessibility Area (Physical / Digital / Academic / Services) | Facility / Component | Compliance Standard (e.g., Ramp, WCAG 2.1, Scribe Support) | Compliance Status (Yes / No / Partial) | Issues Identified | Action Taken / Proposed | Responsible Team / Committee | Verified By (Accessibility Committee / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number for tracking.

Department / Location → Building, lab, classroom, library, hostel, website, ERP, etc.

Accessibility Area → Physical, Digital, Academic, or Student/Staff Services.

Facility / Component → Example: Ramp, Elevator, Accessible Toilet, ERP Login, Scribe Support, Tactile Path.

Compliance Standard → Benchmark (e.g., Ramp gradient as per RPwD Act, Website WCAG 2.1 compliant).

Compliance Status → Drop-down: Yes / No / Partial.

Issues Identified → Specific gaps (e.g., Elevator not working, No captions in e-learning videos).

Action Taken / Proposed → Repairs, upgrades, policy changes, training, procurement.

Responsible Team / Committee → Engineering Dept., IT Cell, Exam Cell, Student Welfare, Accessibility Committee.

Verified By → Accessibility Committee, IQAC, or third-party auditor.

Remarks → Additional notes (e.g., Budget approval pending, Work in progress).

Sample Entries

| S. No. | Department / Location | Accessibility Area | Facility / Component | Compliance Standard | Compliance Status | Issues Identified | Action Taken / Proposed | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Commerce Block – Ground Floor | Physical | Ramp | RPwD Act gradient standards | Yes | None | – | Civil Works Dept. | Accessibility Committee | Fully compliant |
| 2 | Physics Lab Block | Physical | Elevator | Accessible lift | No | Elevator non-functional | Repair under AMC | Engineering Dept. | IQAC | To be completed by 15-09-2025 |
| 3 | University Website | Digital | Website Accessibility | WCAG 2.1 compliance | Partial | Missing alt-text for images | Vendor engaged for compliance | IT Cell | Accessibility Committee | Completion expected by Oct 2025 |
| 4 | Exam Cell | Academic | Scribe Support | Extra time + scribe provision | Yes | None | – | Exam Cell | Accessibility Committee | Available on request |
| 5 | Hostel Block A | Physical | Accessible Toilets | Inclusive design | Partial | Grab bars missing | Procurement approved | Civil Works | Accessibility Committee | Work in progress |
| 6 | Library | Digital | E-Resources (Journals/ Books) | Screen-reader compatibility | No | Some databases not accessible | Negotiations with vendor | Library + IT Cell | IQAC | Critical issue |

### Monthly Accessibility Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Accessibility Committee / Student Welfare Cell)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Facilities Audited: ________

Accessibility Compliance Rate: ________ %

Issues Identified: ________

Issues Resolved: ________

Issues Pending: ________

Key Highlights:

Example: “New ramps constructed in Commerce Block.”

Example: “Website audit initiated for WCAG compliance.”

Challenges:

Example: “Accessible toilets pending installation in Hostel Block.”

### 2. Category-Wise Accessibility Compliance

| Category | Total Facilities Audited | Fully Compliant | Partially Compliant | Non-Compliant | Compliance % |
| --- | --- | --- | --- | --- | --- |
| Physical Infrastructure (Ramps, Elevators, Toilets) | ___ | ___ | ___ | ___ | ___% |
| Digital Infrastructure (Website, LMS, ERP) | ___ | ___ | ___ | ___ | ___% |
| Academic Support (Scribe, Study Materials, Exams) | ___ | ___ | ___ | ___ | ___% |
| Services & Transport (Hostels, Parking, Shuttle) | ___ | ___ | ___ | ___ | ___% |
| Total | ___ | ___ | ___ | ___ | ___% |

### 3. Department / Location-Wise Audit Findings

| Department / Location | Accessibility Area | Facility / Component | Compliance Status (Yes/No/Partial) | Issues Identified | Action Taken / Proposed | Responsible Team | Target Resolution Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commerce Block | Physical | Ramp | Yes | None | – | Civil Works Dept. | – | Fully functional |
| Physics Lab Block | Physical | Elevator | No | Lift non-functional | AMC repair initiated | Engineering Dept. | 15-09-2025 | Critical issue |
| University Website | Digital | Website Content | Partial | Missing alt-text | Vendor engaged | IT Cell | 01-10-2025 | In progress |
| Exam Cell | Academic | Scribe Support | Yes | None | – | Exam Cell | – | Available as per RPwD Act |
| Hostel Block A | Physical | Accessible Toilet | Partial | Grab bars missing | Procurement approved | Civil Works | 30-09-2025 | To be fixed |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Location | Issue Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ACC/2025/09/01 | Physics Lab | Elevator not functional | Restricts mobility of PwD students | Engineering Dept. | Vendor contacted | 15-09-2025 | Pending |
| ACC/2025/09/02 | University Website | Non-compliance with WCAG | Students with visual impairment face issues | IT Cell | Vendor audit initiated | 01-10-2025 | In progress |

### 5. Action Taken Report (ATR) – Previous Month

Library tactile signage installed and verified by Accessibility Committee.

Two accessible parking spaces added near Admin Block.

Digital Library content partially upgraded for screen-reader compatibility.

### 6. Recommendations

Develop a 5-year Accessibility Master Plan (ramps, lifts, ICT).

Ensure budget earmarking for accessibility improvements.

Introduce student-led accessibility feedback mechanism (ERP/mobile app).

Train faculty & staff on inclusive teaching practices.

Expand digital compliance to cover LMS, e-resources, and online exam systems.

### 7. Verification & Approval

Prepared By: __________________ (Accessibility Committee Coordinator)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

### Facilities Provided to Support Disabled Persons – Register

| Serial Number | Facility Number | Facility Description | Location (Block / Building / Department) | Type of Support (Physical / Digital / Academic / Administrative) | Compliance Reference (RPwD Act / UGC / NAAC) | Responsible Officer / Dept. | Verified By (IQAC / Registrar) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record for facilities.

Facility Number → Unique ID assigned to each facility (e.g., PWD/2025/01).

Facility Description → Details of support (e.g., Wheelchair ramp at Library entrance).

Location → Where the facility is available (library, classrooms, hostels, admin office).

Type of Support →

Physical (ramps, lifts, toilets, tactile paths).

Digital (screen readers, e-content, accessible LMS).

Academic (scribes, extended exam time, assistive devices).

Administrative (scholarships, reserved hostel rooms).

Compliance Reference → RPwD Act 2016, UGC guidelines, NAAC/NBA evidence.

Responsible Officer / Dept. → Engineering Dept., Library In-Charge, IT Cell, Examination Cell.

Verified By → IQAC, Registrar, or Accessibility Committee.

Remarks → Notes, upgrades, or pending compliance.

Sample Entries

| Serial Number | Facility Number | Facility Description | Location | Type of Support | Compliance Reference | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | PWD/2025/01 | Wheelchair ramp with handrails | Academic Block A entrance | Physical | RPwD Act 2016 | Engineering Dept. | IQAC | Needs repainting |
| 2 | PWD/2025/02 | Lift with Braille buttons & voice guidance | Library & Admin Block | Physical | UGC Accessibility Guidelines | Facilities Manager | Registrar | Fully functional |
| 3 | PWD/2025/03 | Accessible toilets with grab bars | Hostels & Main Academic Block | Physical | NAAC Criterion 4 | Hostel Office | IQAC | AMC contract active |
| 4 | PWD/2025/04 | Screen-reader enabled systems | Central Library E-Resource Section | Digital | RPwD Act + AICTE | IT Cell | IQAC | Linked with LMS |
| 5 | PWD/2025/05 | Scribe and extra exam time support | Examination Cell | Academic | UGC / AICTE norms | Exam Controller | Registrar | Used during 2025 exams |
| 6 | PWD/2025/06 | Reserved hostel rooms (ground floor, wide entry) | Hostel Block A & B | Administrative | NAAC Inclusivity | Hostel Warden | IQAC | Allocation register maintained |
| 7 | PWD/2025/07 | Tactile guiding paths for visually impaired | Pathways – Admin to Library | Physical | RPwD Act | Engineering Dept. | Accessibility Committee | Expansion needed |
| 8 | PWD/2025/08 | Scholarship for differently-abled students | Accounts & Scholarship Cell | Administrative | UGC Norms | Finance Officer | IQAC | 12 students benefited in 2025 |

# 10. ICT Facility Policy

## 1. Introduction

ICT is the backbone of modern higher education and an essential enabler of teaching–learning, research, governance, and communication.

This policy provides guidelines for the creation, management, security, and responsible use of ICT facilities at the institution.

It ensures compliance with NAAC (Criterion 4 & 6), NBA (Facilities & Technical Support), NIRF (Teaching-Learning Resources), QS I·GAUGE (ICT Facilities) and is aligned with NEP-2020.

## 2. Objectives

To provide reliable and secure ICT infrastructure for all academic and administrative stakeholders.

To ensure equitable access to ICT resources for students, faculty, researchers, and staff.

To promote digital transformation and e-governance in institutional operations.

To support blended learning, MOOCs, and digital classrooms.

To establish standards for security, maintenance, and usage of ICT resources.

## 3. Scope

This policy applies to:

ICT Infrastructure: Servers, networks, Wi-Fi, firewalls, data centers, UPS.

End-User Devices: Desktops, laptops, tablets, projectors, printers.

Software & Applications: LMS (Moodle, Blackboard, SWAYAM), ERP systems, SIS, digital library access, licensed software.

Digital Learning Facilities: Smart classrooms, hybrid learning setups, video conferencing systems.

Communication Systems: University email, collaboration tools (MS Teams, Zoom, Google Meet).

Users: Students, faculty, non-teaching staff, research scholars, and authorized visitors.

## 4. Governance & Responsibility

ICT Facility Committee / IT Cell:

Responsible for ICT planning, procurement, deployment, and review.

Chaired by CIO/Dean (IT/Planning & Development).

System Administrators: Maintain servers, networks, LMS, ERP, and provide user support.

Departments/Units: Ensure proper use of ICT facilities in labs, classrooms, and offices.

IQAC: Audit ICT services and maintain evidence for accreditation.

## 5. ICT Facility Standards

### A. Access & Usage

All users must authenticate using institutional credentials (ERP/LMS/Email IDs).

Access to ICT facilities will be role-based (student, faculty, admin, researcher).

Users must comply with the Acceptable Use Policy (AUP) – no misuse, hacking, or unauthorized sharing.

### B. Infrastructure Provisioning

High-speed campus-wide LAN and Wi-Fi connectivity.

Secure VPN for remote access to resources.

Adequate servers, storage, and cloud integration (AWS, Azure, Google Cloud).

### C. Software & Licensing

Only licensed or open-source software permitted.

ERP & LMS mandatory for teaching, learning, exams, and administration.

IT Cell maintains a Software Register with license validity and renewal dates.

### D. Digital Classrooms & Learning Tools

Smart classrooms equipped with projectors, interactive boards, lecture capture systems.

Integration with MOOCs (SWAYAM, NPTEL, Coursera, edX).

Online examination systems with secure proctoring tools.

### E. Data Security & Backup

Servers protected with firewalls, IDS/IPS, endpoint security.

Data backed up periodically with disaster recovery systems.

Information security aligned with ISO/IEC 27001 standards.

### F. Maintenance & Upgradation

Preventive ICT maintenance schedule (network checks, antivirus updates, software patches).

Annual review of ICT facilities for upgrades and replacements.

Obsolete equipment disposed of as per e-waste policy.

## 6. User Responsibilities

Use ICT facilities only for academic and institutional purposes.

Protect credentials (no password sharing, no unauthorized access).

Report ICT-related issues via the ICT Helpdesk / Indent System.

Avoid storing or transmitting objectionable/illegal content.

Adhere to data privacy and copyright regulations.

## 7. Monitoring & Evaluation

ICT usage tracked via ERP/LMS analytics and network logs.

Monthly ICT Audit Reports generated (uptime, usage, issues resolved).

ICT compliance checked during internal audits and accreditation cycles.

## 8. Accreditation & Quality Linkages

NAAC Criterion 4: ICT-enabled infrastructure and e-resources.

NBA Criterion 7: ICT facilities for outcome-based education.

NIRF TLR: ICT infrastructure supporting teaching-learning.

QS I·GAUGE ICT & Student Support: Technology-enabled learning environment.

## 9. Review of Policy

This policy will be reviewed every 3 years by the ICT Facility Committee.

Updates will consider emerging technologies (AI, VR, cloud, IoT), digital pedagogy, and cybersecurity trends.

### ICT Facility Compliance Register

| S. No. | Department / Location | ICT Facility (Device / System / Service) | Specification / Capacity | Date of Installation / Allocation | Compliance Standard (Speed / License / Security / AMC) | Compliance Status (Yes / No / Partial) | Issues Reported | Action Taken / Proposed | Responsible Team / Person | Verified By (ICT Cell / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number.

Department / Location → Academic block, lab, classroom, hostel, library, admin office, etc.

ICT Facility → Specific item/service (e.g., Smart Classroom Projector, ERP Server, Wi-Fi Access Point, Licensed Software, Digital Library Access).

Specification / Capacity → Example: Dell Server 16-core, 128 GB RAM, 10 TB storage; 1 Gbps Internet line; MS Teams (500 user licenses).

Date of Installation / Allocation → When it was set up or allocated.

Compliance Standard → Minimum expected requirement (e.g., 1 Gbps speed, Antivirus updated, Licensed software, AMC valid).

Compliance Status → Drop-down: Yes / No / Partial.

Issues Reported → Any problems (e.g., slow Wi-Fi, projector malfunction, software expired).

Action Taken / Proposed → Maintenance, AMC service, replacement, patch upgrade.

Responsible Team / Person → IT Cell, Network Admin, Department Technician.

Verified By → ICT Facility Committee / IQAC Coordinator / Internal Auditor.

Remarks → Extra notes (e.g., “Pending vendor response,” “Replaced with new model”).

Sample Entries

| S. No. | Department / Location | ICT Facility | Specification / Capacity | Date of Installation | Compliance Standard | Compliance Status | Issues Reported | Action Taken | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Commerce Block – Room 203 | Smart Classroom Projector | Epson EB-X41, 3,600 Lumens | 05-07-2025 | AMC valid till 2027 | Yes | None | – | IT Cell | IQAC | Fully functional |
| 2 | Physics Lab | HPC Server | Dell PowerEdge R740, 128 GB RAM | 15-06-2025 | Antivirus updated, License valid | Partial | Antivirus not updated | Vendor contacted | IT Cell + Sys Admin | ICT Cell | Pending update |
| 3 | Hostel Block A | Wi-Fi Access Point | Cisco 1850, 1 Gbps | 20-07-2025 | Speed ≥ 100 Mbps | Yes | None | – | Network Team | GCC | Compliant |
| 4 | Library | Digital Library Subscription | IEEE Xplore (500 users) | 01-01-2025 | License valid till Dec 2025 | Yes | None | Renewal due in Dec | Library + IT Cell | IQAC | Renewal planned |
| 5 | Admin Office | ERP Software | TCS iON Cloud ERP | 01-04-2024 | License subscription active | No | License expired | Renewal in process | ERP In-Charge | Registrar | Delay due to budget approval |

### Monthly ICT Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (ICT Cell / IT Services)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total ICT Facilities Audited: ________

Compliance Rate: ________ %

Issues Identified: ________

Issues Resolved: ________

Issues Pending: ________

Highlights:

Example: “Campus Wi-Fi uptime maintained at 99.5%.”

Example: “Smart classrooms upgraded with new projectors.”

Key Challenges:

Example: “ERP software renewal delayed due to vendor contract.”

### 2. Department/Location-wise ICT Compliance

| Department / Location | ICT Facility | Compliance Standard | Compliance Status (Yes/No/Partial) | Issues Reported | Action Taken | Responsible Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commerce Block | Smart Classroom Projector | AMC valid till 2027 | Yes | None | – | IT Cell | IQAC | Functional |
| Physics Lab | HPC Server | Antivirus updated | Partial | Antivirus outdated | Vendor contacted | Sys Admin | ICT Cell | Pending update |
| Hostel Block A | Wi-Fi Access Point | 100 Mbps | Yes | None | – | Network Team | GCC | Stable |
| Library | Digital Library Access (IEEE Xplore) | License valid till Dec 2025 | Yes | Renewal pending in Dec | Renewal initiated | Library + IT Cell | IQAC | Compliant |
| Admin Office | ERP Software | Subscription active | No | License expired | Renewal request submitted | ERP In-Charge | Registrar | Awaiting approval |

### 3. Category-wise Summary

| Category | Total Facilities | Fully Compliant | Partial | Non-Compliant | Compliance % |
| --- | --- | --- | --- | --- | --- |
| Hardware (Desktops, Laptops, Servers) | ___ | ___ | ___ | ___ | ___% |
| Software (ERP, LMS, Licensed Apps) | ___ | ___ | ___ | ___ | ___% |
| Networking (Wi-Fi, LAN, VPN) | ___ | ___ | ___ | ___ | ___% |
| Digital Learning (Smart Classrooms, LMS, MOOCs) | ___ | ___ | ___ | ___ | ___% |
| Security (Firewall, Antivirus, IDS/IPS) | ___ | ___ | ___ | ___ | ___% |
| Total | ___ | ___ | ___ | ___ | ___% |

### 4. Issues & Action Taken Report (ATR)

| Issue ID | Facility | Issue Description | Date Reported | Action Taken | Responsible Team | Resolution Status (Closed / In Progress / Pending) | Target Date |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ICT/2025/07/01 | ERP Software | Subscription expired | 05-07-2025 | Renewal requested | ERP In-Charge | Pending | 20-09-2025 |
| ICT/2025/07/02 | Physics Lab Server | Antivirus outdated | 10-07-2025 | Vendor contacted | Sys Admin | In Progress | 15-09-2025 |

### 5. Preventive Maintenance Activities

Wi-Fi routers inspected and firmware updated.

Antivirus upgraded in 85% of systems.

Smart classroom projectors calibrated.

Digital library access tested.

Cloud backup verified.

### 6. Recommendations

Automate ICT monitoring via ERP/LMS dashboard.

Create a license renewal calendar with alerts.

Expand campus Wi-Fi coverage to uncovered hostels.

Enhance cybersecurity with endpoint detection & response (EDR).

### 7. Verification & Approval

Prepared By: __________________ (ICT Cell In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Dean)

### Accreditation Documentation (Mapping)

NAAC

Criterion 4 (Infrastructure & Learning Resources): Report evidences ICT-enabled teaching, smart classrooms, digital library.

Criterion 6 (Governance & Leadership): Demonstrates ICT-enabled ERP, e-governance, digital exam systems.

NBA

Criterion 7 (Facilities & Technical Support): ICT facilities for OBE (Outcome-Based Education), e-learning, and technical infrastructure.

NIRF

Teaching-Learning Resources (TLR): ICT facilities contribute to digital classrooms, LMS adoption, digital library access.

QS I·GAUGE

ICT Facilities & Student Support: Provides evidence of digital infrastructure, e-learning, and ICT compliance for rating indicators.

# 11. Infrastructure Development Policy

## 1. Introduction

Infrastructure is a critical enabler of quality education, research, innovation, and community engagement in HEIs.

This policy provides a structured framework for the creation, expansion, modernization, and optimal utilization of physical and digital infrastructure within the institution.

It ensures alignment with NAAC, NBA, NIRF, QS I·GAUGE, NEP-2020, and Sustainable Development Goals (SDGs 9, 11, 12, 13).

## 2. Objectives

To ensure adequate and modern facilities for teaching, learning, research, and student support.

To adopt sustainable and eco-friendly practices in all infrastructure projects.

To optimize space utilization through systematic planning and allocation.

To strengthen ICT-enabled facilities for blended and digital learning.

To create inclusive infrastructure for differently-abled persons (PwDs).

To provide evidence-based infrastructure records for accreditation and quality audits.

## 3. Scope

This policy applies to:

Academic spaces (classrooms, labs, libraries, seminar halls).

Research & innovation centers (HPC labs, incubation hubs, testing facilities).

Student facilities (hostels, canteens, sports complexes, healthcare centers).

Administrative buildings and faculty offices.

ICT and digital infrastructure (LMS, ERP, data centers, smart classrooms).

Utility and support systems (power supply, UPS, water, sanitation, transport).

## 4. Principles of Infrastructure Development

Need-Based Planning → Infrastructure projects will be based on academic/research priorities, student enrolments, and future growth.

Master Plan Approach → Expansion aligned with long-term campus development plan.

Sustainability → Use of green buildings, renewable energy (solar), rainwater harvesting, and waste management systems.

Accessibility & Inclusivity → Facilities designed as per universal accessibility standards.

Compliance with Standards → National Building Code, Fire Safety Regulations, AICTE/UGC norms.

Technology-Integration → Smart classrooms, ICT-enabled labs, cloud integration for research.

## 5. Governance & Approvals

Infrastructure Development Committee (IDC): Chaired by Dean (Planning & Development) with members from Engineering, Finance, IT, and IQAC.

Proposal Process: Departments submit infrastructure requests with justifications.

Approval Authority: IDC reviews and forwards proposals to Governing Body/Management Council.

Monitoring: Periodic progress reports to IDC and IQAC.

## 6. Funding Sources

Institutional budget allocations.

Grants from UGC, AICTE, RUSA, DST, DBT, World Bank (TEQIP/EQUIP), CSR funds.

Public-Private Partnerships (PPP).

Alumni and philanthropic contributions.

## 7. Implementation & Monitoring

Project Planning: Define scope, timelines, budget, and compliance needs.

Execution: Engineering Department or outsourced contractors through transparent tendering.

Monitoring: Monthly review of progress and adherence to quality standards.

Documentation: Maintain records of all projects in the Infrastructure Development Register.

Feedback Mechanism: Periodic user feedback from faculty, staff, and students.

## 8. Maintenance & Upgradation

New infrastructure will be integrated into the Preventive Maintenance Policy.

Digital systems (ERP, LMS, Smart Classrooms) will follow the ICT Maintenance Policy.

Obsolete facilities/equipment will be phased out responsibly with proper documentation.

## 9. Accreditation & Quality Linkages

NAAC Criterion 4: Adequacy & modernization of infrastructure.

NBA Criterion 7: Technical support & facilities for outcome-based education.

NIRF TLR: Infrastructure and learning resources for teaching-learning processes.

QS I·GAUGE: Facilities, governance, sustainability indicators.

SDGs: Infrastructure development aligned with sustainability, accessibility, and climate action.

## 10. Review of Policy

The Infrastructure Development Policy will be reviewed every 3 years by the Infrastructure Development Committee (IDC).

Updates will consider new academic programs, regulatory requirements, and sustainability trends.

### Infrastructure Development Compliance Register

| S. No. | Department / Location | Proposed Infrastructure (Classroom/Lab/Facility) | Type (New / Upgrade / Renovation) | Proposal Submitted By | Date of Proposal | IDC Review Status (Approved /Deferred /Rejected) | Approval Authority (Registrar/GB/MC) | Budget Allocated (₹ Lakhs) | Funding Source (Institution/Grant/CSR/PPP) | Target Completion Date | Actual Completion Date | Compliance with Standards (Yes/No/Partial) | Evidence / Document Reference | Verified By (IDC/IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number for tracking.

Department / Location → Block, lab, hostel, library, sports complex, etc.

Proposed Infrastructure → Nature of request (e.g., new smart classroom, renovation of hostel, lab upgrade).

Type → Dropdown: New / Upgrade / Renovation.

Proposal Submitted By → Faculty, HOD, Committee, Student Council.

Date of Proposal → When request was submitted.

IDC Review Status → Approved, Deferred, or Rejected (after Infrastructure Development Committee review).

Approval Authority → Registrar, Governing Body, or Management Council.

Budget Allocated → Amount approved.

Funding Source → Institutional fund, UGC/AICTE grant, CSR funds, PPP, alumni contribution.

Target Completion Date → Planned timeline.

Actual Completion Date → When project was finished.

Compliance with Standards → Whether project meets NBC, AICTE/UGC, Fire Safety, Accessibility norms.

Evidence / Document Reference → Proposal ID, tender documents, contracts, photos, invoices.

Verified By → IDC/IQAC/Engineering Dept.

Remarks → Pending tasks, delays, or follow-up notes.

Sample Entries

| S. No. | Department / Location | Proposed Infrastructure | Type | Proposal Submitted By | Date of Proposal | IDC Review Status | Approval Authority | Budget Allocated (₹ Lakhs) | Funding Source | Target Completion Date | Actual Completion Date | Compliance with Standards | Evidence / Document Reference | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Commerce Block – Room 203 | Smart Classroom with projector & Wi-Fi | New | HOD – Commerce | 05-07-2025 | Approved | Registrar | 15.0 | CSR – ABC Pvt Ltd. | 15-10-2025 | – | Yes | Proposal Doc #IDC/2025/07/12 | IDC | Work order released |
| 2 | Physics Lab Block | Renovation of Research Lab (Instruments & AC) | Renovation | Lab In-Charge | 10-07-2025 | Approved | Governing Body | 25.0 | Institution Fund | 30-11-2025 | – | Partial | Tender Doc #PHYS/2025/REN | IQAC | Vendor evaluation ongoing |
| 3 | Hostel Block A | Washroom Upgradation | Upgrade | Student Council | 12-07-2025 | Approved | Management Council | 12.5 | AICTE Grant | 15-09-2025 | 10-09-2025 | Yes | Completion Certificate #HOST/2025 | IDC | Completed ahead of schedule |
| 4 | Library | Digital Library Expansion | New | Librarian | 20-07-2025 | Deferred | – | – | – | – | – | – | Proposal #LIB/2025/07 | IDC | Awaiting funds |

# 12. Space Allocation Policy

## 1. Introduction

Physical space is one of the most valuable resources in any Higher Education Institution (HEI).

This policy ensures that space is allocated efficiently, equitably, and sustainably across academic, administrative, research, and student-support functions.

It aligns with institutional priorities, academic growth, accreditation standards (NAAC, NBA, NIRF, QS I·GAUGE), and national guidelines (e.g., NEP-2020).

## 2. Objectives

To provide transparent and need-based allocation of space for teaching, research, administration, and student facilities.

To ensure optimal utilization of available physical infrastructure.

To promote inclusive and accessible facilities for students, faculty, staff, and differently-abled persons.

To support sustainability goals by avoiding duplication of infrastructure and ensuring shared facilities.

To maintain updated records of space usage for compliance, audits, and accreditation purposes.

## 3. Scope

This policy applies to all:

Academic Spaces: Classrooms, lecture halls, laboratories, seminar halls.

Research Spaces: Research labs, incubation centers, HPC labs, innovation hubs.

Administrative Spaces: Offices for departments, examination cells, registrar offices.

Student Facilities: Libraries, hostels, canteens, sports complexes, health centers.

Common/Shared Facilities: Auditoriums, conference halls, IT labs, co-working spaces.

## 4. Guiding Principles

Equity → Spaces allocated based on institutional priorities and academic needs, not hierarchy.

Transparency → Allocation decisions made by a designated Space Allocation Committee (SAC) with documented approvals.

Flexibility → Space reallocation permitted when requirements change (new courses, student intake increases).

Inclusivity → Infrastructure must comply with universal accessibility standards (ramps, lifts, signage).

Efficiency → Shared spaces (labs, auditoriums, IT facilities) encouraged to maximize utilization.

Sustainability → Preference for multipurpose facilities and eco-friendly designs.

## 5. Governance & Responsibilities

Space Allocation Committee (SAC):

Chair: Dean (Planning & Development).

Members: Heads of Departments, Registrar, Facilities Manager, IQAC representative.

Roles: Review requests, recommend allocations, monitor utilization.

Departments: Submit space requests with justification.

Facilities/Engineering Department: Maintain updated space inventory (floor area, usage type, occupancy).

IQAC: Verify compliance for audits and accreditation.

## 6. Allocation Procedure

1.	Request Submission → Departments submit a proposal (with details like purpose, required size, duration).

2.	Review → SAC evaluates based on need, availability, and alignment with institutional priorities.

3.	Decision → Approved requests documented with allocation order.

4.	Usage Monitoring → Periodic inspections ensure effective use and upkeep.

5.	Reallocation → Underutilized or obsolete spaces reassigned based on new requirements.

## 7. Monitoring & Utilization

Space usage audits conducted annually by SAC.

Registers/logs maintained for:

Classroom allocation & utilization.

Lab scheduling & usage logs.

Hostel occupancy.

Shared facilities booking (auditorium, seminar halls).

Underutilized spaces flagged for reallocation or consolidation.

## 8. Accreditation & Quality Linkages

NAAC Criterion 4: Physical facilities, learning resources, and equitable access.

NBA Criterion 7: Adequacy of classrooms, labs, and technical support.

NIRF (TLR): Space utilization for student learning and research.

QS I·GAUGE (Facilities & Governance): Transparent and inclusive infrastructure allocation.

SDGs (9 & 11): Sustainable, inclusive infrastructure.

## 9. Review of Policy

The policy will be reviewed every 3 years or earlier if required.

Updates will reflect changes in student strength, program expansion, or regulatory norms.

### Space Allocation Compliance Register

| S. No. | Department / Unit | Requested Space (Classroom/ Lab/Office/ Hostel/etc.) | Purpose (Teaching/Research/Admin/Student Facility) | Area Required (sq. ft.) | Proposal Submitted By | Date of Request | SAC Decision (Approved /Deferred /Rejected) | Allocated Space (Building/ Room No.) | Date of Allocation | Utilization Status (Full/Partial/Underutilized) | Compliance with Accessibility Standards (Yes/No) | Verified By (SAC/IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number.

Department / Unit → The requesting academic/administrative department.

Requested Space → Type of space needed (e.g., smart classroom, research lab, hostel rooms).

Purpose → Why the space is needed (e.g., new program, increased student intake, research expansion).

Area Required → Approximate size requirement.

Proposal Submitted By → Faculty, HOD, Registrar, Student Council, etc.

Date of Request → When the request was made.

SAC Decision → Approved / Deferred / Rejected.

Allocated Space → Final assigned building, room number, or facility.

Date of Allocation → When approval and allocation were completed.

Utilization Status → Monitored usage – Full / Partial / Underutilized.

Compliance with Accessibility Standards → Whether space meets requirements for differently-abled persons (Yes/No).

Verified By → Space Allocation Committee (SAC) / IQAC.

Remarks → Notes on pending actions, funding dependency, or reallocation needs.

Sample Entries

| S. No. | Department / Unit | Requested Space | Purpose | Area Required | Proposal Submitted By | Date of Request | SAC Decision | Allocated Space | Date of Allocation | Utilization Status | Accessibility Compliant | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Dept. of Commerce | Smart Classroom | Teaching (ICT-enabled) | 800 sq. ft. | HOD – Commerce | 05-07-2025 | Approved | Block A – Room 203 | 20-07-2025 | Full | Yes | SAC | Equipped with projector & Wi-Fi |
| 2 | Physics Lab Block | Research Lab Renovation | Research | 1,200 sq. ft. | Lab In-Charge | 10-07-2025 | Approved | Physics Block – Lab 101 | 05-08-2025 | Partial | Yes | IQAC | Some instruments pending installation |
| 3 | Hostel Block A | Additional Rooms (20) | Student Facility | 3,000 sq. ft. | Student Council | 12-07-2025 | Approved | Hostel Block A – Floor 3 | 01-09-2025 | Full | No | SAC | Accessibility ramps under construction |
| 4 | Library | Digital Reading Room | Student Facility | 1,000 sq. ft. | Librarian | 20-07-2025 | Deferred | – |  |  |  |  |  |

### Monthly Space Utilization Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Space Allocation Committee / Facilities Manager)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Space Requests Received: ________

Total Approved Allocations: ________

Total Utilized Spaces: ________

Overall Utilization Percentage: ________%

Key Highlights:

Example: “Three new smart classrooms fully utilized.”

Example: “Library reading room allocation deferred due to budget constraints.”

Key Challenges:

Example: “Underutilization of Physics Research Lab due to pending equipment installation.”

### 2. Department/Block-Wise Space Utilization

| Department / Block | Allocated Space (Room/Lab/Facility) | Purpose | Area Allocated (sq. ft.) | Utilization Status (Full/Partial/Underutilized) | Average Utilization Rate (%) | Accessibility Compliant (Yes/No) | Issues Reported | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commerce Block | Room 203 – Smart Classroom | Teaching | 800 | Full | 95% | Yes | None | Successfully integrated with LMS |
| Physics Block | Lab 101 – Research Lab | Research | 1,200 | Partial | 60% | Yes | Instruments pending | Vendor delivery expected next month |
| Hostel Block A | Floor 3 – New Rooms | Student Facility | 3,000 | Full | 100% | No | Ramp under construction | Compliance by Dec 2025 |
| Library | Digital Reading Room | Student Facility | 1,000 | Deferred | 0% | Yes | Funding delayed | Awaiting CSR grant |

### 3. Space Utilization Summary (Institution-Wide)

| Category | Total Allocated | Fully Utilized | Partially Utilized | Underutilized | Deferred | Utilization % |
| --- | --- | --- | --- | --- | --- | --- |
| Academic Classrooms | ___ | ___ | ___ | ___ | ___ | ___% |
| Laboratories / Research | ___ | ___ | ___ | ___ | ___ | ___% |
| Administrative Offices | ___ | ___ | ___ | ___ | ___ | ___% |
| Student Facilities (Hostels, Library, Sports) | ___ | ___ | ___ | ___ | ___ | ___% |
| Shared/Common Spaces (Auditorium, Seminar Halls) | ___ | ___ | ___ | ___ | ___ | ___% |
| Total | ___ | ___ | ___ | ___ | ___ | ___% |

### 4. High-Priority Issues (Pending Resolution)

| Location | Issue | Impact | Responsible Team | Action Taken | Target Resolution Date |
| --- | --- | --- | --- | --- | --- |
| Hostel Block A – Accessibility | Ramp not ready | Accessibility compliance issue | Engineering Dept. | Construction underway | 15-12-2025 |
| Physics Research Lab | Equipment not installed | Underutilization | Vendor + Lab In-Charge | Vendor contacted | 30-09-2025 |

### 5. Action Taken Report (ATR) from Last Month

Example: “Commerce Block smart classroom allocation completed and operational since 10-09-2025.”

Example: “Obsolete rooms in Admin Block reassigned to Student Counselling Centre.”

### 6. Recommendations

Encourage shared usage of underutilized labs across departments.

Allocate temporary space for departments awaiting permanent facilities.

Introduce a space booking and monitoring system for seminar halls and auditoriums.

Prioritize universal accessibility in all new and renovated facilities.

### 7. Verification & Approval

Prepared By: __________________ (Facilities Manager / SAC)

Verified By: __________________ (Dean Planning & Development)

Approved By: __________________ (IQAC Coordinator / Registrar)

# 13. Green Campus Policy

## 1. Introduction

A “Green Campus” represents an educational environment that integrates sustainability, resource efficiency, and environmental consciousness in its physical and operational practices.

The policy provides a structured framework for sustainable infrastructure, energy and water management, waste reduction, eco-friendly transportation, and biodiversity conservation.

It supports institutional commitments to NAAC (Criterion 7 – Best Practices & Institutional Values), NBA (Sustainability in Facilities), NIRF (Outreach & Inclusivity), QS I·GAUGE (Environmental & Social Responsibility) and SDGs (6, 7, 11, 12, 13, 15).

## 2. Objectives

To minimize the institution’s carbon footprint through energy, water, and waste management.

To promote eco-friendly infrastructure development and sustainable practices.

To create awareness among students, faculty, and staff about environmental stewardship.

To establish the campus as a model for green and sustainable practices in higher education.

To ensure compliance with national and international environmental standards.

## 3. Scope

This policy applies to:

Academic, residential, administrative, and recreational buildings.

Outdoor facilities: gardens, hostels, sports complexes, parking areas.

Utilities: power supply, water distribution, sanitation, waste management.

Campus community: students, staff, faculty, contractors, and visitors.

## 4. Key Areas of Implementation

### A. Energy Management

Install renewable energy systems (solar, wind, biomass).

Use LED lighting and motion-sensor-based smart lighting.

Deploy energy-efficient appliances (Star-rated equipment, green servers).

Conduct annual energy audits to track and reduce consumption.

### B. Water Conservation

Install rainwater harvesting systems.

Reuse treated wastewater for gardening and flushing.

Promote water-efficient fixtures (aerators, dual-flush systems).

Conduct water audits to ensure zero wastage.

### C. Waste Management

Segregate waste at source (biodegradable, recyclable, hazardous, e-waste).

Establish composting units for organic waste.

Partner with certified vendors for e-waste and biomedical waste disposal.

Adopt a paperless office system using ERP and LMS.

### D. Green Infrastructure & Landscaping

Develop eco-friendly buildings as per Green Building Code.

Maintain green belts, herbal gardens, and biodiversity zones.

Encourage vertical gardens and rooftop gardens.

Reduce use of plastic and hazardous construction material.

### E. Sustainable Transportation

Encourage cycling and pedestrian-friendly pathways.

Promote electric vehicle charging stations.

Operate shared shuttle services within the campus.

Limit fossil-fuel vehicle entry into sensitive zones.

### F. Awareness & Engagement

Organize green campus campaigns, workshops, and competitions.

Introduce environmental clubs and student ambassador programs.

Integrate sustainability into the curriculum and research projects.

Celebrate annual Green Day / Energy Conservation Week.

## 5. Governance & Monitoring

Green Campus Committee (GCC):

Chairperson: Dean (Planning & Development) / Principal.

Members: Representatives from Engineering Dept., Environment Club, IQAC, Hostel, and Student Council.

Responsibilities:

Approve and monitor implementation of green initiatives.

Conduct quarterly campus audits (energy, water, waste, biodiversity).

Submit an Annual Green Campus Report to IQAC and Governing Body.

## 6. Accreditation & Quality Linkages

NAAC → Criterion 7 (Institutional Values & Best Practices) highlights eco-friendly practices.

NBA → Sustainability in physical facilities and technical support.

NIRF → Outreach & Inclusivity metrics include green campus initiatives.

QS I·GAUGE → Evaluates institutions on environmental responsibility.

SDGs → SDG 6 (Clean Water), SDG 7 (Affordable & Clean Energy), SDG 11 (Sustainable Communities), SDG 12 (Responsible Consumption), SDG 13 (Climate Action), SDG 15 (Life on Land).

## 7. Review of Policy

The policy will be reviewed every 3 years by the Green Campus Committee.

Updates will include new technologies, sustainability practices, and regulatory norms.

### Green Campus Compliance Register

| S. No. | Category (Energy / Water / Waste / Transport / Biodiversity / Awareness) | Initiative / Activity | Compliance Standard / Target | Compliance Status (Yes/No/ Partial) | Date of Implementation / Inspection | Responsible Team / Committee | Evidence (Report/Invoice/Photo/Certificate) | Verified By (Green Campus Committee / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

S. No. → Serial number for tracking.

Category → Sustainability domain (Energy, Water, Waste, Transport, Biodiversity, Awareness & Engagement).

Initiative / Activity → Example: solar panel installation, rainwater harvesting, e-waste disposal, tree plantation.

Compliance Standard / Target → Benchmark or goal (e.g., “30% power from solar,” “Zero single-use plastic”).

Compliance Status → Drop-down: Yes / No / Partial.

Date of Implementation / Inspection → When initiative was completed or checked.

Responsible Team / Committee → Engineering Dept., Green Campus Committee, Student Environment Club, Hostel Admin.

Evidence → Supporting proof like bills, audit reports, photos, certificates.

Verified By → Chairperson of Green Campus Committee, IQAC Coordinator, or External Auditor.

Remarks → Notes on pending tasks, follow-ups, or outcomes.

Sample Entries

| S. No. | Category | Initiative / Activity | Compliance Standard / Target | Compliance Status | Date of Implementation | Responsible Team | Evidence | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Energy | Solar Power Plant (50 KW) | 25% campus energy from solar | Yes | 15-06-2025 | Engineering Dept. | Installation Report, Photos | GCC Chairperson | Working as expected |
| 2 | Water | Rainwater Harvesting in Hostel Block A | 1,00,000 liters/year recharge | Partial | 20-07-2025 | Civil Works Dept. | Contractor Invoice, Tank Photo | IQAC | Tank under maintenance |
| 3 | Waste | E-waste Disposal through Certified Vendor | 100% disposal annually | Yes | 05-08-2025 | IT Cell + Stores | Disposal Certificate | GCC Member | Compliant |
| 4 | Transport | Bicycle Stands & EV Charging Points | 20 stands & 5 EV points | No | – | Admin Dept. | – | Registrar | Proposal pending |
| 5 | Biodiversity | Tree Plantation Drive | 500 saplings per year | Yes | 10-08-2025 | NSS + Student Council | Photos, NSS Report | IQAC | 520 saplings planted |
| 6 | Awareness | Green Campus Workshop | 2 per semester | Yes | 01-09-2025 | Environment Club | Event Brochure, Attendance | GCC | Completed |

### Monthly Green Campus Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Green Campus Committee / Facilities Manager)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Initiatives Implemented: ________

Compliance Rate: ________ %

Energy Saved (kWh): ________

Water Saved/Harvested (Liters): ________

Waste Recycled (Kg/Tons): ________

Trees Planted: ________

Awareness Programs Conducted: ________

Key Highlights:

Example: “50 KW solar installation operational – meeting 30% of campus electricity demand.”

Example: “Tree plantation drive added 520 saplings.”

Challenges / Pending Issues:

Example: “Rainwater harvesting tank in Hostel Block requires maintenance.”

### 2. Category-Wise Summary

| Category | Total Initiatives Planned | Completed | Pending | Compliance % | Key Remarks |
| --- | --- | --- | --- | --- | --- |
| Energy | 3 | 2 | 1 | 67% | Solar fully functional, LED conversion in progress |
| Water | 2 | 1 | 1 | 50% | Hostel tank pending repairs |
| Waste | 2 | 2 | 0 | 100% | E-waste disposal and composting completed |
| Transport | 1 | 0 | 1 | 0% | Bicycle stand proposal under review |
| Biodiversity | 1 | 1 | 0 | 100% | Plantation drive successful |
| Awareness | 2 | 2 | 0 | 100% | Workshop + student campaign completed |

### 3. High-Priority Issues (Pending Resolution)

| Location / Facility | Issue | Impact | Responsible Team | Action Taken | Target Resolution Date |
| --- | --- | --- | --- | --- | --- |
| Hostel Block A | Rainwater Harvesting Tank damaged | Reduced water recharge capacity | Civil Works | Contractor contacted | 20-09-2025 |
| Admin Block Parking | EV Charging Points not installed | Delay in sustainable transport rollout | Engineering Dept. | Proposal sent to Governing Body | 30-09-2025 |

### 4. Environmental Impact Indicators (KPIs)

| Indicator | Target | Achieved | Variance | Remarks |
| --- | --- | --- | --- | --- |
| % Energy from Renewables | 25% | 30% | +5% | Solar performing above target |
| Water Harvested (Liters) | 1,00,000 | 75,000 | -25,000 | Repairs pending |
| Waste Recycled (Kg) | 500 | 520 | +20 | Target exceeded |
| Trees Planted | 500 | 520 | +20 | Surplus achieved |
| Awareness Programs Conducted | 2 | 2 | 0 | Completed |

### 5. Action Taken Report (ATR) from Last Month

Example: “Library roof solar plant commissioned on 10-08-2025.”

Example: “E-waste disposal certificate received from certified vendor on 15-08-2025.”

Example: “Workshop on Green ICT conducted on 20-08-2025.”

### 6. Recommendations

Expand solar energy from 50 KW → 100 KW within next 12 months.

Prioritize accessibility for green facilities (e.g., cycle stands, EV stations).

Integrate Green Campus KPIs into ERP for real-time monitoring.

Introduce student-led “Green Ambassadors” program for peer engagement.

### 7. Verification & Approval

Prepared By: __________________ (Green Campus Committee Coordinator)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

# 14. Building Codes & Standards Compliance Policy

## 1. Introduction

Safe, sustainable, and compliant infrastructure is critical for delivering quality education and ensuring the well-being of students, faculty, staff, and visitors.

This policy establishes guidelines for design, construction, renovation, and maintenance of HEI buildings in alignment with:

National Building Code (NBC) of India

AICTE/UGC Norms for academic infrastructure

Fire Safety Regulations (National Disaster Management Authority, NFPA references)

RPwD Act 2016 for accessibility compliance

Environmental & Sustainability Standards (Green Building Code, IGBC/LEED)

Local Municipal Laws & Electricity Safety Codes

## 2. Objectives

To ensure that all buildings and facilities meet statutory, safety, and accreditation standards.

To promote eco-friendly and sustainable construction practices.

To integrate universal accessibility and inclusivity in all campus infrastructure.

To create an audit-ready compliance record for NAAC, NBA, NIRF, QS I·GAUGE, and ISO certifications.

To establish responsibilities and monitoring mechanisms for compliance.

## 3. Scope

This policy applies to:

New buildings (academic blocks, labs, hostels, libraries, admin offices).

Renovations, refurbishments, and expansions.

Utilities and service infrastructure (water, power, sanitation, transport).

Green and smart campus developments (solar plants, rainwater harvesting, ICT-enabled buildings).

## 4. Key Compliance Areas

### A. Structural & Safety Standards

Compliance with NBC India (latest edition) for load-bearing, seismic resistance, wind, and material strength.

Fire safety systems: alarms, extinguishers, hydrants, sprinklers, evacuation routes.

Seismic resilience measures in earthquake-prone zones.

Electrical installations as per Indian Electricity Rules.

### B. Accessibility & Inclusivity

Ramps, elevators, tactile pathways, and signage as per RPwD Act 2016.

Accessible toilets in every major block.

Reserved parking spaces and accessible classrooms/labs.

### C. Environmental & Green Building Standards

Energy efficiency through LED lighting, natural ventilation, and insulation.

Green Building Certification (IGBC, LEED) for new major projects.

Solar panels, rainwater harvesting, greywater recycling.

Waste segregation and e-waste management.

### D. Academic & Accreditation Compliance

Classrooms, labs, and libraries built per AICTE/UGC norms on carpet area, student-faculty ratio, and specialized equipment.

ICT-enabled smart classrooms as per NAAC/NBA requirements.

### E. Legal & Statutory Approvals

Construction and occupancy permissions from local municipal and fire authorities.

Environmental clearances for large projects.

Regular third-party audits for compliance verification.

## 5. Governance & Responsibility

Campus Development Committee (CDC): Responsible for policy implementation and review.

Engineering/Facilities Department: Executes construction projects and maintains compliance records.

Accessibility Committee: Ensures universal design and inclusivity.

Green Campus Committee: Monitors sustainability compliance.

IQAC: Maintains accreditation evidence folders with compliance records.

## 6. Monitoring & Documentation

Maintain a Building Compliance Register with project details, approvals, and certifications.

Conduct annual safety and compliance audits.

Include compliance checks in Monthly Campus Development Reports.

Keep digital copies of drawings, licenses, and inspection reports for accreditation.

## 7. Accreditation & Quality Linkages

NAAC Criterion 4 – Infrastructure adequacy, safety, and sustainability.

NBA Criterion 7 – Facilities & technical support compliance.

NIRF (Teaching-Learning Resources) – Infrastructure standards.

QS I·GAUGE – Facilities, sustainability, and safety compliance.

SDGs 9, 11, 13 – Infrastructure, sustainable cities, climate action.

## 8. Review of Policy

This policy will be reviewed every 3 years by the CDC.

Updates will include new regulations, emerging technologies, and best practices.

### Building Codes & Standards Compliance Register

| S. No. | Project Title / Facility | Department / Location | Type (New / Renovation / Upgrade) | Applicable Standards (NBC / AICTE / UGC / RPwD / Fire / Green Building) | Compliance Status (Yes / No / Partial) | Issues Identified | Action Taken / Proposed | Responsible Team / Committee | Verified By (CDC / IQAC / External Auditor) | Evidence / Document Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Project Title / Facility → Name of project (e.g., Smart Classroom Setup, Library Renovation, Hostel Expansion).

Department / Location → Building, lab, hostel, admin block, library, sports complex.

Type → New construction, renovation, or upgrade.

Applicable Standards → National Building Code (NBC), AICTE/UGC norms, RPwD Act 2016, Fire Safety Code, Green Building Certification.

Compliance Status → Drop-down: Yes / No / Partial.

Issues Identified → Gaps observed (e.g., missing ramps, non-functional fire alarm, improper ventilation).

Action Taken / Proposed → Corrective steps (repairs, vendor appointment, design revision).

Responsible Team / Committee → Engineering Dept., Green Campus Committee, Accessibility Committee, Contractors.

Verified By → CDC (Campus Development Committee), IQAC, external safety/environmental auditors.

Evidence / Document Reference → Proposal ID, compliance certificate, drawings, inspection report, photos.

Remarks → Timeline status, budget note, pending approvals.

Sample Entries

| S. No. | Project Title / Facility | Department / Location | Type | Applicable Standards | Compliance Status | Issues Identified | Action Taken / Proposed | Responsible Team | Verified By | Evidence / Document Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Smart Classroom Setup | Commerce Block – Room 203 | New | NBC, AICTE ICT Norms, Fire Safety | Yes | None | – | IT Cell + Vendor | CDC | CDC/2025/07/12 | Fully compliant |
| 2 | Research Lab Renovation | Physics Block – Lab 101 | Renovation | NBC, AICTE Lab Standards, RPwD Act | Partial | Ventilation inadequate, ramp missing | HVAC redesign, ramp construction | Engineering Dept. | IQAC | PHYS/2025/REN | Completion due 15-09-2025 |
| 3 | Hostel Washroom Upgrade | Hostel Block A | Upgrade | RPwD Act, NBC Sanitation Code | Yes | None | – | Civil Works Dept. | Accessibility Committee | HOST/2025 | Accessible toilets installed |
| 4 | Digital Library Expansion | Central Library | New | NBC, UGC Digital Standards, Fire Safety | No | Fire exits not marked | Vendor instructed to add signage | Library + Engg Dept. | CDC | LIB/2025/07 | Pending compliance |
| 5 | Rooftop Solar Plant | Hostel Block B | New | Green Building Code, IGBC Standards | Yes | None | – | Green Campus Committee | IQAC | SOLAR/2025 | Surplus energy generation |

### Monthly Building Codes & Safety Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Campus Development Committee / Facilities Dept.)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Projects Audited: ________

Fully Compliant: ________

Partially Compliant: ________

Non-Compliant: ________

Overall Compliance Rate: ________ %

Highlights:

Example: “Hostel Block A washroom upgrade now fully compliant with RPwD Act.”

Example: “Solar rooftop plant in Hostel Block B received IGBC certification.”

Challenges:

Example: “Library expansion delayed due to missing fire safety clearances.”

### 2. Category-Wise Compliance Summary

| Category | Total Projects Audited | Fully Compliant | Partial | Non-Compliant | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Structural & Safety (NBC) | ___ | ___ | ___ | ___ | ___% | Seismic/fire compliance |
| Accessibility (RPwD Act) | ___ | ___ | ___ | ___ | ___% | Ramps, lifts, toilets |
| Environmental & Sustainability (IGBC/LEED) | ___ | ___ | ___ | ___ | ___% | Solar, rainwater, waste |
| Academic Standards (AICTE/UGC) | ___ | ___ | ___ | ___ | ___% | Classrooms/labs |
| Legal & Statutory Approvals | ___ | ___ | ___ | ___ | ___% | Fire NOC, municipal |
| Total | ___ | ___ | ___ | ___ | ___% | – |

### 3. Project-Wise Audit Findings

| Project Title / Facility | Location | Type (New / Renovation / Upgrade) | Applicable Standards | Compliance Status (Yes/No/Partial) | Issues Identified | Action Taken / Proposed | Responsible Team | Target Resolution Date | Evidence Ref. | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Smart Classroom Setup | Commerce Block – Room 203 | New | NBC, AICTE ICT Norms | Yes | None | – | IT Cell + Vendor | – | CDC/2025/07/12 | Fully compliant |
| Research Lab Renovation | Physics Block – Lab 101 | Renovation | NBC, AICTE, RPwD | Partial | Ventilation inadequate | HVAC redesign ordered | Engineering Dept. | 15-09-2025 | PHYS/2025/REN | Work in progress |
| Hostel Washroom Upgrade | Hostel Block A | Upgrade | RPwD Act, NBC Sanitation | Yes | None | – | Civil Works Dept. | – | HOST/2025 | Accessible toilets ready |
| Digital Library Expansion | Library | New | NBC, Fire, UGC Digital | No | Fire exits not marked | Vendor instructed | Engg Dept. + Library | 30-09-2025 | LIB/2025/07 | Critical compliance gap |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Facility / Location | Standard Violated | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BLD/2025/09/01 | Physics Lab Ventilation | NBC / Lab Safety | Health risk, reduced compliance | Engg Dept. | Vendor engaged | 15-09-2025 | In progress |
| BLD/2025/09/02 | Library Fire Exits | Fire Safety Norms | Occupant safety risk | Engg Dept. + Library | Safety audit ordered | 30-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Routine fire extinguisher and hydrant inspections completed in admin block.

Annual structural audit completed for Commerce Block.

Elevator AMC renewal initiated for Hostel Block C.

Solar panel maintenance and performance audit completed.

Green building certification application submitted for new academic block.

### 6. Action Taken Report (ATR) – Previous Month

Accessible ramps installed at Auditorium main entrance.

Waterproofing completed in Chemistry Block to meet NBC standards.

Fire safety drills conducted in Library and Hostels.

### 7. Recommendations

Ensure all new projects apply for Green Building Code certification.

Develop a fire safety compliance dashboard across all blocks.

Allocate dedicated budget for accessibility retrofits (ramps, lifts, tactile paths).

Conduct annual third-party building code audits for credibility.

Digitize compliance records in IQAC evidence folders for NAAC/NBA.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / CDC In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

# 15. Sustainable Construction Policy

## 1. Introduction

Higher Education Institutions (HEIs) are major consumers of energy, water, and natural resources, making sustainability in construction a priority.

This policy provides a framework for planning, designing, constructing, and maintaining campus infrastructure with minimal environmental impact.

It aligns with NAAC (Criterion 4 & 7), NBA (Criterion 7), NIRF (TLR & OI), QS I·GAUGE (Green Campus, Sustainability), NEP-2020, and UN SDGs (7, 9, 11, 12, 13).

## 2. Objectives

Promote the use of eco-friendly and green-certified materials in all new constructions and renovations.

Ensure integration of renewable energy sources (solar, wind, biomass) into campus facilities.

Adopt smart building technologies for energy efficiency, water conservation, and occupant safety.

Create a climate-resilient campus that reduces carbon footprint and operational costs.

Establish a system of monitoring, compliance, and accreditation readiness.

## 3. Scope

Applies to:

New constructions (academic blocks, hostels, libraries, labs, admin buildings).

Renovations and retrofitting projects.

Campus-wide infrastructure upgrades (lighting, HVAC, transport, ICT-enabled facilities).

## 4. Policy Guidelines

### A. Green Materials

Use low-carbon footprint materials: fly-ash bricks, recycled steel, bamboo, recycled aggregates.

Ensure paints, adhesives, and finishes are low-VOC (Volatile Organic Compounds).

Procure locally sourced materials to reduce transportation emissions.

Mandate certified green materials (IGBC, GRIHA, LEED).

### B. Renewable Energy Integration

Install rooftop solar plants on academic, hostel, and admin buildings.

Use solar water heating in hostels and canteens.

Promote energy-efficient HVAC systems powered by renewable sources.

Integrate biogas plants for hostel/canteen waste and solar EV charging stations.

### C. Smart Building Technologies

Deploy IoT-based energy monitoring systems (smart meters, automated lighting).

Install motion-sensor lighting and smart HVAC controls.

Integrate Building Management Systems (BMS) for central monitoring.

Use rainwater harvesting sensors and smart irrigation systems for landscaping.

### D. Water & Waste Management

Mandatory rainwater harvesting in all new projects.

Greywater treatment and reuse for landscaping and flushing.

Campus-wide segregation of waste (biodegradable, recyclable, e-waste).

Tie-up with certified vendors for e-waste and biomedical waste disposal.

### E. Building Design & Certification

All new projects must target Green Building Certification (IGBC/GRIHA/LEED).

Designs should maximize natural ventilation, daylighting, and passive cooling.

Ensure disaster resilience (seismic safety, fire compliance, flood prevention).

## 5. Governance & Responsibility

Campus Development Committee (CDC): Oversees implementation.

Green Campus Committee: Monitors sustainability aspects.

Engineering & Facilities Department: Ensures procurement and compliance.

IQAC: Maintains accreditation and audit evidence.

## 6. Monitoring & Compliance

Maintain a Sustainable Construction Compliance Register (materials, energy, water, waste, smart systems).

Conduct quarterly audits of ongoing projects.

Include sustainability indicators in Monthly Campus Development Reports.

Document certifications, procurement records, and vendor compliance.

## 7. Accreditation & Quality Linkages

NAAC Criterion 4 – Green Campus & Infrastructure adequacy.

NBA Criterion 7 – Facilities & technical support with sustainability.

NIRF (TLR, OI) – Emphasis on green and inclusive infrastructure.

QS I·GAUGE – Green Campus, Governance, Sustainability metrics.

SDGs:

SDG 7: Affordable & Clean Energy.

SDG 9: Industry, Innovation, Infrastructure.

SDG 11: Sustainable Cities & Communities.

SDG 12: Responsible Consumption & Production.

SDG 13: Climate Action.

## 8. Review & Upgradation

This policy will be reviewed every 3 years or after completion of any major infrastructure project.

Updates will incorporate emerging sustainable technologies (AI-driven energy optimization, green hydrogen, carbon-neutral designs).

### Sustainable Construction Compliance Register

| S. No. | Project Title / Facility | Department / Location | Type (New / Renovation / Upgrade) | Green Materials Used (Certified/Local/Low-VOC) | Renewable Energy Integration (Solar/EV/Other) | Smart Building Tech (IoT/Automation/BMS) | Water & Waste Management Measures (Rainwater, Greywater, Segregation) | Green Certification Targeted (IGBC/GRIHA/LEED) | Compliance Status (Yes/No/Partial) | Issues Identified | Action Taken / Proposed | Responsible Team / Committee | Verified By (CDC/Green Campus/IQAC) | Evidence Reference (Bills/Certificates/Photos) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Project Title / Facility → Name of project (e.g., Smart Classroom Block, Hostel Washroom Upgrade, Solar Rooftop Plant).

Department / Location → Commerce Block, Physics Lab, Hostel A, Library, etc.

Type → New / Renovation / Upgrade.

Green Materials Used → Fly-ash bricks, bamboo, recycled steel, low-VOC paints.

Renewable Energy Integration → Solar panels, solar water heating, EV charging stations, biogas plants.

Smart Building Tech → IoT sensors, motion-sensor lights, smart HVAC, Building Management Systems (BMS).

Water & Waste Management Measures → Rainwater harvesting, greywater reuse, composting, e-waste segregation.

Green Certification Targeted → IGBC, GRIHA, LEED, or internal Green Campus rating.

Compliance Status → Drop-down: Yes / No / Partial.

Issues Identified → Non-availability of materials, vendor delays, budget constraints.

Action Taken / Proposed → Corrective measures planned.

Responsible Team / Committee → Engineering Dept., Green Campus Committee, Contractors.

Verified By → Campus Development Committee (CDC), Green Campus Committee, IQAC.

Evidence Reference → Procurement bills, photos, certification reports, vendor documents.

Remarks → Status updates (e.g., Work in progress, Certification applied, Awaiting inspection).

Sample Entries

| S. No. | Project Title / Facility | Department / Location | Type | Green Materials Used | Renewable Energy Integration | Smart Building Tech | Water & Waste Management Measures | Green Certification Targeted | Compliance Status | Issues Identified | Action Taken / Proposed | Responsible Team | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Smart Classroom Setup | Commerce Block – Room 203 | New | Fly-ash bricks, low-VOC paints | Solar rooftop (5 KW) | Motion sensor lights | Rainwater harvesting integrated | IGBC – Silver | Yes | None | – | IT Cell + Engg Dept. | CDC | CDC/2025/07/12 | Fully functional |
| 2 | Research Lab Renovation | Physics Block – Lab 101 | Renovation | Bamboo partitions | – | Smart HVAC sensors | Waste segregation bins installed | GRIHA – 3 Star | Partial | HVAC automation pending | Vendor assigned | Engg Dept. | IQAC | PHYS/2025/REN | Expected completion by 15-09-2025 |
| 3 | Hostel Washroom Upgrade | Hostel Block A | Upgrade | Recycled steel, water-saving fixtures | Solar water heaters | – | Greywater reuse for flushing | Internal Green Campus Audit | Yes | None | – | Civil Works Dept. | Green Campus Committee | HOST/2025 | Accessible & sustainable |
| 4 | Digital Library Expansion | Library | New | Low-VOC finishes | Solar backup | IoT-based energy monitoring | Rainwater harvesting tank | LEED – Gold | No | Fire safety clearance pending | Awaiting approval | Library + Engg Dept. | CDC | LIB/2025/07 | Deferred |

### Monthly Sustainable Construction Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Campus Development Committee / Green Campus Committee)

Reviewed by: ____________________ (IQAC / Dean Planning & Development)

### 1. Executive Summary

Total Projects Audited: ________

Projects Using Green Materials: ________ (% of total)

Projects with Renewable Energy Integration: ________ (% of total)

Projects Implementing Smart Building Technologies: ________

Projects Targeting Green Certifications (IGBC/GRIHA/LEED): ________

Overall Compliance Rate: ________ %

Highlights:

Example: “Hostel Block A upgraded with solar water heaters and greywater reuse.”

Example: “Commerce Block Smart Classroom achieved IGBC Silver compliance.”

Challenges:

Example: “Library expansion delayed due to pending fire safety and LEED Gold certification.”

### 2. Category-Wise Sustainability Compliance

| Category | Total Projects Audited | Fully Compliant | Partial | Non-Compliant | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Green Materials | ___ | ___ | ___ | ___ | ___% | Use of fly-ash, bamboo, recycled steel |
| Renewable Energy Integration | ___ | ___ | ___ | ___ | ___% | Solar panels, water heating, EV stations |
| Smart Building Technologies | ___ | ___ | ___ | ___ | ___% | IoT sensors, HVAC automation, BMS |
| Water & Waste Management | ___ | ___ | ___ | ___ | ___% | Rainwater harvesting, greywater reuse |
| Green Certifications (IGBC/GRIHA/LEED) | ___ | ___ | ___ | ___ | ___% | Ongoing certification process |
| Total | ___ | ___ | ___ | ___ | ___% | – |

### 3. Project-Wise Sustainability Status

| Project Title / Facility | Department / Location | Type (New / Renovation / Upgrade) | Green Materials Used | Renewable Energy Integration | Smart Building Tech | Water & Waste Management Measures | Certification Targeted | Compliance Status (Yes/No/Partial) | Issues Identified | Action Taken | Responsible Team | Target Resolution Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Smart Classroom Setup | Commerce Block – Room 203 | New | Fly-ash bricks, low-VOC paints | Solar rooftop (5 KW) | Motion sensor lights | Rainwater harvesting | IGBC Silver | Yes | None | – | IT Cell + Engg Dept. | – | Fully compliant |
| Research Lab Renovation | Physics Block – Lab 101 | Renovation | Bamboo partitions | – | Smart HVAC | Waste segregation bins | GRIHA – 3 Star | Partial | HVAC automation pending | Vendor engaged | 15-09-2025 | Expected completion |  |
| Hostel Washroom Upgrade | Hostel Block A | Upgrade | Recycled steel, water-saving | Solar water heaters | – | Greywater reuse | Internal Green Audit | Yes | None | – | Civil Works Dept. | – | Accessible & sustainable |
| Digital Library Expansion | Library | New | Low-VOC finishes | Solar backup | IoT energy monitoring | Rainwater harvesting | LEED – Gold | No | Fire exit clearance pending | Engg Dept. + Library | 30-09-2025 | Deferred |  |

### 4. High-Priority Sustainability Issues

| Issue ID | Project / Facility | Sustainability Gap | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SUS/2025/09/01 | Physics Lab Renovation | Smart HVAC incomplete | Higher energy use | Engg Dept. | Vendor instructed | 15-09-2025 | In progress |
| SUS/2025/09/02 | Library Expansion | Fire safety & LEED certification pending | Project delay | Engg Dept. + Library | Safety audit initiated | 30-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Quarterly inspection of solar rooftop systems completed.

Smart meters calibrated in hostels and admin blocks.

Composting units maintained in canteen waste management area.

Training session conducted for civil engineers on sustainable materials.

### 6. Action Taken Report (ATR) – Previous Month

Greywater recycling system commissioned in Hostel Block A.

Energy-efficient LED lighting installed across Chemistry Block.

Rainwater harvesting pits cleaned and reactivated before monsoon.

### 7. Recommendations

All new projects to target at least IGBC Silver certification.

Expand solar EV charging stations to faculty and staff parking zones.

Introduce a digital sustainability dashboard for monitoring real-time energy and water use.

Budget allocation for retrofitting older buildings with energy-efficient fixtures.

Link all sustainable construction activities to SDG evidence folders for accreditation.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / Green Campus In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

# 16. Annual Maintenance Contract (AMC) Policy

## 1. Introduction

Reliable infrastructure and ICT systems are essential for smooth academic, administrative, and research activities in HEIs.

To ensure safety, functionality, and longevity of assets, the institution adopts an Annual Maintenance Contract (AMC) Policy.

This policy ensures timely servicing of equipment, transparent vendor management, and audit-ready documentation for NAAC, NBA, NIRF, QS I·GAUGE, UGC, AICTE, and ABET compliance.

## 2. Objectives

Maintain all IT systems, laboratory equipment, electrical, and physical facilities in optimal condition.

Minimize breakdowns and downtime through preventive maintenance.

Ensure compliance with statutory and accreditation norms (safety, ICT, accessibility, sustainability).

Extend the useful life of assets while controlling repair/replacement costs.

Create a culture of accountability and documentation in facility management.

## 3. Scope

Applies to all equipment, ICT resources, and facilities, including:

ICT & IT Systems: Servers, desktops, laptops, UPS, projectors, printers, network equipment.

Laboratory Equipment: Scientific instruments, simulators, technical lab setups.

Electrical & Mechanical Systems: Generators, transformers, elevators, air conditioners, motors.

Physical Facilities: Smart classrooms, seminar halls, libraries, hostels, canteens, sports complexes.

Green & Sustainable Infra: Solar plants, rainwater harvesting systems, water treatment, waste management units.

## 4. Types of AMC

Comprehensive AMC (CAMC): Covers all parts, labor, replacements, and services.

Non-Comprehensive AMC (NCAMC): Covers only labor/service charges; parts replaced are billed separately.

Hybrid/Customized AMC: Combination of CAMC and NCAMC depending on criticality of equipment.

## 5. Policy Guidelines

### A. Vendor Selection

Vendors must be authorized service providers or certified by OEM (Original Equipment Manufacturer).

Selection through transparent tendering/quotation process.

Preference to vendors with experience in servicing educational institutions.

### B. AMC Duration & Renewal

AMC will typically be 1–3 years, renewable annually.

Renewal subject to performance review, compliance reports, and user feedback.

### C. Preventive & Corrective Maintenance

Preventive Maintenance Schedule (PMS): Vendors must follow fixed schedules (monthly/quarterly/annual).

Corrective Maintenance: Issues must be attended within 24–48 hours of complaint logging.

Emergency response for critical systems (servers, power, labs).

### D. Compliance & Safety

All AMC activities must comply with:

NAAC Criterion 4 & 7 (Infrastructure, Institutional Values).

AICTE/UGC requirements for labs, ICT, and accessibility.

NBA Criterion 7 (Facilities & Technical Support).

ABET Criteria 7 (Adequacy & safety of facilities).

Safety checks (fire alarms, electrical earthing, elevators, lab safety) must be integrated into AMC.

### E. Documentation & Reporting

AMC Register to be maintained with:

Equipment details, vendor details, AMC period.

Maintenance schedules, service reports, breakdown history.

Monthly AMC Audit Reports to be submitted to IQAC/CDC.

Records to be preserved for minimum 5 years as accreditation evidence.

## 6. Roles & Responsibilities

IT Cell / Lab In-Charges: Identify equipment requiring AMC, supervise vendor servicing.

Engineering / Facilities Dept.: Manage contracts for civil, electrical, and utilities.

Finance Dept.: Ensure timely payment as per contract milestones.

IQAC / CDC: Review AMC compliance reports, integrate into accreditation documentation.

## 7. Monitoring & Review

Quarterly review of AMC performance by Campus Development Committee (CDC).

Vendor performance ratings to decide renewal or replacement.

Annual consolidated AMC compliance report to Governing Body/IQAC.

## 8. Benefits

Reduced downtime of critical academic and research infrastructure.

Extended asset lifecycle, lower replacement costs.

Safety, sustainability, and compliance with accreditation standards.

Transparent vendor management and accountability.

Strong documentation support for NAAC, NBA, ABET, and NIRF evidence folders.

### Annual Maintenance Contract (AMC) Compliance Register

| S. No. | Equipment / Facility | Department / Location | Category (ICT / Lab / Electrical / Facility / Green Infra) | Make & Model | Serial / Asset ID | Vendor / Service Provider | AMC Type (Comprehensive / Non-Comprehensive / Hybrid) | AMC Start Date | AMC End Date | Preventive Maintenance Schedule (Monthly/ Quarterly /Annual) | Last Service Date | Next Service Due | Compliance Status (Yes / No / Partial) | Issues Identified | Action Taken / Proposed | Responsible Officer / In-Charge | Verified By (CDC / IQAC) | Evidence Reference (Invoice /Report /Photo) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Equipment / Facility → Name of the item (Server, Projector, UPS, Generator, Solar Plant, Lab Instrument).

Department / Location → Block/Room (Physics Lab 101, Hostel A, Library).

Category → ICT, Laboratory, Electrical, Facility, or Green Infrastructure.

Make & Model / Serial ID → For identification & warranty tracking.

Vendor / Service Provider → Name of AMC vendor.

AMC Type → Comprehensive / Non-Comprehensive / Hybrid.

AMC Duration → Start & End Date.

Preventive Maintenance Schedule → Monthly / Quarterly / Annual.

Service Records → Last service date, next due date.

Compliance Status → Yes (compliant), No (non-compliant), Partial.

Issues Identified → Breakdowns, overdue services, vendor delays.

Action Taken / Proposed → Repairs, escalation, vendor change.

Responsible Officer → Lab In-Charge, IT Cell, Facilities Manager.

Verified By → CDC, IQAC, or external auditor.

Evidence Reference → Bills, invoices, scanned reports, service certificates.

Remarks → Pending approvals, warranty overlap, critical equipment priority.

Sample Entries

| S. No. | Equipment / Facility | Department / Location | Category | Make & Model | Serial / Asset ID | Vendor / Service Provider | AMC Type | AMC Start Date | AMC End Date | Preventive Maintenance Schedule | Last Service Date | Next Due Service | Compliance Status | Issues Identified | Action Taken / Proposed | Responsible Officer | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Smart Classroom Projector | Commerce Block – Room 203 | ICT | Epson EB-X49 | SC203-PROJ-01 | AV Services Pvt. Ltd. | Comprehensive | 01-04-2025 | 31-03-2026 | Quarterly | 01-07-2025 | 01-10-2025 | Yes | None | – | IT Cell | CDC | INV/AMC/2025/01 | Fully functional |
| 2 | HPC Server | Physics Lab – 101 | ICT / Lab | Dell PowerEdge R750 | PHYS-HPC-01 | Dell Authorized Partner | Comprehensive | 01-06-2025 | 31-05-2026 | Monthly | 15-07-2025 | 15-08-2025 | Partial | Firmware update pending | Vendor notified | Sys Admin | IQAC | SRV/AMC/2025/15 | Needs monitoring |
| 3 | Generator – 125 kVA | Main Substation | Electrical | Kirloskar | GEN-125-01 | EnergyTech Services | Non-Comprehensive | 01-01-2025 | 31-12-2025 | Monthly | 01-08-2025 | 01-09-2025 | Yes | None | – | Facilities Manager | CDC | GEN-AMC/2025/05 | Running well |
| 4 | Solar Rooftop Plant – 50 KW | Hostel Block B | Green Infra | Tata Solar | SOLAR-B50-01 | GreenEnergy Pvt. Ltd. | Comprehensive | 01-03-2025 | 28-02-2026 | Quarterly | 10-06-2025 | 10-09-2025 | Yes | None | – | Green Campus Committee | IQAC | SOL-AMC/2025/03 | Generating surplus energy |
| 5 | Library Air Conditioner | Central Library | Facility | Daikin 2T Split | LIB-AC-05 | CoolTech Services | Hybrid | 01-02-2025 | 31-01-2026 | Half-yearly | 01-07-2025 | 01-01-2026 | No | Compressor failure | Replacement ordered | Facilities Manager | CDC | LIB-AC/AMC/2025/08 | Pending repair |

### Monthly AMC Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Facilities Manager / IT Cell / Lab In-Charge)

Reviewed by: ____________________ (Campus Development Committee / IQAC)

### 1. Executive Summary

Total Equipment / Facilities under AMC: ________

Active AMCs: ________

Expired AMCs: ________

Preventive Maintenance Scheduled: ________

Preventive Maintenance Completed: ________

Compliance Rate: ________ %

Highlights:

Example: “Solar Rooftop Plant maintained successfully, generating surplus power.”

Example: “Smart classroom projectors received quarterly servicing.”

Challenges:

Example: “Library air conditioners pending compressor replacement.”

Example: “Vendor delays in Physics HPC server firmware upgrade.”

### 2. Category-Wise AMC Compliance Summary

| Category | Total Equipment under AMC | Fully Compliant | Partial | Non-Compliant | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| ICT (Servers, PCs, Projectors, Printers) | ___ | ___ | ___ | ___ | ___% | Includes LMS, ERP, Wi-Fi |
| Laboratory Equipment | ___ | ___ | ___ | ___ | ___% | Physics, Chemistry, Engg labs |
| Electrical & Mechanical (UPS, Generators, Elevators, ACs) | ___ | ___ | ___ | ___ | ___% | Power & HVAC systems |
| Facilities (Library, Hostels, Smart Classrooms) | ___ | ___ | ___ | ___ | ___% | AMC for ACs, projectors, furniture |
| Green Infrastructure (Solar, Rainwater, Waste Mgmt.) | ___ | ___ | ___ | ___ | ___% | Rooftop solar, recycling units |
| Total | ___ | ___ | ___ | ___ | ___% | – |

### 3. AMC Service Status – Equipment/Facility-Wise

| Equipment / Facility | Department / Location | Vendor / Service Provider | AMC Type (Comp / Non-Comp / Hybrid) | Last Service Date | Next Due Date | Compliance Status (Yes/No/ Partial) | Issues Identified | Action Taken / Proposed | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Smart Classroom Projector | Commerce Block – Room 203 | AV Services Pvt. Ltd. | Comprehensive | 01-07-2025 | 01-10-2025 | Yes | None | – | IT Cell | CDC | Fully functional |
| HPC Server | Physics Lab – 101 | Dell Authorized Partner | Comprehensive | 15-07-2025 | 15-08-2025 | Partial | Firmware pending update | Vendor notified | Sys Admin | IQAC | Needs monitoring |
| Generator – 125 kVA | Main Substation | Energy Tech Services | Non-Comprehensive | 01-08-2025 | 01-09-2025 | Yes | None | – | Facilities Manager | CDC | Running well |
| Solar Rooftop Plant – 50 KW | Hostel Block B | GreenEnergy Pvt. Ltd. | Comprehensive | 10-06-2025 | 10-09-2025 | Yes | None | – | Green Campus Committee | IQAC | Surplus energy |
| Library Air Conditioner | Central Library | CoolTech Services | Hybrid | 01-07-2025 | 01-01-2026 | No | Compressor failure | Replacement ordered | Facilities Manager | CDC | Pending repair |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Equipment / Facility | Issue Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| AMC/2025/09/01 | HPC Server | Firmware not updated | Risk of downtime for research | Sys Admin + Vendor | Vendor reminded | 15-09-2025 | In progress |
| AMC/2025/09/02 | Library AC | Compressor failure | Affects student comfort | Facilities Dept. | Replacement ordered | 30-09-2025 | Pending |

### 5. Preventive & Corrective Actions Completed

Fire extinguishers serviced across admin and hostel blocks.

UPS batteries checked in exam cell and server room.

Chemistry lab fume hoods serviced.

Rainwater harvesting pit cleaned and inspected.

ERP server antivirus updated.

### 6. Action Taken Report (ATR) – Previous Month

Two hostel elevators repaired and operational.

Smart classroom AV systems recalibrated.

Solar panel cleaning contract executed under Green Campus AMC.

### 7. Recommendations

Develop a centralized AMC tracker with alerts for due dates.

Implement performance-based vendor ratings for renewals.

Prioritize AMC for critical facilities (ERP servers, exam cell equipment, medical center).

Allocate dedicated Green Campus AMC budget for sustainability infrastructure.

Integrate AMC reporting into NAAC/NBA accreditation evidence folders.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / IT Cell In-Charge)

Verified By: __________________ (IQAC Coordinator)

Approved By: __________________ (Registrar / Governing Body)

# 17. Capital Expenditure & Budget Allocation Policy

## 1. Introduction

Capital expenditure (CapEx) in HEIs refers to long-term investments in physical infrastructure, ICT facilities, laboratories, research centers, and sustainable campus projects.

This policy ensures that budget allocation, approval, utilization, and monitoring of capital funds are carried out with transparency, accountability, and alignment with institutional goals.

It supports compliance with NAAC Criterion 4, NBA Criterion 7, UGC/AICTE norms, NIRF TLR, and SDG 9 & 11.

## 2. Objectives

To establish a structured framework for capital investment decisions.

To align capital expenditure with the strategic plan and master campus development plan.

To prioritize funding for academic, research, student-centric, and sustainability projects.

To ensure cost efficiency, transparency, and audit readiness.

To maintain compliance with government, statutory, and accreditation standards.

## 3. Scope

Covers all capital investment areas such as:

Academic Facilities: Classrooms, laboratories, libraries, research centers.

Student Amenities: Hostels, canteens, sports complexes, health centers.

Administrative Infrastructure: Department offices, exam cells, governance facilities.

Digital Infrastructure: Data centers, ERP, LMS, smart classrooms, campus Wi-Fi.

Utilities & Services: Power, water, sanitation, transport, landscaping.

Sustainability Projects: Solar plants, rainwater harvesting, waste management, green buildings.

## 4. Policy Guidelines

### A. Budget Planning

Annual CapEx budget to be prepared by Finance Office in consultation with:

Campus Development Committee (CDC).

IT Cell, Library, Hostel & Lab Committees.

Green Campus Committee.

Align with Institutional Strategic Plan, NEP 2020 reforms, and Accreditation needs.

### B. Approval Mechanism

Departmental heads submit proposals with justifications.

Proposals vetted by CDC and Finance Committee.

Final approval by Governing Body/Board of Management.

Priority given to:

Statutory compliance projects (fire safety, accessibility).

Accreditation readiness (ICT upgrades, labs, libraries).

Sustainability (solar, rainwater, smart infrastructure).

### C. Allocation Principles

Academic Facilities: ≥ 40% of CapEx budget.

Research & Innovation: ≥ 15%.

Student Amenities & Welfare: ≥ 15%.

Digital Infrastructure: ≥ 10%.

Sustainability & Green Projects: ≥ 10%.

Contingency & Miscellaneous: ≤ 10%.

### D. Procurement & Utilization

Follow transparent procurement process (tendering, quotations, vendor empanelment).

Preference for Make in India and eco-friendly products.

Digital record of utilization with invoices and audit trails.

### E. Monitoring & Review

Quarterly review by CDC and IQAC.

Annual consolidated Capital Expenditure Audit Report submitted to Governing Body.

Variances between allocated and actual expenditure to be documented with justifications.

## 5. Roles & Responsibilities

Departments / Committees: Identify needs, prepare proposals.

Finance Office: Budget preparation, fund allocation, monitoring.

CDC: Technical feasibility, alignment with master plan.

IQAC: Accreditation compliance and documentation.

Governing Body: Final approval, policy oversight.

## 6. Compliance & Accreditation Linkages

NAAC Criterion 4 & 6 – Adequacy of physical and digital infrastructure, financial resource mobilization.

NBA Criterion 7 – Facilities & technical support adequacy.

NIRF TLR – Capital investment in teaching-learning resources.

UGC / AICTE Norms – Minimum facilities in labs, classrooms, libraries, hostels.

QS I·GAUGE – Infrastructure, Governance, Sustainability.

ABET Criterion 7 – Adequacy and maintenance of facilities.

SDGs 9, 11, 12, 13 – Infrastructure, sustainable cities, responsible consumption, climate action.

## 7. Review of Policy

This policy will be reviewed annually during financial planning.

Major revisions every 3 years or based on regulatory changes.

### Capital Expenditure & Budget Allocation Register

| S. No. | Project Title / Facility | Department / Location | Category (Academic / Research / Student / Digital / Utilities / Sustainability) | Proposal Submitted By | Date of Proposal | Approved By (CDC / Finance / GB) | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Funding Source (Institution / UGC / AICTE / CSR / Grant) | Compliance with Standards (NAAC / AICTE / UGC / NBA / ABET / NIRF / SDGs) | Evidence Reference (Proposal ID, Invoice, Report) | Responsible Officer | Verified By (Finance / CDC / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Project Title / Facility → Name (e.g., Smart Classroom Setup, Library Expansion, Solar Rooftop Plant).

Department / Location → Commerce Block, Physics Lab, Hostel A, etc.

Category → Academic, Research, Student Amenities, Digital Infra, Utilities, Sustainability.

Proposal Submitted By → HOD, Committee, Faculty, Student Council.

Approval Stage → CDC (Campus Development Committee), Finance Committee, Governing Body.

Budget Details → Approved, Allocated, Actual, and Variance.

Funding Source → Institutional, UGC/AICTE grants, CSR, alumni donations.

Compliance with Standards → Which accreditation/regulatory standards it fulfills.

Evidence Reference → Proposal ID, invoices, inspection reports, photos.

Responsible Officer → Department in-charge or Facilities Manager.

Verified By → Finance, CDC, IQAC, or external auditor.

Remarks → Pending fund release, delayed vendor delivery, certification awaited.

Sample Entries

| S. No. | Project Title / Facility | Department / Location | Category | Proposal Submitted By | Date of Proposal | Approved By | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Funding Source | Compliance with Standards | Evidence Reference | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Smart Classroom Setup | Commerce Block – Room 203 | Academic | HOD – Commerce | 05-07-2025 | CDC + GB | 15.0 | 12.0 | 12.5 | +0.5 | CSR – ABC Pvt Ltd. | NAAC C4, AICTE ICT norms, NIRF TLR | CDC/2025/07/12 | IT Cell In-Charge | Finance + CDC | Fully operational |
| 2 | Research Lab Renovation | Physics Block – Lab 101 | Research | Lab In-Charge | 10-07-2025 | GB | 25.0 | 20.0 | 18.5 | -1.5 | Institutional Fund | NBA C7, ABET Facilities | PHYS/2025/REN | Engg Dept. | IQAC | Equipment delivery pending |
| 3 | Hostel Washroom Upgrade | Hostel Block A | Student Amenities | Student Council | 12-07-2025 | MC | 12.5 | 12.5 | 11.0 | -1.5 | AICTE Grant | NAAC C7, RPwD Act, SDG 11 | HOST/2025/AMC | Civil Works Dept. | CDC | Accessible & sustainable |
| 4 | Rooftop Solar Plant (50 KW) | Hostel Block B | Sustainability | Green Campus Committee | 20-07-2025 | GB | 30.0 | 25.0 | 24.0 | -1.0 | CSR + Alumni Fund | NAAC C7, QS I·GAUGE Green, SDG 7 & 13 | SOLAR/2025 | Green Campus In-Charge | IQAC + CDC | Commissioned successfully |

### Monthly Capital Expenditure & Budget Audit Report – [Month, Year]

Institution Name: ____________________

Prepared by: ____________________ (Finance Office / Facilities Manager)

Reviewed by: ____________________ (Campus Development Committee – CDC / IQAC / Governing Body)

### 1. Executive Summary

Total Projects Proposed: ________

Projects Approved: ________

Projects in Progress: ________

Projects Completed: ________

Projects Deferred: ________

Total Approved Budget: ₹ ________ Lakhs

Total Allocated Funds: ₹ ________ Lakhs

Total Utilized: ₹ ________ Lakhs

Overall Budget Utilization Rate: ________ %

Highlights:

Example: “Smart Classroom setup completed under CSR funding.”

Example: “Rooftop Solar Plant generated 20% of campus power.”

Challenges:

Example: “Physics Research Lab renovation delayed due to vendor issues.”

### 2. Category-Wise Expenditure Summary

| Category | Total Projects | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Utilization % | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Academic Facilities (Classrooms, Labs, Library) | ___ | ___ | ___ | ___ | ___ | ___% | ICT upgrades, lab equipment |
| Research & Innovation | ___ | ___ | ___ | ___ | ___ | ___% | Research labs, HPC servers |
| Student Amenities (Hostels, Sports, Health) | ___ | ___ | ___ | ___ | ___ | ___% | Hostel washroom, sports complex |
| Digital Infrastructure (ERP, LMS, Smart Classrooms) | ___ | ___ | ___ | ___ | ___ | ___% | ERP renewal, Wi-Fi expansion |
| Utilities & Services (Water, Power, Transport) | ___ | ___ | ___ | ___ | ___ | ___% | New generator, water system |
| Sustainability (Solar, Rainwater, Waste Mgmt.) | ___ | ___ | ___ | ___ | ___ | ___% | Rooftop solar, composting units |
| Total | ___ | ___ | ___ | ___ | ___ | ___% | – |

### 3. Project-Wise Audit Details

| Project Title | Department / Location | Category | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Compliance Status (Yes/No/Partial) | Funding Source (Institution/Grant/CSR) | Issues Identified | Action Taken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Smart Classroom Setup | Commerce Block – Room 203 | Academic | 15.0 | 12.0 | 12.5 | +0.5 | Yes | CSR – ABC Pvt Ltd. | None | – | IT Cell In-Charge | CDC | Fully operational |
| Research Lab Renovation | Physics Block – Lab 101 | Research | 25.0 | 20.0 | 18.5 | -1.5 | Partial | Institutional Fund | Vendor delay | Escalation sent | Engg Dept. | IQAC | Pending completion |
| Hostel Washroom Upgrade | Hostel Block A | Student Amenities | 12.5 | 12.5 | 11.0 | -1.5 | Yes | AICTE Grant | None | – | Civil Works Dept. | CDC | Accessible & sustainable |
| Rooftop Solar Plant – 50 KW | Hostel Block B | Sustainability | 30.0 | 25.0 | 24.0 | -1.0 | Yes | CSR + Alumni Fund | None | – | Green Campus In-Charge | IQAC | Generating surplus |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Project / Facility | Issue Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CAP/2025/09/01 | Physics Lab Renovation | Vendor delivery delays | Affects research work | Engg Dept. | Reminder sent | 15-09-2025 | In progress |
| CAP/2025/09/02 | ERP Renewal | Budget approval pending | Exam Cell processes affected | IT Cell + Finance | Proposal escalated | 30-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Budget overruns capped with contingency reserves.

Reallocation approved for ERP renewal under urgent priority.

Preventive audit conducted for hostel block construction.

Finance committee recommended CSR engagement for future projects.

### 6. Action Taken Report (ATR) – Previous Month

Library digitization completed with AICTE grant.

New seminar hall inaugurated under institutional fund.

Water recycling plant commissioned under sustainability budget.

### 7. Recommendations

Introduce real-time digital dashboard for CapEx tracking.

Strengthen vendor evaluation & performance contracts.

Ensure ≥10% allocation for sustainability projects in each budget cycle.

Establish dedicated CapEx buffer fund for urgent ICT and safety compliance needs.

Digitize all CapEx records and integrate with IQAC evidence folders.

### 8. Verification & Approval

Prepared By: __________________ (Finance Manager / Facilities Officer)

Verified By: __________________ (IQAC Coordinator / CDC In-Charge)

Approved By: __________________ (Registrar / Governing Body)

# 18. Budget Plan – Procurement of Stationery, Inventory, and Construction

## 1. Objectives

Ensure systematic allocation of funds for academic and administrative needs.

Maintain transparency & accountability in procurement.

Align budget utilization with NAAC Criterion 4 & 6, NBA Criterion 7, UGC/AICTE norms, NIRF TLR, and SDG 12 (responsible consumption).

Provide evidence-ready documentation for audits and accreditation.

## 2. Budget Categories

### A. Stationery Procurement

Printing paper (A4, A3, legal).

Office supplies (pens, pencils, markers, files, folders).

Examination stationery (answer sheets, attendance registers, OMR sheets).

Teaching-learning stationery (lab notebooks, graph sheets, chart papers).

Digital stationery (printer cartridges, toners, CDs, DVDs, USBs).

### B. Inventory Procurement

ICT consumables (network cables, UPS batteries, projectors, peripherals).

Laboratory consumables (chemicals, glassware, reagents).

Library inventory (newspapers, journals, binding materials).

Housekeeping supplies (cleaning material, sanitizers, toiletries).

Furniture and fixture spares (chairs, tables, repair kits).

### C. Construction & Infrastructure

Civil works (new classrooms, labs, hostels, offices).

Renovation/repairs (painting, flooring, roofing, electrical rewiring).

Green campus construction (rainwater harvesting, solar panel structures, compost pits).

Safety compliance works (fire extinguishers, ramps, signage, emergency exits).

Digital infra construction (data center rooms, smart classroom wiring).

## 3. Budget Allocation Framework

| Budget Head | Sub-Category | Estimated Cost (₹ Lakhs) | Justification | Funding Source (Institution / Govt. Grant / CSR / Alumni) | Approval Authority (CDC / Finance / GB) | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Stationery | Printing & Exam Stationery | 5.0 | Required for semester exams & admin work | Institutional | Finance Officer | Annual recurring |
| Stationery | Office & Teaching Supplies | 3.0 | Teaching-learning & admin processes | Institutional | Registrar | – |
| Inventory | ICT Consumables | 8.0 | Projector lamps, UPS batteries, cables | CSR / Institutional | IT Cell + Finance | Linked to AMC |
| Inventory | Lab Consumables | 10.0 | Science labs, engineering experiments | AICTE/UGC | HoDs + CDC | Semester-based |
| Inventory | Library Materials | 2.0 | Journals, binding, storage | Institutional | Librarian + IQAC | Annual |
| Construction | New Classrooms & Labs | 50.0 | Expansion for NEP-2020 ODL/Blended learning | Govt. Grant | CDC + GB | Major CapEx |
| Construction | Renovation & Repairs | 15.0 | Hostel & classroom maintenance | Institutional | Facilities Dept. | – |
| Construction | Green Campus Works | 12.0 | Solar, rainwater harvesting | CSR / Alumni | Green Campus Committee | Supports SDGs |
| Construction | Safety Compliance | 5.0 | Fire, accessibility, ramps | Institutional | Safety Committee | Mandatory |

Total Estimated Budget = ₹ _______ Lakhs

## 4. Procurement & Monitoring

Procurement Method: Tendering, quotations, e-procurement portal (GeM).

Compliance Registers:

Stationery & Inventory Register.

Construction Expenditure Register.

AMC & Maintenance Register.

Audit Mechanism:

Monthly procurement & utilization report.

Quarterly internal audit by IQAC/CDC.

Annual audit by statutory auditors.

## 5. Compliance & Accreditation Linkages

NAAC Criterion 4 & 6 → Infrastructure, financial mobilization.

NBA Criterion 7 → Adequacy of facilities & technical support.

UGC / AICTE Norms → Minimum infrastructure, lab requirements.

NIRF TLR → Teaching-learning resources & facilities.

QS I·GAUGE → Governance & infrastructure.

SDG 12 → Responsible consumption & resource efficiency.

### Budget Allocation & Utilization Register

| S. No. | Budget Head (Stationery / Inventory / Construction) | Sub-Category | Department / Location | Planned Budget (₹ Lakhs) | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Funding Source (Institution / Govt. Grant / CSR / Alumni) | Approval Authority (Finance / CDC / GB) | Compliance with Standards (NAAC / NBA / UGC / AICTE / NIRF / SDG) | Evidence Reference (Proposal ID / Invoice / Report) | Responsible Officer | Verified By (Finance / IQAC / CDC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Budget Head → Stationery, Inventory, Construction.

Sub-Category → Printing, ICT consumables, lab consumables, civil works, safety compliance, etc.

Planned Budget → Initial proposed cost.

Approved Budget → Sanctioned amount after approval.

Allocated Funds → Funds released for use.

Actual Expenditure → Real spending with bills/invoices.

Variance (+/-) → Difference between allocated and actual.

Funding Source → Institutional fund, govt. grant, CSR, alumni contribution.

Approval Authority → Finance Officer, CDC, Governing Body.

Compliance → Which standards/accreditation criterion this expenditure supports.

Evidence Reference → Proposal IDs, invoices, purchase orders, reports, photos.

Responsible Officer → HOD, Facilities Manager, Librarian, IT Cell.

Verified By → Finance, IQAC, CDC for accountability.

Remarks → Pending delivery, vendor delays, partial utilization.

Sample Entries

| S. No. | Budget Head | Sub-Category | Department / Location | Planned Budget (₹ Lakhs) | Approved Budget (₹ Lakhs) | Allocated Funds (₹ Lakhs) | Actual Expenditure (₹ Lakhs) | Variance (+/-) | Funding Source | Approval Authority | Compliance with Standards | Evidence Reference | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Stationery | Exam Answer Sheets & Registers | Exam Cell | 5.0 | 5.0 | 5.0 | 4.8 | -0.2 | Institutional | Finance Officer | NAAC C4, AICTE norms | INV/EXAM/2025/01 | Exam Cell In-Charge | IQAC | Fully utilized |
| 2 | Inventory | ICT Consumables (UPS batteries, cables) | IT Block | 8.0 | 8.0 | 7.5 | 7.0 | -0.5 | CSR – ABC Pvt Ltd | CDC | NBA C7, UGC ICT Norms | INV/ICT/2025/02 | IT Cell Head | CDC | UPS replacement pending |
| 3 | Inventory | Lab Chemicals & Glassware | Physics Lab | 10.0 | 9.0 | 9.0 | 8.5 | -0.5 | AICTE Grant | Governing Body | NBA C7, ABET Facilities | LAB/PHYS/2025/03 | Lab In-Charge | Finance | Utilized as per semester |
| 4 | Construction | New Smart Classroom Block | Commerce Dept. | 50.0 | 45.0 | 40.0 | 39.0 | -1.0 | Govt. Grant | Governing Body | NAAC C4, NIRF TLR, SDG 9 | CONST/COMM/2025/04 | Facilities Manager | CDC | Ongoing |
| 5 | Construction | Green Campus – Solar Rooftop 50KW | Hostel Block B | 12.0 | 12.0 | 12.0 | 11.0 | -1.0 | Alumni Fund | Governing Body | NAAC C7, QS I·GAUGE Green, SDG 7, 13 | GREEN/2025/05 | Green Campus In-Charge | IQAC | Commissioned successfully |

# 19. Accreditation Compliance Policy

## 1. Introduction

Accreditation assures quality, accountability, and global recognition of an institution’s teaching, research, and infrastructure.

HEIs must maintain continuous compliance with regulatory and accreditation requirements rather than treating them as periodic exercises.

This policy establishes a systematic framework for ensuring compliance, documentation, and audit readiness.

## 2. Objectives

To embed accreditation standards into institutional governance.

To ensure continuous quality improvement across teaching, research, infrastructure, and student services.

To maintain evidence-ready documentation for accreditation bodies.

To align HEI functions with NEP 2020, SDGs, and Washington Accord (ABET/NBA equivalence).

To strengthen the institution’s national ranking (NIRF) and international benchmarking (QS, Times Higher Ed).

## 3. Scope

Applies to all areas of HEIs:

Academic – Curriculum design, teaching, learning outcomes, research output.

Infrastructure – ICT facilities, labs, hostels, green campus initiatives.

Governance – Finance, HR, administrative processes, leadership.

Student Services – Mentoring, placements, welfare, accessibility.

Sustainability – Green initiatives, renewable energy, waste management.

## 4. Policy Guidelines

### A. Alignment with Accreditation Bodies

NAAC → Focus on holistic institutional quality (7 Criteria).

NBA → Program-level quality and outcome-based education (OBE).

UGC/AICTE → Statutory requirements for recognition and technical programs.

NIRF → Annual ranking performance based on TLR, GO, OI, RP, PR.

QS I·GAUGE → Global benchmarking (teaching, employability, governance, sustainability).

ABET → Program-level international standard in engineering/technology.

### B. Accreditation Documentation System

Maintain Registers & Reports for:

ICT Facilities

Physical Facilities & Maintenance

AMC Compliance

Capital Expenditure & Budget Allocation

Green Campus, Accessibility, Space Utilization

Teaching-Learning Outcomes (CO-PO-PSO Mapping)

Ensure digital storage in accreditation evidence folders (IQAC-managed).

### C. Governance & Review

Accreditation Compliance Committee (ACC):

Chair: Dean (Accreditation/Quality)

Members: IQAC Coordinator, HoDs, Librarian, IT Head, Finance Officer, Student Representative

Responsibilities:

Monitor ongoing compliance.

Maintain yearly accreditation readiness index.

Conduct mock audits every semester.

Submit Quarterly Accreditation Compliance Report to Governing Body.

### D. Training & Awareness

Faculty and staff trained in:

OBE practices (NBA/ABET)

Documentation for NAAC/NIRF/UGC

Green Campus & Sustainability Evidence

Students made aware of accreditation benefits (placements, international mobility).

### E. Monitoring & Continuous Improvement

Quarterly internal audits by IQAC.

Corrective & preventive actions for non-compliance.

Feedback loops → student surveys, faculty appraisals, alumni & employer feedback.

Annual Accreditation Review Workshop with stakeholders.

## 5. Roles & Responsibilities

IQAC – Custodian of documentation, audits, and evidence records.

Departments – Maintain program-level records (CO-PO attainment, labs, teaching).

Finance & Facilities – Budget, CapEx, AMC, infrastructure compliance.

IT Cell – ICT facilities, ERP, e-learning compliance.

Green Campus Committee – Sustainability compliance (SDGs, QS I·GAUGE).

Governing Body – Policy approval, funding allocation, oversight.

## 6. Accreditation Linkages

NAAC Criterion 1–7 – Curriculum, Teaching, Research, Infrastructure, Student Support, Governance, Best Practices.

NBA Criterion 1–7 – Program Educational Objectives (PEOs), Program Outcomes (POs), Continuous Improvement.

NIRF – Ranking metrics (TLR, RP, GO, OI, PR).

UGC/AICTE – Statutory compliance (labs, classrooms, student-faculty ratio, ICT).

QS I·GAUGE – Global benchmarking (Facilities, Governance, Employability, Diversity).

ABET – OBE framework, program outcomes, continuous quality improvement.

SDGs – Sustainable campuses, inclusivity, climate action.

## 7. Monitoring & Review

Accreditation compliance will be monitored quarterly by ACC.

An Annual Accreditation Compliance Report will be presented to the Governing Body.

The policy will be reviewed every 3 years or earlier if regulatory norms change.

### Accreditation Compliance Register

| S. No. | Accreditation Body | Criterion / Parameter | Institutional Area (Academic / Infrastructure / Governance / Student Support / Sustainability) | Requirement / Standard | Evidence Available (Yes/No/Partial) | Evidence Reference (Doc ID / Register / Report / Photo) | Gaps / Issues Identified | Action Taken / Proposed | Responsible Department / Committee | Verified By (IQAC / ACC / External Auditor) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Accreditation Body → NAAC, NBA, UGC, AICTE, NIRF, QS I·GAUGE, ABET.

Criterion / Parameter → e.g., NAAC Criterion 4 (Infrastructure), NBA Criterion 7 (Facilities), NIRF TLR.

Institutional Area → Academic, Infrastructure, ICT, Governance, Finance, Sustainability.

Requirement / Standard → Benchmark defined by the body.

Evidence Available → Drop-down: Yes / No / Partial.

Evidence Reference → Document ID, register, report, certificate, or photo.

Gaps / Issues Identified → Missing evidence, outdated records, non-compliance.

Action Taken / Proposed → Corrective/preventive actions.

Responsible Department / Committee → IQAC, IT Cell, CDC, Finance, Green Campus, Exam Cell, etc.

Verified By → IQAC, Accreditation Compliance Committee (ACC), or external auditor.

Remarks → Notes on progress, timelines, criticality.

Sample Entries

| S. No. | Accreditation Body | Criterion / Parameter | Institutional Area | Requirement / Standard | Evidence Available | Evidence Reference | Gaps / Issues Identified | Action Taken / Proposed | Responsible Department | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | NAAC | Criterion 4 – Infrastructure & Learning Resources | Infrastructure | Adequate classrooms, labs, ICT-enabled spaces | Yes | Infra/NAAC/2025/04 | None | – | Facilities Dept. | IQAC | Fully compliant |
| 2 | NBA | Criterion 7 – Facilities & Technical Support | Academic | Adequate lab equipment & ICT for OBE | Partial | Lab/Physics/REN2025 | AMC pending for HPC server | Vendor contacted for servicing | Physics Dept. | ACC | To be completed by 15-09-2025 |
| 3 | UGC | Minimum Standards for Universities | Governance & Academic | 90 working days per semester, ICT-enabled teaching | Yes | UGC/Comp/2025 | None | – | Academic Section | Registrar | Regularly monitored |
| 4 | AICTE | Approval Handbook Norms | Infrastructure | 1 PC per 6 students, 1 Gbps internet | Partial | ICT/AMC/2025 | Wi-Fi bandwidth < 500 Mbps | Upgrade proposal sent | IT Cell | CDC | Budget approval pending |
| 5 | NIRF | TLR – Teaching, Learning & Resources | Academic / Infrastructure | Adequate library, faculty-student ratio | Yes | NIRF/Library/2025 | None | – | Library + HR Dept. | IQAC | Ranked in Top 100 |
| 6 | QS I·GAUGE | Green Campus | Sustainability | Renewable energy, waste management, accessibility | Partial | Green/Report/2025 | Rainwater harvesting incomplete | Work order issued | Green Campus Committee | IQAC | Expected by Dec 2025 |
| 7 | ABET | Criterion 7 – Facilities | Academic & Safety | Safety-compliant labs & continuous improvement | No | ABET/Audit/2025 | Fire safety certificate expired | Renewal initiated | Facilities Dept. | External Auditor | Critical issue |

# 20. Waste Management & Recycling Policy

## 1. Introduction

HEIs generate significant solid, liquid, electronic, biomedical, and hazardous waste through academic, research, administrative, and residential activities.

Proper management and recycling of waste is essential to:

Promote a clean, green, and sustainable campus.

Ensure compliance with government regulations (Solid Waste Management Rules 2016, E-Waste Rules, Bio-Medical Waste Rules).

Demonstrate institutional commitment to NAAC/NBA criteria, NIRF inclusivity, QS I·GAUGE Green Campus, and SDGs (11, 12, 13).

## 2. Objectives

To adopt a zero-waste campus approach.

To implement effective segregation, collection, disposal, and recycling mechanisms.

To encourage the use of eco-friendly alternatives over single-use plastics.

To engage students and staff in awareness and participation in sustainable waste practices.

To establish documentation and monitoring systems for accreditation and compliance.

## 3. Scope

Applies to all waste generated across:

Academic spaces: Classrooms, laboratories, libraries.

Research facilities: Science labs, workshops, innovation centers.

Administrative areas: Offices, exam cell, IT centers.

Student amenities: Hostels, canteens, sports complexes.

Medical facilities: Campus health centers.

Digital/ICT waste: Servers, computers, peripherals, e-waste.

## 4. Policy Guidelines

### A. Solid Waste Management

Mandatory segregation at source (biodegradable, recyclable, hazardous).

Installation of color-coded bins across campus.

Biodegradable waste sent to composting units/biogas plants.

Recyclables (paper, plastics, metals) sold to authorized recyclers.

Non-recyclables sent to municipal collection as per rules.

### B. Liquid Waste Management

Wastewater from hostels, canteens, and labs treated in STPs (Sewage Treatment Plants).

Treated water reused for landscaping and flushing.

Chemical lab waste neutralized before disposal.

### C. E-Waste Management

Inventory of all ICT assets maintained by IT Cell.

Obsolete/destructive ICT equipment sent to authorized e-waste recyclers.

Reuse and redistribution of functional ICT equipment within campus.

### D. Biomedical Waste Management

Waste from health centers segregated as per Bio-Medical Waste Rules.

Sharps, expired medicines, and contaminated waste disposed of via authorized biomedical waste handlers.

### E. Hazardous Waste Management

Hazardous lab chemicals stored and neutralized in controlled environments.

Proper training provided to lab staff for handling.

Safe storage areas maintained as per regulatory standards.

### F. Awareness & Capacity Building

Regular workshops on waste segregation and recycling.

Student-led green clubs for campus waste audits.

Competitions and campaigns to promote plastic-free and paperless campus.

### G. Monitoring & Documentation

Waste Management Register maintained (daily collection, disposal, recycling data).

Monthly Waste Management Report generated by Green Campus Committee.

Annual Green Audit by third-party agencies.

## 5. Roles & Responsibilities

Green Campus Committee: Overall monitoring and policy enforcement.

Engineering & Facilities Dept.: Implementation of STPs, composting, collection logistics.

IT Cell: E-waste monitoring and disposal.

Health Center: Biomedical waste management compliance.

IQAC: Accreditation documentation and evidence folders.

## 6. Accreditation & Quality Linkages

NAAC Criterion 7 – Institutional Values & Best Practices (Green Campus, waste management).

NBA Criterion 7 – Facilities & Technical Support (lab safety, waste disposal).

NIRF OI – Inclusivity & sustainability practices.

QS I·GAUGE – Green Campus rating.

SDGs – SDG 11 (Sustainable Cities), SDG 12 (Responsible Consumption), SDG 13 (Climate Action).

## 7. Review & Upgradation

Policy reviewed every 2 years by Green Campus Committee.

Updated with new sustainability technologies (AI-based waste tracking, IoT smart bins, circular economy practices).

### Waste Management & Recycling Register

| S. No. | Date | Department / Location | Waste Category (Biodegradable / Recyclable / E-Waste / Biomedical / Hazardous) | Source of Waste (Classroom / Lab / Hostel / Canteen / Health Center / IT Dept.) | Quantity (Kg/Ltrs/Units) | Disposal Method (Composting / Recycling / Authorized Vendor / STP / Municipality) | Vendor / Agency Involved | Disposal / Recycling Receipt ID | Evidence Reference (Photo / Invoice / Report) | Verified By (Green Campus / Facilities) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Waste Category → Biodegradable, Recyclable, E-Waste, Biomedical, Hazardous.

Source of Waste → Classroom, Lab, Hostel, Canteen, Health Center, IT Dept.

Quantity → Record in Kg, Ltrs, or Units depending on type.

Disposal Method → Composting, Biogas, Recycling, STP treatment, Authorized recycler, Municipality.

Vendor / Agency Involved → Example: XYZ Recyclers Pvt. Ltd., Municipal Corporation.

Disposal / Recycling Receipt ID → To maintain traceability of outsourced waste.

Evidence Reference → Attach photos, invoices, lab reports, green audit entries.

Verified By → Green Campus Committee / Facilities In-Charge.

Sample Entries

| S. No. | Date | Department / Location | Waste Category | Source of Waste | Quantity | Disposal Method | Vendor / Agency Involved | Disposal / Recycling Receipt ID | Evidence Reference | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Hostel Block A | Biodegradable | Canteen | 120 Kg | Composting | Campus Biogas Plant | COMP/2025/09/05 | Photo/Hostel/09/05 | Green Campus Committee | Converted to biogas |
| 2 | 07-09-2025 | Physics Lab 101 | Hazardous | Lab Chemicals | 10 Ltrs | Neutralization & Safe Disposal | Authorized Vendor – ABC Chemicals | HAZ/2025/09/07 | Invoice/ABC/2025/07 | Facilities Dept. | Completed safely |
| 3 | 10-09-2025 | IT Block – Server Room | E-Waste | Obsolete Desktops | 15 Units | Authorized Recycler | E-Waste Solutions Pvt. Ltd. | EW/2025/09/10 | Invoice/EW/2025/10 | IT Cell | Redistribution of working parts |
| 4 | 12-09-2025 | Health Center | Biomedical | Medical Waste | 8 Kg | Authorized Biomedical Waste Handler | MedSafe Services | BMW/2025/09/12 | Report/BMW/2025/09 | Health Center In-Charge | Weekly pickup |
| 5 | 15-09-2025 | Library | Recyclable | Paper Records | 50 Kg | Recycling | PaperCycle Pvt. Ltd. | REC/2025/09/15 | Invoice/PAPER/2025/15 | CDC | Shredded & recycled |

### Monthly Waste Management & Recycling Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Green Campus Committee / Facilities Dept.)

Reviewed By: ____________________________ (IQAC / CDC / Governing Body)

### 1. Executive Summary

Total Waste Generated: _______ Kg / Ltrs / Units

Total Waste Recycled: _______ Kg / Ltrs / Units

Recycling Rate: _______%

Biodegradable Waste Processed into Compost/Biogas: _______ Kg

E-Waste Disposed via Authorized Vendors: _______ Units

Biomedical Waste Safely Disposed: _______ Kg

Hazardous Waste Neutralized/Disposed: _______ Ltrs

Highlights:

Example: “Biogas plant produced 25 cubic meters of fuel this month.”

Example: “Recycled 80% of library paper waste through certified vendor.”

Challenges:

Example: “Delay in e-waste pickup due to vendor backlog.”

Example: “STP pump maintenance pending, treated water recycling rate dropped.”

### 2. Category-Wise Waste Summary

| Waste Category | Total Generated | Total Recycled / Treated | Disposal Method Used | Recycling / Treatment Rate (%) | Remarks |
| --- | --- | --- | --- | --- | --- |
| Biodegradable (Food, Garden) | ___ Kg | ___ Kg | Composting / Biogas | ___% | Hostel & canteen food waste composted |
| Recyclable (Paper, Plastic, Metal) | ___ Kg | ___ Kg | Authorized Recycling Vendor | ___% | PaperCycle Pvt. Ltd. engaged |
| E-Waste (Desktops, Printers, Peripherals) | ___ Units | ___ Units | Authorized E-Waste Recycler | ___% | Redistribution of functional devices |
| Biomedical (Health Center Waste) | ___ Kg | ___ Kg | Authorized Biomedical Waste Handler | ___% | Weekly disposal to MedSafe |
| Hazardous (Lab Chemicals, Oils) | ___ Ltrs | ___ Ltrs | Neutralization / Safe Disposal | ___% | Vendor-certified handling |
| Liquid Waste (STP Output) | ___ Ltrs | ___ Ltrs | Treated & reused | ___% | Landscaping & flushing |
| Total | ___ | ___ | – | ___% | – |

### 3. Department-Wise Waste Data

| Department / Facility | Waste Type | Quantity Generated | Quantity Recycled / Treated | Vendor / Method Used | Compliance Status (Yes/No/Partial) | Evidence Reference (Invoice / Photo / Report) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hostel Block A | Biodegradable | 120 Kg | 100 Kg | Composting – Campus Plant | Yes | Photo/Hostel/2025/09 | Converted to biogas |
| Physics Lab 101 | Hazardous | 10 Ltrs | 10 Ltrs | Neutralization – ABC Chemicals | Yes | Invoice/ABC/2025/09 | Compliant |
| IT Dept. – Server Room | E-Waste | 15 Units | 15 Units | E-Waste Solutions Pvt. Ltd. | Partial | Invoice/EW/2025/09 | Redistribution ongoing |
| Health Center | Biomedical | 8 Kg | 8 Kg | MedSafe Services | Yes | Report/BMW/2025/09 | Weekly pickup |
| Library | Recyclable | 50 Kg | 50 Kg | PaperCycle Pvt. Ltd. | Yes | Invoice/PAPER/2025/09 | Fully recycled |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Waste Type | Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| WM/2025/09/01 | E-Waste | Vendor delay in pickup | Storage congestion in IT block | IT Cell | Reminder sent to vendor | 20-09-2025 | In progress |
| WM/2025/09/02 | Liquid Waste | STP pump malfunction | Reduced recycling rate | Facilities Dept. | Maintenance request filed | 25-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Hostel students trained in waste segregation at source.

Plastic-free campus drive conducted.

E-waste awareness program organized by IT Cell.

Vendor agreements reviewed to ensure timely pickups.

Green Campus Committee planning expansion of biogas plant.

### 6. Action Taken Report (ATR) – Previous Month

Canteen shifted to biodegradable plates to reduce plastic waste.

Solar-powered waste compactors installed near sports complex.

Biomedical waste documentation upgraded as per Bio-Medical Waste Rules.

### 7. Recommendations

Implement IoT-based smart bins for better tracking of waste volumes.

Set targets for zero landfill contribution by 2030.

Introduce paperless campus policy in administrative departments.

Strengthen vendor accountability with performance ratings.

Conduct quarterly Green Audit by external agency.

### 8. Verification & Approval

Prepared By: __________________ (Facilities / Green Campus Officer)

Verified By: __________________ (IQAC Coordinator / Green Campus Committee)

Approved By: __________________ (Registrar / Governing Body)

### Thrash Collection & Disposal Register

| Date of Collection | Location (Source – Hostel / Canteen / Lab / Classroom / Sports Ground) | KGs of Thrash Collected | Type of Waste (Biodegradable / Non-Biodegradable / E-Waste / Biomedical) | Disposal Location (Dump Yard / Recycling Unit / Compost Pit / Vendor) | Disposal Method (Segregation / Recycling / Composting / Incineration / Landfill) | Responsible Person / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Date of Collection → When the waste was collected.

Location (Source) → Where waste was collected from (Hostel, Classroom, Lab, Canteen, Playground).

KGs of Thrash Collected → Measured weight of waste collected.

Type of Waste → Segregation category: biodegradable, plastic, paper, e-waste, biomedical.

Disposal Location → Where the waste was dumped/processed (campus compost pit, municipal site, recycling vendor).

Disposal Method → Recycling, composting, incineration, landfill, vendor handover.

Responsible Person / Dept. → Housekeeping, Facilities, Green Campus Cell.

Verified By → Registrar, Green Audit Committee, IQAC.

Remarks → Notes on segregation, re-use, or issues faced.

Sample Entries

| Date of Collection | Location | KGs of Thrash Collected | Type of Waste | Disposal Location | Disposal Method | Responsible Person | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 03-09-2025 | Hostel Block A | 120 kg | Biodegradable + Plastic | Compost Pit (bio) + Recycling Vendor (plastic) | Composting + Recycling | Hostel Warden | Green Campus Cell | Food waste converted to manure |
| 05-09-2025 | Chemistry Lab | 25 kg | Chemical Packaging Waste | Authorized Vendor | Recycling | Lab In-Charge | Safety Officer | Vendor certificate attached |
| 08-09-2025 | Canteen | 200 kg | Biodegradable | Biogas Plant | Biogas Generation | Canteen In-Charge | Facilities Manager | Energy recovered from food waste |
| 10-09-2025 | IT Block | 15 kg | E-Waste (Old keyboards, cables) | E-Waste Collection Center | Authorized Recycling | IT Cell | Registrar | Linked to e-waste AMC |
| 12-09-2025 | Sports Ground | 50 kg | Mixed (Plastic bottles, food wraps) | Municipal Dump Yard | Segregation & Disposal | Sports In-Charge | IQAC |  |

# 21. Energy & Utilities Management Policy

## 1. Introduction

Energy and utility services are the lifeline of academic, research, and residential operations in HEIs.

Efficient management reduces costs, carbon footprint, and risks of outages, while aligning with global sustainability practices.

This policy integrates sustainable energy use, water conservation, and utility efficiency into institutional governance.

## 2. Objectives

Optimize the use of electricity, water, and HVAC utilities across campus.

Increase adoption of renewable energy sources (solar, wind, biogas).

Reduce the environmental impact of energy and utility consumption.

Ensure compliance with national standards (Energy Conservation Act, Water Act, Pollution Control Guidelines).

Provide evidence of sustainability practices for accreditation (NAAC, NBA, NIRF, QS I·GAUGE, SDGs).

## 3. Scope

Applies to all academic, administrative, student, and research facilities, including:

Academic blocks (classrooms, labs, libraries, research centers).

Administrative offices, examination cells.

Hostels, canteens, health centers, sports complexes.

IT/Data centers, smart classrooms.

Utilities: water supply, sanitation, HVAC systems, power backup.

Green & renewable energy infrastructure (solar plants, rainwater harvesting, STPs).

## 4. Policy Guidelines

### A. Energy Management

Install energy-efficient appliances (LED lighting, star-rated ACs, smart meters).

Promote solar rooftop systems and biogas plants.

Conduct energy audits annually; implement recommendations.

Enforce shutdown policies (switch off labs, classrooms, and offices after hours).

Monitor energy use via IoT-enabled smart meters and dashboards.

### B. Water Management

Install water meters for all hostels, labs, and blocks.

Promote rainwater harvesting across campus.

Recycle wastewater through STPs (Sewage Treatment Plants) and reuse for gardening and flushing.

Promote water conservation campaigns (drip irrigation, leak monitoring).

### C. HVAC & Cooling Systems

Use centralized HVAC with automation for efficiency.

Regular maintenance of chillers, AC units, and ventilation.

Set temperature standards to reduce energy load.

Install sensor-based controls in classrooms and labs.

### D. Utilities & Power Backup

Maintain generators, UPS, and battery systems with AMC.

Ensure redundancy in power supply to avoid outages during exams/research.

Establish disaster recovery plans for ICT and data centers.

### E. Renewable & Green Practices

Allocate 10% of annual CapEx for renewable energy.

Develop solar, wind, and biomass projects to reduce grid dependency.

Promote paperless governance (ERP, LMS, digital records).

Integrate sustainability into curriculum & research.

## 5. Monitoring & Compliance

Green Campus Committee to oversee policy implementation.

Monthly Energy & Utilities Report to be prepared by Facilities & IT Cell.

Registers to be maintained:

Energy Audit Register

Water Usage Register

Renewable Energy Production Register

AMC & Maintenance Compliance Register

Annual Green Audit by third-party agencies.

## 6. Roles & Responsibilities

Facilities Dept.: Energy audits, AMC compliance, HVAC maintenance.

Green Campus Committee: Renewable projects, awareness drives.

IT Cell: Smart metering, energy dashboards, ICT power management.

IQAC: Accreditation documentation and compliance monitoring.

Finance Dept.: Allocate CapEx/OpEx for sustainable utilities.

## 7. Accreditation & Standards Alignment

NAAC Criterion 4 & 7 – Infrastructure, sustainability, institutional values.

NBA Criterion 7 – Facilities, utilities, technical support.

AICTE/UGC Norms – Minimum facilities, green campus requirements.

NIRF (OI) – Sustainability & outreach practices.

QS I·GAUGE – Green Campus & Energy Efficiency indicators.

ABET Criterion 7 – Facilities adequacy, safety, sustainability.

SDGs 6, 7, 11, 12, 13 – Water management, clean energy, sustainable campuses, climate action.

## 8. Review & Improvement

Policy to be reviewed every 2 years or as per regulatory updates.

Key Performance Indicators (KPIs):

Energy saved (kWh reduction).

Renewable energy contribution (%).

Water recycled & reused (Litres).

Cost savings achieved.

Accreditation compliance scores improved.

### Energy & Utilities Compliance Register

| S. No. | Date | Department / Location | Utility Type (Electricity / Water / HVAC / Renewable / Backup) | Consumption (kWh / KL / Units) | Renewable Energy Generated (kWh / %) | Cost Incurred (₹) | AMC / Maintenance Status (Yes/No/Partial) | Compliance with Standards (NAAC / AICTE / NBA / SDG) | Issues Identified | Action Taken / Proposed | Responsible Officer | Verified By (Facilities / IQAC / Green Campus) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Utility Type → Electricity, Water, HVAC (Cooling), Renewable (Solar, Wind, Biogas), Backup (UPS, Generator).

Consumption → Actual usage data (kWh for electricity, KL for water, hours for HVAC).

Renewable Energy Generated → Energy offset by solar/wind/biogas (% of total).

Cost Incurred → Utility bills, maintenance charges.

AMC / Maintenance Status → Preventive checks, vendor servicing status.

Compliance with Standards → Relevant frameworks (NAAC C7, AICTE green norms, NBA C7, SDG 6/7/13).

Issues Identified → Leakages, outages, equipment breakdown.

Action Taken / Proposed → Repairs, vendor escalation, preventive measures.

Responsible Officer → Facilities Manager, IT Cell, Green Campus In-Charge.

Verified By → IQAC / CDC / Green Campus Committee.

Sample Entries

| S. No. | Date | Department / Location | Utility Type | Consumption | Renewable Energy Generated | Cost Incurred (₹) | AMC / Maintenance Status | Compliance with Standards | Issues Identified | Action Taken / Proposed | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Main Block | Electricity | 18,500 kWh | 4,200 kWh (Solar, 23%) | 2,10,000 | Yes | NAAC C4, SDG 7 | None | – | Facilities Manager | IQAC | Within limits |
| 2 | 05-09-2025 | Hostel A | Water | 450 KL | – | 65,000 | Yes | NAAC C7, SDG 6 | Leak detected | Pipe repair scheduled | Civil Engineer | CDC | To be completed by 10-09 |
| 3 | 06-09-2025 | Physics Lab | HVAC | 320 hours | – | 35,000 | Partial | NBA C7 | Overuse in peak hours | Temperature regulation policy issued | Lab In-Charge | IQAC | Needs monitoring |
| 4 | 07-09-2025 | Data Center | Backup (UPS) | 120 hours | – | 18,000 | Yes | AICTE ICT Norms | Battery wear | Vendor notified | IT Cell | CDC | Replacement due |
| 5 | 08-09-2025 | Hostel B | Renewable (Solar) | – | 2,800 kWh (65% of usage) | – | Yes | QS I·GAUGE Green, SDG 13 | None | – | Green Campus Committee | IQAC | Surplus power sent to grid |

### Monthly Energy & Utilities Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Facilities Dept. / IT Cell / Green Campus Committee)

Reviewed By: ____________________________ (IQAC / CDC / Governing Body)

### 1. Executive Summary

Total Electricity Consumption: _______ kWh

Renewable Energy Generated (Solar/Wind/Biogas): _______ kWh (% of total)

Water Consumed: _______ KL (recycled: _______ KL)

HVAC Usage: _______ hours (energy: _______ kWh)

Backup Power Usage (UPS/Generators): _______ hours

Total Utility Cost: ₹ _______

Cost Savings from Renewable Energy / Efficiency: ₹ _______

Overall Compliance Rate: _______%

Highlights:

Example: “Solar plant supplied 28% of total energy needs.”

Example: “New water recycling system reduced freshwater use by 15%.”

Challenges:

Example: “UPS battery replacements delayed.”

Example: “Leakages detected in Hostel B water supply.”

### 2. Category-Wise Summary

| Utility Type | Total Consumption (kWh / KL / Units) | Renewable Contribution (kWh / %) | Total Cost (₹) | Cost Savings (₹) | AMC / Maintenance Status (Yes/No/Partial) | Compliance Status (Yes/No/Partial) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Electricity | _______ kWh | _______ kWh (___%) | ₹ _____ | ₹ _____ | Yes | Yes | Grid + Solar mix |
| Water | _______ KL | – | ₹ _____ | ₹ _____ | Yes | Partial | Leak repairs pending |
| HVAC / Cooling | _______ hours / kWh | – | ₹ _____ | ₹ _____ | Partial | Yes | Smart sensors installed |
| Backup Power (UPS/Gen) | _______ hours | – | ₹ _____ | – | Yes | Yes | UPS batteries monitored |
| Renewable Energy (Solar/Wind/Biogas) | _______ kWh | (___% of demand) | – | ₹ _____ | Yes | Yes | Surplus power sent to grid |
| Total | – | – | ₹ _____ | ₹ _____ | – | – | – |

### 3. Department-Wise Consumption & Compliance

| Department / Location | Utility Type | Consumption (kWh / KL / Units) | Renewable Contribution (kWh / %) | Cost Incurred (₹) | Issues Identified | Action Taken / Proposed | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Main Academic Block | Electricity | 18,500 kWh | 3,200 kWh (17%) | ₹ 2,10,000 | None | – | Facilities Manager | IQAC | Within limits |
| Hostel A | Water | 450 KL | – | ₹ 65,000 | Leak detected | Pipe repair scheduled | Civil Engineer | CDC | To be completed by 10-09 |
| Physics Lab | HVAC | 320 hours | – | ₹ 35,000 | Overuse in peak hours | New usage guidelines issued | Lab In-Charge | IQAC | Needs monitoring |
| Data Center | Backup (UPS) | 120 hours | – | ₹ 18,000 | Battery wear | Vendor notified | IT Cell | CDC | Replacement due |
| Hostel B | Solar Plant (50 KW) | – | 2,800 kWh (65% of usage) | – | None | – | Green Campus Committee | IQAC | Surplus power sent to grid |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Utility Type | Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EU/2025/09/01 | Water | Hostel B leakage | 20% wastage | Civil Works Dept. | Repair order issued | 15-09-2025 | In Progress |
| EU/2025/09/02 | UPS | Battery replacement pending | Data risk in outages | IT Cell | Vendor contacted | 20-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Monthly energy audit completed in academic blocks.

LED lighting conversion reduced consumption by 12%.

STP water reused for 60% of landscaping.

Solar cleaning schedule followed for higher efficiency.

Smart sensors installed in classrooms to control HVAC use.

### 6. Action Taken Report (ATR) – Previous Month

UPS maintenance completed in Exam Cell.

Rainwater harvesting tank desilted and functional.

Smart metering dashboards activated in IT/Data center.

### 7. Recommendations

Introduce IoT-based real-time energy dashboards for all blocks.

Upgrade hostel water monitoring systems.

Allocate 10% of CapEx budget for renewable and energy-efficient projects.

Conduct quarterly energy training workshops for staff and students.

Integrate reports into NAAC/NBA/NIRF evidence folders.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / IT Cell In-Charge)

Verified By: __________________ (IQAC Coordinator / Green Campus Committee)

Approved By: __________________ (Registrar / Governing Body)

# 22. Standard List of Housekeeping Activities in HEIs

## 1. Daily Activities

Classrooms & Laboratories

Sweeping and mopping of floors.

Dusting of desks, benches, chairs, and lab equipment.

Emptying waste bins and replacing liners.

Cleaning whiteboards/blackboards.

Checking and cleaning projector screens, ICT equipment.

Administrative & Office Areas

Dusting of furniture, filing cabinets, and office equipment.

Cleaning telephones, computers, and printers.

Emptying dustbins and shredders.

Toilets & Washrooms

Cleaning floors, walls, and sanitary fixtures.

Refilling soap dispensers, tissue rolls, and hand dryers.

Disinfecting urinals and wash basins.

Common Areas

Sweeping/mopping corridors, staircases, and lobbies.

Cleaning elevators and railings.

Sanitizing frequently touched surfaces (switches, handles, doorknobs).

Hostels & Residential Areas

Bed-making and room cleaning in student hostels.

Cleaning bathrooms and common kitchens.

Garbage collection and disposal.

## 2. Weekly Activities

Dusting and wiping fans, light fittings, and electrical panels.

Polishing wooden furniture, doors, and windows.

Washing curtains, cushion covers, and mats.

Scrubbing washrooms with anti-scaling cleaners.

Deep cleaning hostel mess/canteen kitchens.

Cleaning library racks, computer labs, and seminar halls thoroughly.

## 3. Monthly Activities

Machine scrubbing of large floor areas (library, auditorium, labs).

Polishing of metal fittings and fixtures.

Pest control measures in classrooms, labs, and hostels.

Checking plumbing systems (leaks, taps, drainage).

Washing water coolers and purifiers.

Cleaning rooftops, terraces, and rainwater harvesting tanks.

Deep cleaning hostel blocks, canteens, and guest houses.

## 4. Quarterly Activities

Shampooing and vacuuming of carpets and rugs.

Cleaning external facades of buildings and windows.

Disinfection of water storage tanks.

Deep cleaning of HVAC ducts and air filters.

Oil and polish of wooden furniture and fixtures.

Maintenance of sports grounds and gymnasiums.

## 5. Annual Activities

Whitewashing/painting of classrooms, hostels, and labs (if required).

Polishing of marble/stone flooring.

Comprehensive pest control for the entire campus.

Overhaul cleaning of auditoriums, seminar halls, and conference centers.

Annual sustainability audit for waste management and green campus compliance.

## 6. Specialized Housekeeping Activities

ICT Equipment Cleaning: Proper dust-removal of projectors, servers, UPS systems.

Green Campus Maintenance: Tree plantation, lawn mowing, cleaning compost pits.

Safety & Hygiene: Fire extinguisher cleaning, sanitizing medical facilities, ensuring accessibility pathways are clutter-free.

Event Management: Pre- and post-event cleaning of seminar halls, auditoriums, sports facilities.

## 7. Accreditation & Standards Linkage

NAAC Criterion 4 & 7 → Infrastructure & Institutional Values.

NBA Criterion 7 → Facilities and Technical Support.

AICTE/UGC Norms → Minimum hygiene and campus facilities standards.

NIRF (TLR & OI) → Teaching-learning infrastructure & inclusivity.

QS I·GAUGE → Facilities, Green Campus, Hygiene Standards.

SDG 3, 6, 11 → Health & well-being, clean water, sustainable cities.

### Housekeeping Compliance Register

| S. No. | Date | Department / Location | Activity Type (Daily / Weekly / Monthly / Annual) | Activity Description (Classroom / Lab / Hostel / Washroom / Common Area / Green Campus) | Task Performed (Yes/No/Partial) | Issues Identified | Action Taken / Proposed | Responsible Staff / Vendor | Verified By (Facilities / IQAC / Hostel Warden / CDC) | Evidence Reference (Photo / Report / Log ID) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Date → Actual date of activity.

Department / Location → Classroom Block A, Hostel B, Library, Lab 203, Auditorium.

Activity Type → Daily / Weekly / Monthly / Annual.

Activity Description → Cleaning, dusting, pest control, waste disposal, green maintenance, deep cleaning.

Task Performed → Drop-down: Yes / No / Partial.

Issues Identified → Example: water leakage, pest presence, broken furniture, unclean washrooms.

Action Taken / Proposed → Repairs, rescheduling, vendor escalation.

Responsible Staff / Vendor → Housekeeping staff, contracted agency, facilities team.

Verified By → Facilities Dept., Hostel Warden, IQAC, Campus Development Committee (CDC).

Evidence Reference → Photos, checklists, service log, audit report.

Remarks → Notes on follow-up, pending tasks.

Sample Entries

| S. No. | Date | Department / Location | Activity Type | Activity Description | Task Performed | Issues Identified | Action Taken / Proposed | Responsible Staff / Vendor | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Classroom Block A – Room 203 | Daily | Sweeping, dusting desks, cleaning whiteboard | Yes | None | – | Staff – HK/203 | Facilities Supervisor | Photo/203/0905 | Fully compliant |
| 2 | 06-09-2025 | Hostel A – Washroom Block | Daily | Floor cleaning, disinfecting toilets & basins | Partial | Broken tap, foul smell | Maintenance request raised | Vendor – CleanTech Pvt. Ltd. | Hostel Warden | Log/HOST/0906 | Repairs pending |
| 3 | 07-09-2025 | Central Library | Weekly | Dusting racks, vacuuming reading area, mopping | Yes | None | – | Staff – HK/LIB01 | Librarian | Photo/LIB/0907 | Clean |
| 4 | 10-09-2025 | Physics Lab 101 | Monthly | Pest control, deep cleaning benches & storage | Yes | Chemical residue found | Lab assistant alerted | Vendor – PestSafe Ltd. | IQAC | Report/LAB/0909 | Needs follow-up |
| 5 | 15-09-2025 | Hostel C – Mess Kitchen | Monthly | Deep cleaning kitchen, exhaust ducts | No | Vendor absent | Rescheduled | Facilities Dept. | Hostel Warden | Log/HOST/0915 | Delayed service |
| 6 | 01-08-2025 | Auditorium | Annual | Shampooing carpets, polishing furniture, repainting | Yes | None | – | Vendor – ShinePro Services | CDC | Audit/2025/AUD/01 | Completed |

### Monthly Housekeeping Audit Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Facilities / Housekeeping Supervisor)

Reviewed By: ____________________________ (IQAC / CDC / Green Campus Committee)

### 1. Executive Summary

Total Areas Audited: ________

Daily Activities Completed: ________ %

Weekly Activities Completed: ________ %

Monthly / Annual Activities Completed: ________ %

Overall Compliance Rate: ________ %

Highlights:

Example: “100% daily classroom cleaning achieved.”

Example: “Library deep cleaning completed successfully.”

Challenges:

Example: “Delay in pest control vendor service in Hostel A.”

Example: “Kitchen exhaust duct cleaning pending.”

### 2. Category-Wise Housekeeping Compliance

| Category / Location | Total Tasks Planned | Completed (Yes) | Partial | Not Done | Compliance % | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Classrooms & Labs | ___ | ___ | ___ | ___ | ___% | Chalk dust accumulation in few labs |
| Administrative Offices | ___ | ___ | ___ | ___ | ___% | Printer areas need more frequent cleaning |
| Library | ___ | ___ | ___ | ___ | ___% | Completed – deep cleaning done |
| Hostels | ___ | ___ | ___ | ___ | ___% | Hostel A bathrooms need extra sanitization |
| Toilets & Washrooms | ___ | ___ | ___ | ___ | ___% | Partial – shortage of supplies reported |
| Common Areas (Corridors, Stairs, Lobbies) | ___ | ___ | ___ | ___ | ___% | Fully compliant |
| Mess / Canteens | ___ | ___ | ___ | ___ | ___% | Exhaust ducts pending |
| Green Campus (Gardens, Lawns, Outdoor) | ___ | ___ | ___ | ___ | ___% | Lawn mowing completed |

### 3. Department-Wise Audit Findings

| Department / Block | Audit Date | Areas Covered | Issues Identified | Corrective Actions Taken / Proposed | Responsible Officer | Verified By | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Commerce Block | 05-09-2025 | 12 Classrooms | Dust on projector screens | Issued instructions to staff | Facilities Supervisor | IQAC | Resolved |
| Hostel A | 06-09-2025 | Washrooms, Kitchen | Broken taps, foul smell | Maintenance request filed | Hostel Warden | CDC | Pending |
| Library | 07-09-2025 | Reading halls, Racks | None | – | Librarian | IQAC | Clean |
| Physics Lab | 08-09-2025 | Lab benches, Storage | Chemical residue found | Vendor cleaning scheduled | Lab In-Charge | IQAC | In Progress |
| Hostel C Mess | 10-09-2025 | Kitchen, Dining | Exhaust not cleaned | Vendor reminder sent | Hostel Warden | CDC | Pending |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Area / Location | Issue Description | Risk / Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HK/2025/09/01 | Hostel A Washrooms | Broken taps, foul smell | Student hygiene risk | Facilities Dept. | Repair request filed | 15-09-2025 | Pending |
| HK/2025/09/02 | Hostel C Mess | Kitchen exhaust not cleaned | Food safety concern | Vendor – CleanTech | Escalated | 12-09-2025 | In Progress |

### 5. Preventive & Corrective Actions

Daily cleaning frequency increased in labs and hostels.

New waste segregation bins installed in classrooms.

Vendor contract reviewed for pest control services.

Introduced sanitization checklist for washrooms.

Awareness drive conducted for students on responsible use of hostel facilities.

### 6. Action Taken Report (ATR) – Previous Month

Auditorium deep cleaning and carpet shampooing completed.

Fire safety signage cleaned and maintained.

Canteen hygiene inspection conducted by Food Safety Officer.

### 7. Recommendations

Implement QR-code based housekeeping logs for real-time updates.

Increase frequency of pest control in labs and hostels.

Allocate dedicated funds for hostel hygiene improvements.

Conduct quarterly Green Audit integrating waste, energy, and housekeeping evidence.

Train staff on eco-friendly cleaning materials for sustainability.

### 8. Verification & Approval

Prepared By: __________________ (Housekeeping Supervisor / Facilities In-Charge)

Verified By: __________________ (IQAC Coordinator / CDC)

Approved By: __________________ (Registrar / Governing Body)

# 23. Standard List of Activities on Solar Panels in HEIs

## 1. Daily / Routine Activities

Visual inspection of panels for dust, debris, bird droppings, or shading.

Check inverter display for power generation readings.

Record daily generation data in the Solar Energy Register.

Ensure no obstruction (new construction, overgrown trees) is affecting sunlight.

Verify indicator lights on inverter and control panels.

## 2. Weekly Activities

Cleaning of panel surfaces with soft cloths/water spray (especially in dusty environments).

Checking cables, connectors, and junction boxes for loose or exposed wiring.

Monitoring string performance using data loggers.

Confirm earthing points are intact and not corroded.

## 3. Monthly Activities

Performance ratio (PR) analysis – compare expected vs. actual energy generation.

Inspection of mounting structures for rust, cracks, or instability.

Testing DC/AC voltage and current output.

Checking inverter efficiency logs and error codes.

Inspecting protection devices (MCBs, fuses, surge protectors).

Clean and verify monitoring system dashboards (SCADA/IoT).

## 4. Quarterly Activities

Detailed thermographic scan of panels for hotspots.

Cleaning and greasing of mechanical parts (if panels are on trackers).

Verify battery health (for hybrid/off-grid systems).

Water quality check (to ensure no mineral deposits form on panel glass).

Checking energy meters and calibration.

## 5. Annual Activities

Comprehensive solar system audit by vendor/AMC provider.

Calibration of inverters and meters as per manufacturer guidelines.

Preventive replacement of aging connectors, surge arrestors, or fuses.

Structural inspection of rooftops/grounds to ensure safety.

Review generation data trends (yearly yield, PR, CUF).

Verification of compliance with government renewable energy reporting norms.

## 6. Event-Triggered Activities (as needed)

Emergency inspection after storms, heavy rains, or cyclones.

Cleaning after bird nesting season, festivals (fireworks dust), or construction dust.

Immediate troubleshooting if generation drops sharply or error codes are flagged.

## 7. Documentation & Reporting

Maintain a Solar Energy Generation Register (daily generation, downtime, PR%).

Record maintenance logs (cleaning, inspection, AMC reports).

Keep invoices and warranty certificates for all repairs and replacements.

Submit Monthly Solar Plant Performance Reports to Green Campus Committee & IQAC.

## 8. Accreditation & Standards Linkage

NAAC Criterion 7 → Institutional Values & Green Campus initiatives.

NBA Criterion 7 → Facilities & Technical Support (sustainable infrastructure).

UGC/AICTE Norms → Promotion of renewable energy in campuses.

NIRF (OI) → Sustainability and inclusivity practices.

QS I·GAUGE → Green Campus & Energy Efficiency ratings.

SDGs 7 & 13 → Affordable clean energy, climate action.

### Solar Panel Maintenance & Performance Register

| S. No. | Date | Location / Block | Installed Capacity (KW) | Daily Generation (kWh) | Cumulative Generation (Month) | Cleaning Status (Yes/No) | Inspection Status (OK/Issue) | Issues Identified (Dust / Wiring / Inverter / Hotspot / Structural) | Action Taken / Proposed | AMC / Vendor Service (Yes/No) | Responsible Staff / Vendor | Verified By (Green Campus / IQAC / CDC) | Evidence Reference (Photo / Report / Log ID) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Location / Block → Academic Block, Hostel A rooftop, Library building.

Installed Capacity → e.g., 50 KW, 100 KW.

Daily Generation → Actual units generated per day.

Cumulative Generation (Month) → Running total of units generated.

Cleaning Status → Daily/weekly cleaning recorded (Yes/No).

Inspection Status → OK (no issues) / Issue (requires attention).

Issues Identified → Dust, debris, wiring, inverter error, shading, hotspot, rusting.

Action Taken / Proposed → Cleaning, repairs, vendor escalation, preventive maintenance.

AMC / Vendor Service → Record whether maintenance was done by AMC provider.

Responsible Staff / Vendor → Facilities team, Green Campus committee, AMC vendor.

Verified By → Internal audit: IQAC, CDC, Green Campus Committee.

Evidence Reference → Photos, vendor reports, inverter logs, inspection notes.

Remarks → Notes on delays, weather impacts, energy savings.

Sample Entries

| S. No. | Date | Location / Block | Installed Capacity (KW) | Daily Generation (kWh) | Cumulative Generation (Month) | Cleaning Status | Inspection Status | Issues Identified | Action Taken / Proposed | AMC / Vendor Service | Responsible Staff / Vendor | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Hostel Block B | 50 KW | 280 kWh | 1,120 kWh | Yes | OK | None | – | No | Facilities Team | Green Campus Committee | Photo/SOLAR/0905 | Normal operation |
| 2 | 06-09-2025 | Academic Block A | 30 KW | 160 kWh | 960 kWh | No | Issue | Dust accumulation | Scheduled cleaning | No | Housekeeping + Facilities | IQAC | Report/SOLAR/ACA/0906 | Cloudy weather affected yield |
| 3 | 07-09-2025 | Library Roof | 20 KW | 95 kWh | 665 kWh | Yes | OK | None | – | No | Vendor – SunTech Solar | CDC | AMC/2025/07 | Normal |
| 4 | 10-09-2025 | Hostel Block B | 50 KW | 250 kWh | 1,870 kWh | Yes | Issue | Inverter warning | Vendor notified | Yes | SunTech AMC | Green Campus | AMC/2025/08 | Needs replacement within 2 weeks |
| 5 | 12-09-2025 | Research Center | 15 KW | 85 kWh | 510 kWh | Yes | OK | None | – | No | Facilities | IQAC | Log/RES/SOLAR/0912 | Stable generation |

### Monthly Solar Energy Performance Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Facilities Dept. / Green Campus Committee)

Reviewed By: ____________________________ (IQAC / CDC / Governing Body)

### 1. Executive Summary

Installed Solar Capacity: _______ KW

Total Energy Generated this Month: _______ kWh

Average Daily Generation: _______ kWh

Renewable Contribution to Total Campus Energy: _______ %

Estimated Cost Savings: ₹ _______

CO₂ Emissions Reduced: _______ tons (calculated from kWh saved)

Highlights:

Example: “Solar plant supplied 28% of total campus energy needs.”

Example: “Grid export of 2,500 kWh achieved.”

Challenges:

Example: “Dust accumulation reduced efficiency by 5% in Hostel Block panels.”

Example: “Inverter error caused 2 days of downtime.”

### 2. Solar Energy Generation – Category Summary

| Location / Block | Installed Capacity (KW) | Total Generation (kWh) | Avg. Daily Generation (kWh) | Renewable Contribution (%) | Cost Savings (₹) | Compliance Status (Yes/No/Partial) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Academic Block A | 30 KW | 4,800 | 160 | 18% | ₹ 48,000 | Yes | Normal operation |
| Library Roof | 20 KW | 2,850 | 95 | 12% | ₹ 28,500 | Yes | Stable |
| Hostel Block B | 50 KW | 7,800 | 260 | 28% | ₹ 78,000 | Partial | Inverter warning logged |
| Research Center | 15 KW | 2,550 | 85 | 10% | ₹ 25,500 | Yes | Consistent |
| Hostel Block C | 25 KW | 3,750 | 125 | 15% | ₹ 37,500 | Yes | Peak performance |
| Total | 140 KW | 21,750 | ~725 | — | ₹ 2,17,500 | — | — |

### 3. Maintenance & Cleaning Activities

| Date | Location | Activity (Cleaning / Inspection / AMC / Repair) | Issues Found | Action Taken | Verified By | Evidence Reference |
| --- | --- | --- | --- | --- | --- | --- |
| 05-09-2025 | Hostel Block B | Cleaning | Dust accumulation | Panels cleaned | Facilities | Photo/SOLAR/0905 |
| 10-09-2025 | Academic Block A | Inspection | Loose connector | Fixed by AMC vendor | CDC | Report/ACA/0910 |
| 12-09-2025 | Library Roof | AMC Check | None | Preventive service done | IQAC | AMC/LIB/0912 |
| 15-09-2025 | Research Center | Thermographic Scan | Hotspot detected | Replacement scheduled | Green Campus | Report/RES/0915 |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Location / Block | Issue Description | Impact | Responsible Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SOL/2025/09/01 | Hostel Block B | Inverter fault (Error code 101) | 2 days downtime | Vendor – SunTech Solar | Ticket raised | 18-09-2025 | In progress |
| SOL/2025/09/02 | Academic Block A | Shading from nearby trees | Reduced yield 7% | Facilities Dept. | Trimming requested | 20-09-2025 | Pending |

### 5. Preventive & Corrective Actions

Weekly panel cleaning carried out in dusty zones.

Shading audit conducted across campus rooftops.

AMC vendor performed quarterly inverter calibration.

IoT smart meters deployed for real-time monitoring.

Energy dashboards integrated with IQAC evidence folders.

### 6. Action Taken Report (ATR) – Previous Month

Solar plant grid connectivity stabilized after load balancing.

Bi-annual thermographic inspection completed.

Composting pits linked to solar-powered pumps.

### 7. Recommendations

Increase cleaning frequency during summer & dust storms.

Upgrade older inverters to higher-efficiency models.

Train students in solar monitoring & sustainability projects.

Introduce performance ratio (PR) benchmarking to track efficiency.

Report renewable performance in NIRF, QS I·GAUGE, and Green Audit evidence.

### 8. Verification & Approval

Prepared By: __________________ (Facilities / Green Campus In-Charge)

Verified By: __________________ (IQAC Coordinator / CDC)

Approved By: __________________ (Registrar / Governing Body)

# 24. Details of Maintenance on Battery Backups & Inverters

## 1. Daily / Routine Checks

Visual inspection for physical damage, loose connections, or swelling in batteries.

Monitor input & output voltage of inverters/UPS.

Verify indicator lights (charging, battery health, fault) on display panels.

Record load percentage and ensure it does not exceed recommended levels.

Ensure inverter/UPS is kept in a dust-free, ventilated environment.

## 2. Weekly Maintenance

Check electrolyte levels (for lead-acid batteries).

Inspect cables, fuses, and terminals for corrosion or looseness.

Ensure proper earthing/grounding of UPS and battery systems.

Test transfer time (UPS switching to battery mode).

Confirm fans/cooling systems are operational.

## 3. Monthly Maintenance

Battery Testing:

Measure DC voltage & current of each battery.

Perform load test to check backup duration.

Monitor internal resistance/impedance values.

Inverter / UPS Testing:

Run inverter/UPS on full load for a short time to confirm backup performance.

Verify charging system is working correctly.

Cleaning:

Wipe dust from batteries, inverters, and fans.

Apply petroleum jelly on terminals to prevent corrosion.

Logbook update:

Record battery backup duration, recharge times, and any abnormalities.

## 4. Quarterly Maintenance

Perform deep discharge and recharge cycle test (if supported).

Calibrate inverter/UPS meters for accuracy.

Inspect rack/room ventilation system.

Check harmonic distortion levels if connected to sensitive lab equipment.

Update AMC service records with vendor certificates.

## 5. Annual Maintenance

Comprehensive health check-up of batteries using load banks or vendor-provided diagnostic tools.

Replace weak or aged batteries (typically 3–5 years lifespan).

Inspect PCB boards, capacitors, relays, and contactors inside UPS/inverter.

Review energy efficiency trends (kWh savings vs. grid dependence).

Validate compliance with ISO/IEC 27001 (IT security power backup) and AICTE/UGC infrastructure norms.

## 6. Event-Triggered Maintenance

Emergency inspection after power surges, outages, or lightning strikes.

Post-flood/rain checks for water seepage or short-circuit risks.

Vendor inspection if sudden drop in backup capacity occurs.

## 7. Documentation & Registers

Battery & Inverter Maintenance Register should record:

Date of inspection/servicing.

Voltage/current readings.

Backup time logged.

Issues identified.

Corrective actions taken.

AMC/vendor servicing details.

Attach service reports, invoices, and photos as audit evidence.

## 8. Accreditation & Standards Linkages

NAAC Criterion 4 & 7 → Reliable infrastructure & institutional values.

NBA Criterion 7 → Adequacy of lab/ICT technical support.

AICTE/UGC Norms → Mandated ICT-enabled infrastructure.

NIRF (TLR) → Continuous availability of teaching-learning resources.

QS I·GAUGE → ICT, Green Campus, and Infrastructure compliance.

ABET Criterion 7 → Adequacy, maintenance, and safety of facilities.

SDGs 7 & 9 → Affordable clean energy & resilient infrastructure.

### Battery Backup & Inverter Maintenance Register

| S. No. | Date | Location / Block | Equipment Type (UPS / Inverter / Battery Bank) | Make & Model | Capacity (KVA / AH) | Installed Date | Voltage Reading (V) | Current Reading (A) | Backup Duration (Minutes) | Cleaning Status (Yes/No) | Inspection Status (OK / Issue) | Issues Identified (Loose Wiring / Low Voltage / Fault Alarm / Corrosion) | Action Taken / Proposed | AMC / Vendor Service (Yes/No) | Next Scheduled Maintenance | Responsible Staff / Vendor | Verified By (Facilities / IQAC / CDC) | Evidence Reference (Photo / Report / Log ID) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Equipment Type → UPS, Inverter, Battery Bank.

Make & Model → Example: APC, Numeric, Luminous, Exide, Delta.

Capacity → KVA for inverters/UPS, AH for batteries.

Voltage/Current Reading → Daily/weekly logged values.

Backup Duration → Tested during inspections or outages.

Cleaning Status → Drop-down: Yes / No.

Inspection Status → Drop-down: OK / Issue.

Issues Identified → Corrosion, loose terminals, low electrolyte, fault codes.

Action Taken → Preventive maintenance, part replacement, vendor escalation.

AMC / Vendor Service → Drop-down: Yes / No (with reference).

Next Scheduled Maintenance → Date of upcoming inspection/service.

Evidence Reference → Service invoice, AMC certificate, inspection log, photo.

Sample Entries

| S. No. | Date | Location / Block | Equipment Type | Make & Model | Capacity | Installed Date | Voltage Reading | Current Reading | Backup Duration | Cleaning Status | Inspection Status | Issues Identified | Action Taken | AMC / Vendor Service | Next Scheduled Maintenance | Responsible Staff / Vendor | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Academic Block A | UPS | APC 10KVA | 10 KVA | 2022 | 230 V | 15 A | 25 mins | Yes | OK | None | – | No | 10-12-2025 | Facilities Staff | IQAC | Log/UPS/0905 | Normal operation |
| 2 | 06-09-2025 | Library | Battery Bank | Exide Tubular | 150 AH x 10 | 2021 | 12.8 V each | 10 A | 180 mins | Yes | Issue | 1 weak battery | Vendor notified | Yes | 20-09-2025 | Vendor – Exide AMC | CDC | AMC/2025/LIB01 | Replacement scheduled |
| 3 | 07-09-2025 | Hostel Block B | Inverter | Luminous 5KVA | 5 KVA | 2023 | 220 V | 12 A | 90 mins | No | Issue | Overheating alarm | Cooling fan replaced | Yes | 07-12-2025 | Facilities Dept. | IQAC | Photo/INV/0907 | Completed |
| 4 | 10-09-2025 | Research Lab | UPS | Delta Online | 20 KVA | 2022 | 240 V | 20 A | 60 mins | Yes | OK | None | – | No | 10-12-2025 | Facilities + AMC | Green Campus | Report/LAB/0910 | Stable |
| 5 | 12-09-2025 | Data Center | Battery Bank | Numeric VRLA | 200 AH x 12 | 2020 | 13 V each | 18 A | 240 mins | Yes | Issue | Corroded terminals | Cleaned & greased | Yes | 15-09-2025 | Vendor – Numeric AMC | IQAC | AMC/DC/2025/09 | Preventive action taken |

### Monthly Battery & Inverter Audit Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Facilities / IT Cell / AMC Vendor)

Reviewed By: ____________________________ (IQAC / CDC / Governing Body)

### 1. Executive Summary

Total UPS / Inverters Installed: _______

Total Battery Banks Installed: _______

Total Energy Backup Capacity: _______ KVA / AH

Average Backup Duration: _______ minutes

No. of Issues Reported: _______

No. of Issues Resolved: _______

Overall Compliance Rate: _______ %

Highlights:

Example: “Library UPS operated at 100% efficiency this month.”

Example: “Two faulty batteries replaced under AMC in Hostel Block B.”

Challenges:

Example: “Inverter downtime in Hostel C affected student services for 3 hours.”

Example: “AMC vendor delayed response for Research Lab UPS fault.”

### 2. Equipment Performance Summary

| Location / Block | Equipment Type (UPS / Inverter / Battery Bank) | Installed Capacity (KVA / AH) | Avg. Backup Duration (Minutes) | No. of Breakdowns | Downtime (Hours) | AMC Service Done (Yes/No) | Compliance Status (Yes/No/Partial) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Academic Block A | UPS | 10 KVA | 25 | 0 | 0 | Yes | Yes | Stable performance |
| Library | Battery Bank | 150 AH × 10 | 180 | 1 | 1.5 | Yes | Partial | Weak cell replaced |
| Hostel Block B | Inverter | 5 KVA | 90 | 2 | 3 | Yes | Partial | Overheating alarm logged |
| Research Lab | UPS | 20 KVA | 60 | 1 | 2 | No | No | AMC visit pending |
| Data Center | Battery Bank | 200 AH × 12 | 240 | 0 | 0 | Yes | Yes | Compliant |

### 3. Maintenance & AMC Activities

| Date | Location / Block | Activity (Cleaning / Testing / AMC / Repair) | Issues Found | Action Taken | Responsible Team / Vendor | Verified By | Evidence Reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 05-09-2025 | Hostel Block B | Cleaning & Inspection | Overheating | Fan replaced | Facilities Team | CDC | Photo/INV/0905 |
| 06-09-2025 | Library | AMC Testing | Weak battery | Battery replaced | Vendor – Exide AMC | IQAC | AMC/LIB/0906 |
| 08-09-2025 | Research Lab | Inspection | Low backup time | Pending | Facilities Dept. | IQAC | Log/LAB/0908 |
| 12-09-2025 | Data Center | Preventive AMC | None | – | Vendor – Numeric AMC | Green Campus | AMC/DC/0912 |

### 4. High-Priority Issues (Pending Resolution)

| Issue ID | Location / Block | Description | Impact | Responsible Team / Vendor | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BAT/2025/09/01 | Research Lab UPS | Backup dropped from 60 to 30 mins | Affects research servers | Facilities Dept. | AMC vendor notified | 18-09-2025 | Pending |
| BAT/2025/09/02 | Hostel Block B Inverter | Overheating alarm | Disrupts student services | Vendor – Luminous AMC | Fan replaced | 15-09-2025 | In Progress |

### 5. Preventive & Corrective Actions

Preventive Cleaning of all battery terminals completed.

Thermal scanning performed on UPS panels to detect overheating.

Electrolyte levels checked for all lead-acid batteries.

AMC vendors reminded to complete quarterly inspections.

Action Taken Reports (ATRs) logged in Facilities Compliance Register.

### 6. Action Taken Report (ATR) – Previous Month

Two UPS capacitors replaced in Academic Block A.

Battery Bank in Hostel Block B fully serviced under AMC.

Data Center UPS logs integrated into IoT dashboard for real-time monitoring.

### 7. Recommendations

Introduce real-time IoT-based monitoring for UPS/inverter health.

Increase frequency of AMC vendor visits in high-load areas (Data Centers, Labs).

Create spares inventory for critical UPS/inverter parts.

Link reports to NAAC/NBA evidence folders for accreditation audits.

Train facilities staff in first-level UPS fault management.

### 8. Verification & Approval

Prepared By: __________________ (Facilities Supervisor / IT Cell Head)

Verified By: __________________ (IQAC Coordinator / CDC)

Approved By: __________________ (Registrar / Governing Body)

# 25. Documentation & Record-Keeping Policy

## 1. Purpose

To establish a systematic framework for the creation, maintenance, retrieval, and disposal of institutional records.

To ensure compliance with regulatory, accreditation, and audit requirements.

To maintain transparency, accountability, and institutional memory.

## 2. Scope

Applies to all records maintained in the institution, including:

Academic Records → student admissions, attendance, examination records, results, degree awards, research publications.

Administrative Records → HR, payroll, recruitment, meeting minutes, MoUs, policy documents.

Financial Records → budgets, expenditure reports, AMC agreements, procurement logs.

IT & Digital Records → IT registers, server logs, ICT facilities, cybersecurity compliance.

Infrastructure & Maintenance Records → physical facilities, energy, waste, green campus, preventive maintenance registers.

Accreditation & Compliance Records → NAAC SSR, NBA SAR, NIRF data templates, IQAC reports, SDG mapping.

## 3. Policy Guidelines

### A. Record Creation

All departments must maintain standardized formats and templates (Registers, Reports, Audit Logs).

Records must be dated, signed, and verified by designated authority (HOD, Registrar, Dean, IQAC).

Electronic records should follow a standard naming convention and be stored in structured folders.

### B. Record Maintenance

Records shall be maintained in both digital and physical formats, wherever applicable.

Digital copies should be stored on secure servers/cloud with backup.

Physical files must be stored in fireproof, labeled cabinets in designated record rooms.

Registers (housekeeping, ICT, facilities, energy, AMC, solar, accreditation) must be updated regularly (daily/weekly/monthly).

### C. Access & Security

Records are classified as Confidential / Restricted / General.

Access rights will be role-based (faculty, staff, students, auditors).

Passwords and digital rights management (DRM) to secure electronic records.

Confidential records require written approval for access.

### D. Retention & Disposal

Academic records → retained permanently (admissions, results, degrees).

Financial records → retained for a minimum of 7 years (as per Income Tax/UGC rules).

HR records → retained for tenure of employment + 5 years.

IT & Maintenance records → retained for 3–5 years for audit readiness.

Disposal of outdated records should follow shredding (physical) or secure deletion (digital) protocols.

### E. Compliance & Audit

Annual Internal Audit of record-keeping by IQAC/Registrar.

Records must be aligned with:

NAAC Criterion 6 (Governance, Leadership & Management).

NBA Criterion 10 (Continuous Improvement & Record Evidence).

NIRF Data Submission (Academic, Research, Infrastructure).

UGC/AICTE Regulations on institutional data management.

ISO 9001:2015 & ISO 27001:2013 (Quality & Information Security).

## 4. Responsibilities

Registrar → Custodian of central institutional records.

HODs / Section Heads → Custodians of departmental records.

IQAC → Responsible for accreditation documentation, audits, and compliance reporting.

IT Cell → Secure storage, access control, backup of digital records.

Facilities Dept. → Maintenance of infrastructure & physical facility registers.

## 5. Monitoring & Review

Regular quarterly reviews by the Documentation Committee.

Non-compliance will be reported to the Registrar/IQAC.

Policy reviewed once every 3 years to ensure alignment with evolving accreditation and regulatory norms.

## 6. Accreditation & Standards Linkages

NAAC Criterion 6 & 7 → Governance, Management, Best Practices.

NBA Criterion 10 → Record-keeping as proof of continuous improvement.

NIRF → Documentation for annual data submission.

QS I·GAUGE → Governance, Digital Learning Environment, Infrastructure.

UGC/AICTE → Mandates on record maintenance.

ABET → Continuous improvement evidence through record-keeping.

SDGs 16 → Transparency, accountability, and strong institutions.

### Documentation & Record-Keeping Compliance Register

| S. No. | Department / Section | Record Type (Academic / Admin / Finance / IT / Facilities / Accreditation) | Record Name (e.g., Attendance Register, AMC Log, SSR Draft) | Format (Digital / Physical / Both) | Date Created | Last Updated | Frequency of Update (Daily / Weekly / Monthly / Quarterly / Annual) | Custodian (Faculty / Staff / Office) | Verified By (HOD / Registrar / IQAC / Finance Officer) | Compliance Status (Yes / No / Partial) | Evidence Reference (File Path / Register ID / Report No.) | Retention Period (Years) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Record Type → Academic (attendance, exams), Admin (HR, meetings), Finance (budgets, audits), IT (ICT logs, backups), Facilities (maintenance, housekeeping), Accreditation (NAAC, NBA, NIRF).

Format → Digital, Physical, or Both.

Frequency of Update → As per policy (daily for attendance, monthly for AMC, annually for audits).

Custodian → Person responsible for maintaining the record.

Verified By → Internal authority ensuring authenticity.

Compliance Status → Yes (compliant), No (not updated), Partial (incomplete).

Evidence Reference → File path, register ID, log book, photo, or audit report.

Retention Period → 3 years, 7 years, permanent, etc., based on type of record.

Sample Entries

| S. No. | Department / Section | Record Type | Record Name | Format | Date Created | Last Updated | Frequency of Update | Custodian | Verified By | Compliance Status | Evidence Reference | Retention Period | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Examination Cell | Academic | Student Attendance Register | Both | 01-07-2025 | 31-08-2025 | Daily | Faculty In-Charge | HOD | Yes | REG/ATT/2025/EXAM | 5 Years | Fully compliant |
| 2 | Finance | Finance | Annual Budget & Expenditure Report | Digital | 01-04-2025 | 31-08-2025 | Annual | Finance Officer | Registrar | Yes | FILE/FIN/BUD2025 | 7 Years | Audit-ready |
| 3 | IT Cell | IT | ICT Facility Audit Log | Digital | 01-01-2025 | 30-08-2025 | Monthly | System Admin | IQAC | Partial | LOG/ICT/0825 | 3 Years | Pending server backup proof |
| 4 | Facilities Dept. | Facilities | AMC Register (UPS, Solar, HVAC) | Both | 05-05-2025 | 05-09-2025 | Quarterly | Facilities Supervisor | CDC | Yes | AMC/2025/FAC | 3 Years | Vendor certificate attached |
| 5 | IQAC | Accreditation | NAAC SSR Draft – Criterion 4 | Digital | 15-06-2025 | 01-09-2025 | Annual | IQAC Coordinator | Principal | Yes | SSR/CR4/2025 | Permanent | Submitted to NAAC |
| 6 | Registrar Office | Admin | Governing Body Meeting Minutes | Both | 10-01-2025 | 10-08-2025 | Quarterly | Admin Officer | Registrar | Yes | MIN/GB/2025/Q2 | Permanent | Stored in record room |

# 26. Disaster Management & Emergency Response Policy

## 1. Purpose

To protect the lives of students, faculty, staff, and visitors during disasters and emergencies.

To safeguard institutional infrastructure, digital assets, and academic continuity.

To ensure compliance with national disaster management guidelines, higher education regulations, and accreditation frameworks.

## 2. Scope

Applies to:

Natural disasters (earthquakes, floods, cyclones, lightning, fire, pandemics).

Man-made hazards (chemical spills, lab accidents, electrical failures, IT cyberattacks).

Campus-specific emergencies (building collapse, riots, food contamination, accidents in playgrounds or hostels).

## 3. Policy Objectives

Establish an Emergency Response Framework with defined roles and responsibilities.

Develop Disaster Preparedness Plans (prevention, mitigation, training, drills).

Ensure continuity of academic, administrative, and IT services.

Minimize downtime and enable quick recovery.

## 4. Governance Structure

Disaster Management Committee (DMC) chaired by the Registrar / Principal.

Emergency Response Teams (ERTs) for fire safety, first aid, evacuation, and IT recovery.

Departmental Safety Coordinators to implement protocols at department level.

Liaison Officers to coordinate with local hospitals, police, fire services, and municipal authorities.

## 5. Preparedness Measures

Risk Assessment & Vulnerability Mapping of campus infrastructure.

Installation of fire extinguishers, smoke detectors, emergency alarms, and exit signage.

First Aid Kits & Medical Facilities available in each department, hostel, and playground.

Training & Mock Drills:

Fire evacuation drills (half-yearly).

Earthquake/cyclone response drills (annual).

Cybersecurity breach simulations (quarterly).

Emergency Communication Systems:

PA systems, SMS/email alerts, WhatsApp groups.

Emergency helpline numbers displayed across campus.

## 6. Response Protocols

Fire & Explosion: Activate alarms, evacuate, call fire department, use fire extinguishers.

Flooding / Water Leakage: Shut down electrical supply, relocate students/staff, inform municipal authorities.

Earthquake: Drop-Cover-Hold during tremors, assemble at designated safe zones.

Medical Emergencies: First aid, call campus health center/ambulance, record incident.

Cybersecurity Incident: Report to IT Cell, isolate affected systems, activate backup servers.

## 7. Recovery & Continuity

Academic Continuity: Shift to online classes (LMS/ERP) in case of physical disruption.

IT Recovery: Use cloud backups, alternate servers, and VPN-based access.

Infrastructure Recovery: Engineering department to conduct safety inspections and repairs.

Counseling & Rehabilitation: Student counseling, post-disaster stress management.

## 8. Documentation & Reporting

Maintain a Disaster Incident Register for all events.

Prepare an Action Taken Report (ATR) after each emergency.

Submit quarterly preparedness reports to IQAC and Governing Body.

Store digital evidence (photos, logs, reports) in compliance with NAAC/NBA audits.

## 9. Compliance & Accreditation Linkages

NAAC Criterion 4 & 7 → Safety, health, and institutional values.

NBA Criterion 7 → Facilities adequacy & safety preparedness.

UGC/AICTE Norms → Mandatory fire safety, health, and IT continuity measures.

NIRF (OI) → Inclusivity, student amenities, campus safety.

QS I·GAUGE → Safety, governance, and campus resilience metrics.

ISO 22301:2019 → Business Continuity & Disaster Preparedness standard.

SDGs 3, 11, 13 → Health, resilient campuses, climate action.

## 10. Responsibilities

Registrar / Principal → Head of Disaster Management.

DMC Members → Approve policies, monitor drills, allocate funds.

ERTs → Fire, medical, evacuation, IT security response.

HODs → Ensure departmental compliance.

Students & Staff → Actively participate in training and follow safety protocols.

### Disaster Management Compliance Register

| S. No. | Date | Department / Location | Disaster Type (Fire / Flood / Earthquake / Medical / Cyber / Other) | Activity Type (Drill / Actual Incident / Training / Inspection) | Description of Activity / Event | Issues Identified | Action Taken / Proposed | Responsible Officer / Team (ERT / DMC / Dept. Safety Coordinator) | Verified By (IQAC / Registrar / Governing Body) | Compliance Status (Yes / No / Partial) | Evidence Reference (Photos / Reports / Logs / Certificates) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Disaster Type → Fire, flood, earthquake, medical emergency, cybersecurity, or other.

Activity Type → Drill (mock drill), Actual Incident, Training, or Safety Inspection.

Description → Short summary of what was conducted/observed.

Issues Identified → Any gaps (slow evacuation, weak IT security, faulty fire extinguisher).

Action Taken / Proposed → Corrective/preventive action plan.

Responsible Officer / Team → Disaster Management Committee (DMC), Emergency Response Team (ERT), or departmental safety coordinator.

Compliance Status → Yes (compliant), No (non-compliant), Partial (improvements needed).

Evidence Reference → Attach photos, logs, vendor reports, certificates, action taken reports.

Sample Entries

| S. No. | Date | Department / Location | Disaster Type | Activity Type | Description | Issues Identified | Action Taken / Proposed | Responsible Officer / Team | Verified By | Compliance Status | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Academic Block A | Fire | Drill | Fire evacuation drill conducted with students and staff | Evacuation took 6 minutes (target 4) | Extra signage and stairwell training planned | Safety Coordinator + Fire ERT | IQAC | Partial | DrillReport/FIRE/0905 | Follow-up drill scheduled |
| 2 | 07-09-2025 | Library | Cybersecurity | Training | Awareness session on phishing & password safety | None | Regular quarterly sessions planned | IT Cell + ERT | Registrar | Yes | TRAIN/CYBER/0907 | 120 students attended |
| 3 | 10-09-2025 | Hostel Block B | Medical | Actual Incident | Student fainted due to dehydration | Delay in first aid response | More first aid kits placed in hostel | Hostel Warden + Medical Team | Governing Body | No | Incident/HostelB/0910 | Resolved |
| 4 | 12-09-2025 | Research Lab | Earthquake | Drill | Drop-Cover-Hold drill conducted | Some students moved before alarm | Safety posters to be installed | Lab Safety Officer | IQAC | Partial | Drill/LAB/0912 | Awareness training needed |
| 5 | 15-09-2025 | IT Block | Power/Server Outage | Actual Incident | Server down due to UPS fault | Backup not triggered automatically | UPS vendor called, preventive checks initiated | IT Cell | Registrar | Yes | Incident/IT/0915 | Linked to AMC log |

### Monthly Disaster Preparedness & Incident Report – [Month, Year]

Institution Name: ____________________________

Prepared By: ____________________________ (Disaster Management Committee / Facilities Dept.)

Reviewed By: ____________________________ (IQAC / Registrar / Governing Body)

### 1. Executive Summary

Total Drills Conducted: ________

Total Actual Incidents Recorded: ________

No. of Issues Resolved: ________

No. of Issues Pending: ________

Overall Compliance Rate: ________ %

Highlights:

Example: “Fire evacuation drill completed in 4 minutes in Academic Block A.”

Example: “Cybersecurity training held for 150 students.”

Challenges:

Example: “Delay in hostel medical response – corrective measures initiated.”

Example: “UPS backup failure in IT block under vendor resolution.”

### 2. Drill & Training Summary

| Date | Department / Location | Disaster Type (Fire / Earthquake / Flood / Cyber / Medical / Other) | Activity Type (Drill / Training) | No. of Participants | Issues Identified | Corrective Action Proposed | Compliance Status (Yes / No / Partial) | Evidence Reference (Photos / Reports / Certificates) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 05-09-2025 | Academic Block A | Fire | Drill | 80 | Evacuation took 6 min (target 4) | Add more exit signage | Partial | DrillReport/FIRE/0905 | Follow-up in Oct |
| 07-09-2025 | Library | Cybersecurity | Training | 150 | None | Quarterly refresher | Yes | TRAIN/CYBER/0907 | Good participation |

### 3. Incident Summary

| Date | Department / Location | Disaster Type | Incident Description | Response Time (Minutes) | Issues Identified | Corrective Action Taken | Responsible Team / Vendor | Verified By | Compliance Status | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10-09-2025 | Hostel Block B | Medical | Student fainted (dehydration) | 12 | First aid delay | First aid kits placed in hostel | Hostel Warden / Medical Officer | Governing Body | No | Incident/HostelB/0910 | Resolved |
| 12-09-2025 | Research Lab | Earthquake | Mock tremor drill – Drop-Cover-Hold | 2 | Some students moved early | Posters installed | Lab Safety Officer | IQAC | Partial | Drill/LAB/0912 | Awareness improved |

## 4. High-Priority Pending Issues

| Issue ID | Location / Block | Disaster Type | Issue Description | Impact | Responsible Officer / Team | Action Taken | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DM/2025/09/01 | Hostel Block B | Medical | First aid shortage | High (student safety risk) | Hostel Warden | Kits ordered | 20-09-2025 | Pending |
| DM/2025/09/02 | IT Block | Power / Cyber | UPS backup failed | High (server downtime risk) | IT Cell / AMC Vendor | Vendor notified | 18-09-2025 | In Progress |

## 5. Preventive & Corrective Actions Taken This Month

Additional fire extinguishers installed in classrooms and labs.

Cybersecurity awareness posters displayed across campus.

First aid training conducted for hostel wardens.

Emergency signage improved in main auditorium.

Disaster Preparedness Register updated with drill and incident logs.

## 6. Action Taken Report (ATR) – Previous Month

Flood risk inspection of basement completed, drainage cleared.

Fire hydrants serviced and refilled.

Earthquake evacuation drill improved response by 30% compared to last year.

## 7. Recommendations

Introduce QR code–based attendance for drills (track participation).

Deploy IoT-based fire and smoke detectors in hostels and labs.

Establish MoU with local hospital and fire department for quick response.

Include disaster preparedness in student induction programs.

Link evidence directly to NAAC/NBA/NIRF accreditation folders.

## 8. Verification & Approval

Prepared By: __________________ (Facilities / Disaster Management Coordinator)

Verified By: __________________ (IQAC Coordinator / Registrar)

Approved By: __________________ (Principal / Governing Body)

### Emergency Plan Register

| Serial No. | Emergency Plan No. | Emergency Plan Description | Equipment Serial | Equipment Quality | Execution Step Serial | Execution Step Description |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | FIRE-01 | Fire evacuation for Academic Block A | FE-101 | Good | 1 | Raise alarm and alert fire response team |
|  |  |  |  |  | 2 | Use fire extinguisher (CO₂) if fire is small |
|  |  |  |  |  | 3 | Evacuate all classrooms via Exit A |
|  |  |  |  |  | 4 | Assemble at Ground A and take attendance |
| 2 | MED-04 | First aid response in Hostel C | KIT-12 | Good | 1 | Call medical emergency number |
|  |  |  |  |  | 2 | Apply first aid from Hostel C kit |
|  |  |  |  |  | 3 | Escort patient to Health Center |

### Why This Matters for HEIs

Ensures emergency readiness and structured responses.

Provides audit evidence for NAAC (Criterion 4 & 7), NBA (Facilities & Safety), UGC/AICTE norms, QS I·GAUGE, ISO 22301, and SDGs 3 & 11.

Helps institutions map equipment readiness with emergency drills and incident reporting.

Links directly with Disaster Management Compliance Register and Action Taken Reports (ATRs).

# 27. Hazardous Materials Handling Policy

## 1. Purpose

To ensure the safe use, storage, transportation, and disposal of hazardous materials (chemical, biological, radioactive, electronic, biomedical).

To protect students, staff, faculty, and environment from risks associated with hazardous substances.

To comply with national regulations, environmental norms, and accreditation standards.

## 2. Scope

Applies to all departments, laboratories, workshops, hostels, and service facilities that handle:

| Hazard Type | Examples |
| --- | --- |
| Chemical hazards | acids, bases, solvents, reagents, compressed gases. |
| Biological hazards | microbial cultures, biomedical waste, sharps. |
| Electronic hazards | e-waste, batteries, UPS/inverter chemicals. |
| Radiological hazards | isotopes (where applicable). |
| Waste hazards | paints, oils, expired lab chemicals, fluorescent lamps. |

## 3. Policy Objectives

Minimize risks to health, safety, and environment.

Standardize storage, labeling, and handling procedures.

Ensure training and awareness among users.

Establish emergency response mechanisms.

Integrate hazardous waste management with Green Campus & Sustainability practices.

## 4. Guidelines for Handling

### A. Procurement & Inventory

Purchase only minimum required quantities.

Maintain a Hazardous Materials Inventory Register (type, quantity, expiry, storage location).

Prefer non-hazardous or green alternatives where possible.

### B. Storage

Store chemicals in designated ventilated rooms with fire protection.

Separate incompatible chemicals (e.g., acids vs. bases, oxidizers vs. flammables).

Label all containers with hazard class, expiry date, and responsible person.

Use secondary containment trays for liquids.

### C. Handling

Only trained personnel allowed to handle hazardous materials.

Mandatory use of PPE (gloves, goggles, aprons, respirators).

Follow Standard Operating Procedures (SOPs) for lab experiments.

Avoid eating, drinking, or using personal devices in hazardous areas.

### D. Disposal

Follow Bio-Medical Waste Rules, E-Waste Rules, Hazardous Waste Rules (Govt. of India).

Segregate waste → Sharps, Chemicals, Solvents, Biologicals, E-waste.

Use color-coded bins and labels.

Partner with authorized waste disposal vendors.

### E. Transportation

Hazardous waste to be transported in sealed containers with proper labeling.

Maintain Transport Log Register (date, material, qty, vendor, destination).

### F. Emergency Response

Spill kits available in all hazardous areas.

First aid kits and emergency showers/eye wash stations in labs.

Evacuation plan in case of fire, chemical leak, or explosion.

Incident reporting through Hazardous Incident Register.

## 5. Training & Awareness

Regular workshops for faculty, staff, and students on hazardous materials handling.

Emergency response drills (spills, fire, accidents).

Awareness posters/signage in labs and storage areas.

## 6. Responsibilities

| Role | Responsibility |
| --- | --- |
| Hazardous Materials Safety Committee (HMSC) | Oversees policy implementation. |
| Lab In-Charges / HODs | Ensure compliance in their areas. |
| Safety Officers | Monitor inventory, conduct inspections, maintain registers. |
| Students & Staff | Follow guidelines and report unsafe practices. |

## 7. Documentation

Hazardous Materials Inventory Register.

Hazardous Waste Disposal Register.

Incident & Spill Report Register.

Training & Safety Drill Records.

## 8. Compliance & Accreditation Linkages

| Framework | Linkage |
| --- | --- |
| NAAC Criterion 4 & 7 | Safe learning resources & institutional values. |
| NBA Criterion 7 | Adequacy of lab facilities & safety. |
| UGC/AICTE Norms | Mandatory lab and workshop safety. |
| NIRF (TLR & OI) | Infrastructure, inclusivity, sustainability. |
| QS I·GAUGE | Green campus & safety benchmarks. |
| ABET Criterion 7 | Facilities adequacy & safety. |
| ISO 14001 & ISO 45001 | Environmental & Occupational Safety Management. |
| SDGs 3, 6, 11, 12, 13 | Health, clean water, sustainable cities, responsible consumption, climate action. |

## 9. Review & Monitoring

Quarterly inspections of labs, stores, and workshops.

Annual Hazardous Materials Audit with compliance reporting.

Non-compliance reported to Registrar/IQAC.

Policy reviewed every 3 years for updates.

### Hazardous Materials Inventory & Disposal Register

| S. No. | Date | Department / Lab / Store | Material Name | Material Type (Chemical / Biological / E-Waste / Radioactive / Other) | Quantity Received | Quantity Used | Balance Stock | Storage Location | Hazard Class (Flammable / Corrosive / Toxic / Reactive / Biohazard) | Expiry Date | Disposal Date | Disposal Method (Authorized Vendor / Neutralization / Incineration / Recycling) | Disposal Authorization (HOD / Safety Officer / Vendor) | Responsible Person | Verified By (Safety Committee / IQAC / Green Campus) | Evidence Reference (Invoice / Disposal Certificate / Photo) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Material Type | Classify into Chemical, Biological, E-Waste, Radioactive, or Other. |
| Hazard Class | As per Globally Harmonized System (GHS) (flammable, corrosive, toxic, biohazard, etc.). |
| Storage Location | Specify cabinet, cold room, fume hood, e-waste bin, hazardous storage area. |
| Disposal Method | Options: Authorized Vendor, Neutralization, Incineration, Autoclaving, Recycling. |
| Disposal Authorization | Approval from HOD, Safety Officer, or Hazardous Waste Vendor. |
| Evidence Reference | Link invoice, disposal certificate, lab record, or photograph. |

Sample Entries

| S. No. | Date | Department / Lab | Material Name | Material Type | Quantity Received | Quantity Used | Balance Stock | Storage Location | Hazard Class | Expiry Date | Disposal Date | Disposal Method | Disposal Authorization | Responsible Person | Verified By | Evidence Reference | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 01-09-2025 | Chemistry Lab | Sulphuric Acid | Chemical | 20 L | 10 L | 10 L | Acid Storage Cabinet | Corrosive | 01-09-2027 | – | – | – | Lab Technician | HOD – Chemistry | INV/CHEM/0901 | In stock |
| 2 | 03-09-2025 | Biology Lab | Bacterial Culture Media | Biological | 5 kg | 3 kg | 2 kg | Cold Room – BL2 | Biohazard | 01-03-2026 | – | – | – | Lab Assistant | Safety Officer | INV/BIO/0903 | To be autoclaved before disposal |
| 3 | 05-09-2025 | IT Block | UPS Batteries | E-Waste | 10 Nos | – | 10 Nos | E-Waste Room | Toxic | – | 10-09-2025 | Recycling – Authorized Vendor | Registrar | IT Cell In-Charge | Green Campus Committee | DIS/EW/0910 | Vendor certificate attached |
| 4 | 06-09-2025 | Physics Lab | Lead Nitrate | Chemical | 2 kg | 1.5 kg | 0.5 kg | Locked Chemical Store | Toxic | 01-09-2026 | 08-09-2025 | Neutralization in Waste Treatment Unit | HOD – Physics | Lab Technician | IQAC | INV/PHYS/0906 | Safe disposal done |

### Monthly Hazardous Waste Audit Report – [Month, Year]

Institution Name: ___________________________

Prepared By: ___________________________ (Safety Officer / Facilities Dept.)

Reviewed By: ___________________________ (IQAC / Green Campus Committee / Registrar)

## 1. Executive Summary

Total Hazardous Waste Generated: _______ kg / L / units

Total Waste Safely Disposed: _______ kg / L / units

Pending Disposal (Carryover Stock): _______ kg / L / units

Overall Compliance Rate: _______ %

Highlights:

Example: “100% safe disposal of expired lab chemicals in Chemistry Block.”

Example: “10 UPS batteries recycled through authorized vendor.”

Challenges:

Example: “Delay in biomedical waste vendor collection from Biology Lab.”

Example: “Expired solvents stored in Lab B pending disposal approval.”

## 2. Waste Generation & Disposal Summary

| S. No. | Department / Lab | Material Type (Chemical / Biological / E-Waste / Radioactive / Other) | Material Name | Quantity Generated | Disposal Date | Disposal Method (Vendor / Incineration / Neutralization / Autoclave / Recycling) | Disposal Authorization (HOD / Safety Officer / Vendor) | Compliance Status (Yes / No / Partial) | Evidence Reference (Invoice / Certificate / Photo) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Chemistry Lab | Chemical | Sulphuric Acid (Expired) | 5 L | 05-09-2025 | Neutralization in Waste Treatment Unit | HOD – Chemistry | Yes | CERT/CHEM/0905 | Fully disposed |
| 2 | Biology Lab | Biological | Bacterial Culture Media | 10 kg | 07-09-2025 | Autoclaving & Incineration | Safety Officer + Vendor | Yes | CERT/BIO/0907 | Biohazard waste removed |
| 3 | IT Block | E-Waste | UPS Batteries | 12 Nos | 10-09-2025 | Recycling – Authorized Vendor | Registrar | Yes | CERT/EW/0910 | Vendor certificate attached |
| 4 | Physics Lab | Chemical | Lead Nitrate (Expired) | 2 kg | Pending | Awaiting vendor collection | HOD – Physics | Partial | LOG/PHYS/0912 | Delay in vendor pickup |
| 5 | Hostel Block | Other | Fluorescent Tubes | 20 units | 12-09-2025 | E-Waste Recycling Vendor | Facilities Dept. | Yes | CERT/HOST/0912 | Safe disposal complete |

## 3. Department-Wise Compliance

| Department | Waste Generated (kg/L/units) | Waste Disposed (kg/L/units) | Compliance % | Remarks |
| --- | --- | --- | --- | --- |
| Chemistry Lab | 15 L | 15 L | 100% | All expired solvents neutralized |
| Biology Lab | 12 kg | 10 kg | 85% | 2 kg pending due to delayed collection |
| IT Block | 12 Nos | 12 Nos | 100% | UPS batteries recycled |
| Hostel Block | 20 Units | 20 Units | 100% | Fluorescent tubes recycled |
| Physics Lab | 4 kg | 2 kg | 50% | Disposal pending for 2 kg |

## 4. High-Priority Pending Issues

| Issue ID | Department / Lab | Material | Issue Description | Risk Level (Low/Medium/High) | Responsible Officer | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HZ/2025/09/01 | Physics Lab | Lead Nitrate | Vendor delay in collection | High | Safety Officer | 20-09-2025 | Pending |
| HZ/2025/09/02 | Biology Lab | Biohazard Waste | Storage reaching capacity | Medium | Lab In-Charge | 15-09-2025 | In Progress |

## 5. Preventive & Corrective Actions Taken

Hazardous materials inventory updated weekly.

Spill kits and PPE issued to Chemistry and Biology Labs.

Vendor contracts reviewed for timely pickups.

Awareness workshop on hazardous waste segregation conducted.

Green Campus Committee monitoring disposal activities.

## 6. Action Taken Report (ATR) – Previous Month

E-waste bins placed in IT Block & Hostel corridors.

Biomedical waste vendor replaced due to delays.

Expired solvents disposal process improved with neutralization tanks.

## 7. Recommendations

Introduce IoT/barcode tracking of hazardous waste bins.

Strengthen MoUs with authorized disposal vendors.

Increase frequency of audits from quarterly to monthly for high-risk labs.

Link hazardous waste reports to NAAC/NBA/Green Audit evidence folders.

## 8. Verification & Approval

Prepared By: __________________ (Safety Officer / Facilities Manager)

Verified By: __________________ (IQAC / Green Campus Committee)

Approved By: __________________ (Registrar / Governing Body)

### Unsafe & Hazardous Locations – Safety Register

| Serial No. | Location Description | Description of Possible Hazards | Precautions to be Taken | Safety Instructions (Posted / Communicated) | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Location Description | Exact area (Chemistry Lab, Substation, Workshop, Hostel Kitchen, Playground). |
| Description of Possible Hazards | Fire, chemical spill, high voltage, slippery surface, biological risk. |
| Precautions to be Taken | Engineering controls, PPE, restricted access, ventilation, CCTV monitoring. |
| Safety Instructions | Displayed warnings, Do’s & Don’ts, emergency numbers, evacuation signs. |
| Responsible Officer / Dept. | Lab In-Charge, Facilities Manager, Safety Officer. |
| Verified By | IQAC, Safety Committee, Registrar. |
| Remarks | Notes on inspections, corrective actions, repeat issues. |

Sample Entries

| Serial No. | Location Description | Description of Possible Hazards | Precautions to be Taken | Safety Instructions (Posted / Communicated) | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Chemistry Lab – Block A | Risk of acid/solvent spill, fire hazard | Store chemicals in ventilated cabinets, install fume hoods, PPE compulsory | “No open flames, PPE mandatory, wash station available” | HOD – Chemistry | Safety Officer | Monthly checks done |
| 2 | Substation (Main Power House) | High voltage electrocution, arc-flash risk | Restricted entry, insulated gloves, periodic maintenance | “Authorized Personnel Only, Danger 11kV” signage | Electrical Engineer | IQAC | Annual audit pending |
| 3 | Hostel Kitchen – Block C | LPG leakage, fire hazard | Gas leak detectors, regular pipe inspection, fire extinguisher nearby | “Switch off gas after use, emergency contact 101 displayed” | Hostel Warden | Facilities Manager | Fire drill scheduled |
| 4 | Biology Lab – Block B | Exposure to infectious samples | Biohazard symbol posted, autoclave sterilization, waste segregation | “Biohazard Area – Authorized Staff Only, PPE required” | Lab Technician | Safety Officer | Vendor collection delayed |
| 5 | Playground – Football Field | Risk of injuries, slippery in monsoon | Regular turf inspection, first aid kit, trained sports officer | “Use sports shoes, first aid available in Sports Office” | Sports In-Charge | HOD – Physical Education | Drainage improvement ongoing |
| 6 | Data Center – IT Block | Risk of overheating, UPS battery hazards | Install HVAC, fire suppression system, battery storage compliance | “Restricted Access, Fire Suppression Auto Mode” | IT Cell In-Charge | Registrar |  |

### Due Diligence Register – Environmental, Hazardous Waste & Chemicals

| Due Diligence Number | Due Diligence Date | Type of Due Diligence (Environmental / Hazardous Waste / Chemical Use / Safety) | Finding Serial | Finding Description | Responsible Person / Dept. for Corrections | Target Resolution Date | Status (Open / In Progress / Closed) | Verified By (Safety Officer / IQAC / Green Campus Cell) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Due Diligence Number | Unique ID for tracking (e.g., DD/ENV/2025/01). |
| Due Diligence Date | Date when the check/review was carried out. |
| Type of Due Diligence | Environmental compliance, hazardous waste audit, chemical usage inspection, safety audit. |
| Finding Serial | ID of the finding linked to the due diligence. |
| Finding Description | Issues/observations (e.g., Improper e-waste segregation, expired lab chemicals). |
| Responsible Person / Dept. | Assigned officer/department to fix (Lab In-Charge, Facilities, Hostel Warden). |
| Target Resolution Date | Deadline to correct the issue. |
| Status | Open / In Progress / Closed. |
| Verified By | Who checked the corrective action (Safety Officer, Registrar, IQAC, Green Campus Cell). |
| Remarks | Notes, follow-up actions, vendor engagement. |

Sample Entries

| Due Diligence Number | Due Diligence Date | Type of Due Diligence | Finding Serial | Finding Description | Responsible Person / Dept. | Target Resolution Date | Status | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DD/ENV/2025/01 | 05-07-2025 | Environmental Audit | ENV-001 | Rainwater harvesting tank needs cleaning | Facilities Dept. | 15-07-2025 | Closed | Green Campus Cell | Cleaning completed |
| DD/HW/2025/02 | 12-07-2025 | Hazardous Waste Disposal | HW-003 | Expired chemicals in Chemistry Lab not segregated properly | Lab In-Charge | 20-07-2025 | In Progress | Safety Officer | Vendor empanelled for collection |
| DD/CHEM/2025/03 | 18-07-2025 | Chemical Substance Audit | CHEM-005 | Improper storage of solvents in Research Lab | Research Supervisor | 30-07-2025 | Open | IQAC | Flammable cabinet procurement pending |
| DD/EW/2025/04 | 01-08-2025 | E-Waste Management | EW-007 | Old CPUs stored without tagging in IT Block | IT Cell | 15-08-2025 | Closed | Registrar | Handover to e-waste recycler done |
| DD/ENV/2025/05 | 10-08-2025 | Environmental Protection | ENV-009 | Excess water usage in Hostel Block B | Hostel Warden | 20-08-2025 | In Progress | Green Campus Cell | Awareness drive initiated |

# 28. Water & Wastewater Management Policy

## 1. Purpose

To ensure efficient, sustainable, and safe management of water resources within the University.

To minimize water wastage, promote reuse/recycling, and ensure safe disposal of wastewater.

To align campus practices with national regulations, accreditation standards, and sustainability goals.

## 2. Scope

Applicable to:

Academic facilities (labs, classrooms, libraries, research centers).

Student amenities (hostels, canteens, sports complexes, health centers).

Administrative facilities (departments, offices, exam cells).

Utilities (water tanks, RO plants, sewage treatment plants, rainwater harvesting).

Community services (landscaping, irrigation, outreach).

## 3. Objectives

Ensure equitable access to potable water for students, faculty, and staff.

Reduce water consumption per capita through conservation measures.

Treat, recycle, and reuse wastewater for landscaping, flushing, and cooling systems.

Prevent contamination and pollution of groundwater and nearby water bodies.

Integrate smart water metering and IoT monitoring for efficient tracking.

## 4. Policy Guidelines

### A. Water Supply & Conservation

Maintain water meters in all major buildings for consumption monitoring.

Promote rainwater harvesting across academic and hostel blocks.

Install low-flow faucets, dual-flush toilets, and sensor taps to reduce wastage.

Encourage water audits annually to benchmark usage and losses.

### B. Drinking Water

Provide RO purified / treated drinking water in all academic and hostel areas.

Regularly monitor water quality (pH, TDS, microbial analysis).

Maintain a Drinking Water Quality Register for NAAC/NBA evidence.

### C. Wastewater Management

All wastewater routed through Sewage Treatment Plants (STPs).

Treated water reused for gardening, flushing, cooling towers.

Labs and workshops must segregate chemical wastewater and neutralize before disposal.

Biomedical wastewater disposed as per Bio-Medical Waste Rules.

### D. Rainwater & Stormwater

Install rainwater harvesting pits in academic, hostel, and sports blocks.

Prevent stormwater run-off from mixing with sewage lines.

### E. Monitoring & Technology

Deploy IoT sensors for flow, leakage detection, and quality monitoring.

Integrate SCADA systems for centralized water usage control.

### F. Awareness & Training

Conduct water conservation workshops for students and staff.

Promote “Save Water Campaigns” during NAAC/NIRF events.

Display posters on water-saving tips across campus.

### G. Emergency Measures

Maintain backup water supply through storage tanks & borewells.

Create contingency plan for municipal supply disruptions.

Regularly inspect pumps, pipelines, and tanks to avoid breakdowns.

## 5. Roles & Responsibilities

Water & Wastewater Management Committee (WWMC): Oversees policy implementation.

Facilities / Engineering Department: Maintenance of supply lines, pumps, and STPs.

Green Campus Cell: Drives sustainability measures and awareness campaigns.

Hostel Wardens / HODs: Ensure departmental-level compliance.

Students & Staff: Follow responsible usage practices.

## 6. Documentation

Water Consumption Register – Monthly consumption by block/hostel.

Wastewater Treatment Register – Treated vs. reused vs. discharged.

Water Quality Reports – Quarterly lab test reports.

Water Stoppage Register – Incidents and corrective measures.

Green Audit Reports – Annual sustainability assessment.

## 7. Compliance & Accreditation Linkages

| Framework | Linkage |
| --- | --- |
| NAAC Criterion 4 & 7 | Infrastructure, Green Campus, Best Practices. |
| NBA Criterion 7 | Facilities adequacy, sustainability compliance. |
| UGC/AICTE Norms | Mandatory water safety and STP facilities. |
| NIRF (OI) | Green initiatives & inclusivity. |
| QS I·GAUGE | Water management under Green Campus framework. |
| ISO 14001 & ISO 46001 | Environmental & water efficiency management. |
| SDGs 6, 11, 12, 13 | Clean water, sustainable campuses, responsible consumption, climate action. |

## 8. Review & Monitoring

Monthly water audit reports submitted to IQAC/Registrar.

Quarterly wastewater quality monitoring by external agencies.

Annual Green Audit to include water sustainability metrics.

Policy to be reviewed every 3 years to integrate new technologies & standards.

### Water & Wastewater Compliance Register

| S. No. | Date / Month-Year | Location (Block / Hostel / Lab / Facility) | Water Consumed (kL) | Wastewater Generated (kL) | Wastewater Treated (kL) | Wastewater Reused (kL) | Wastewater Discharged (kL) | Compliance Status (Yes / No / Partial) | Water Quality Test Report Reference | Responsible Officer / Dept. | Verified By (Facilities / Green Campus Cell / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Water Consumed (kL) | Total water usage recorded from meters. |
| Wastewater Generated (kL) | Estimated/actual wastewater output. |
| Wastewater Treated (kL) | Quantity treated in STPs/ETPs (Sewage/Effluent Treatment Plants). |
| Wastewater Reused (kL) | Amount reused for flushing, gardening, cooling towers, labs. |
| Wastewater Discharged (kL) | Balance discharged safely (if not reused). |
| Compliance Status | Whether disposal and reuse followed regulations (Yes/No/Partial). |
| Water Quality Test Reference | Lab test results for drinking water or treated wastewater. |
| Responsible Officer / Dept. | Facilities Manager, Hostel Warden, Lab In-Charge. |
| Verified By | Green Campus Cell, Safety Officer, Registrar/IQAC. |
| Remarks | Notes on reuse efficiency, pending maintenance, or upcoming audits. |

Sample Entries

| S. No. | Date / Month-Year | Location | Water Consumed (kL) | Wastewater Generated (kL) | Wastewater Treated (kL) | Wastewater Reused (kL) | Wastewater Discharged (kL) | Compliance Status | Water Quality Test Reference | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Aug-2025 | Academic Block A | 1,200 | 1,000 | 900 | 600 | 300 | Yes | WQ/ACA/0825 | Facilities Engineer | Green Campus Cell | Reuse in gardens & toilets |
| 2 | Aug-2025 | Hostel Block B | 950 | 800 | 750 | 500 | 250 | Partial | WQ/HOST/0825 | Hostel Warden | Registrar | Need to increase reuse % |
| 3 | Aug-2025 | Biology Lab | 150 | 100 | 100 (neutralized) | 50 | 50 | Yes | WQ/BIO/0825 | Lab In-Charge | Safety Officer | Biomedical waste handled separately |
| 4 | Aug-2025 | Canteen & Mess | 600 | 500 | 450 | 300 | 150 | Yes | WQ/MESS/0825 | Canteen In-Charge | IQAC | Used for flushing & cooling |
| 5 | Aug-2025 | Sports Complex | 300 | 250 | 200 | 150 | 50 | Yes | WQ/SPORTS/0825 | Sports Facilities Manager | Green Audit Team | Reuse in irrigation |

### Monthly Water & Wastewater Audit Report – [Month, Year]

Institution Name: ___________________________

Prepared By: ___________________________ (Facilities / Green Campus Cell)

Reviewed By: ___________________________ (Registrar / IQAC / Governing Body)

## 1. Executive Summary

Total Water Consumed: _______ kL

Total Wastewater Generated: _______ kL

Total Wastewater Treated: _______ kL

Total Wastewater Reused: _______ kL

Total Wastewater Discharged: _______ kL

Overall Reuse Efficiency: _______ %

Overall Compliance Rate: _______ %

Highlights:

Example: “85% of treated wastewater reused for gardening and flushing.”

Example: “Hostel Block B consumption reduced by 12% compared to previous month.”

Challenges:

Example: “Delay in vendor collection of biomedical wastewater.”

Example: “Low reuse efficiency in Lab Block due to chemical contamination.”

## 2. Water Consumption & Wastewater Summary

| Location (Block / Hostel / Facility) | Water Consumed (kL) | Wastewater Generated (kL) | Wastewater Treated (kL) | Wastewater Reused (kL) | Wastewater Discharged (kL) | Reuse % | Compliance Status (Yes / No / Partial) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Academic Block A | 1,200 | 1,000 | 900 | 600 | 300 | 67% | Yes | Used for gardens & toilets |
| Hostel Block B | 950 | 800 | 750 | 500 | 250 | 67% | Partial | Need to increase reuse % |
| Biology Lab | 150 | 100 | 100 | 50 | 50 | 50% | Yes | Neutralized chemical wastewater |
| Canteen & Mess | 600 | 500 | 450 | 300 | 150 | 67% | Yes | Used for flushing & cooling |
| Sports Complex | 300 | 250 | 200 | 150 | 50 | 75% | Yes | Used for irrigation |

## 3. Comparative Analysis (Month vs. Previous Month)

| Parameter | Previous Month | Current Month | % Change |
| --- | --- | --- | --- |
| Total Water Consumed (kL) | ______ | ______ | ______% |
| Total Wastewater Generated (kL) | ______ | ______ | ______% |
| Total Wastewater Reused (kL) | ______ | ______ | ______% |
| Overall Reuse Efficiency (%) | ______ | ______ | ______% |

## 4. High-Priority Issues & Corrective Actions

| Issue ID | Location | Problem Identified | Risk Level (Low/Medium/High) | Corrective Action Taken / Proposed | Responsible Officer | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| WWM/2025/09/01 | Hostel Block B | Low reuse efficiency | Medium | Install greywater recycling unit | Facilities Manager | 20-09-2025 | In Progress |
| WWM/2025/09/02 | Biology Lab | Vendor delay in hazardous wastewater disposal | High | New vendor empaneled | Lab In-Charge | 15-09-2025 | Completed |

## 5. Preventive & Corrective Measures Taken

Regular water meter calibration done in all hostels.

Dual-flush systems installed in 50% of washrooms.

Rainwater harvesting tanks cleaned before monsoon.

STP sludge disposal done as per PCB norms.

Awareness drive: “Save Water – Every Drop Counts.”

## 6. Action Taken Report (ATR) – Previous Month

Leakage in Hostel Block A pipeline fixed – saving ~200 kL/month.

Additional sensors installed in STP for real-time monitoring.

Canteen switched to low-flow dishwash spray nozzles.

## 7. Recommendations

Introduce IoT-based water monitoring system across campus.

Increase treated water reuse from 70% → 90% in next 6 months.

Expand rainwater harvesting to cover Sports Complex roof.

Integrate Water & Wastewater Dashboard into ERP for IQAC evidence.

## 8. Verification & Approval

Prepared By: __________________ (Facilities Engineer / Green Campus Coordinator)

Verified By: __________________ (IQAC Coordinator / Safety Officer)

Approved By: __________________ (Registrar / Governing Body)

### Water Stoppage Register – [Year XXXX–YY]

| Serial No. | Date of Stoppage | Location (Block / Hostel / Lab / Canteen / Sports Complex) | Reason for Stoppage (Planned / Unplanned) | Duration (Hours / Minutes) | Description of Impact (Students / Staff / Facilities) | Corrective Actions Taken | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Date of Stoppage | When the water outage occurred. |
| Location | Block, hostel, lab, library, canteen, sports facilities. |
| Reason for Stoppage | Planned (maintenance, tank cleaning, pipeline inspection) or Unplanned (pump failure, leakage, municipal supply issue). |
| Duration | Total downtime in hours/minutes. |
| Description of Impact | Who/what was affected (hostel bathrooms, canteen food prep, lab experiments). |
| Corrective Actions Taken | Immediate solutions (repair, alternative water tanker, pump replacement). |
| Responsible Officer / Dept. | Facilities Manager, Hostel Warden, Engineering Dept. |
| Verified By | Registrar, Safety Committee, IQAC. |
| Remarks | Notes on preventive measures, follow-ups, or recurring issues. |

Sample Entries

| Serial No. | Date of Stoppage | Location | Reason for Stoppage | Duration | Description of Impact | Corrective Actions Taken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 03-08-2025 | Hostel Block A | Pump failure (Unplanned) | 4 hrs | Students faced shortage in washrooms | Pump repaired, temporary tanker water supplied | Hostel Warden | Facilities Head | Preventive pump servicing scheduled |
| 2 | 10-08-2025 | Canteen & Mess | Tank cleaning (Planned) | 2 hrs | Delay in cooking and cleaning activities | Advance notice given, backup tank used | Canteen In-Charge | Registrar | No major complaints |
| 3 | 15-08-2025 | Lab Block B | Municipal supply disruption (Unplanned) | 6 hrs | Lab experiments delayed | Water supplied via storage tanks | Facilities Engineer | IQAC | Contacted municipal board |
| 4 | 20-08-2025 | Sports Complex | Pipe leakage (Unplanned) | 3 hrs | Players had no water in showers | Pipe repaired, supply restored | Sports In-Charge | Safety Officer | Monitoring pipes monthly |
| 5 | 25-08-2025 | Academic Block C | Preventive inspection (Planned) | 1 hr | Minimal disruption to classrooms | Advance notice issued | Engineering Dept. |  |  |

### Bore Well & Pumping System Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Bore Well Serial | Type of Maintenance (Preventive / Corrective / AMC / Emergency) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer / Dept. | Verified By (Facilities / Estate Office / Green Campus Cell / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record for bore well & pump maintenance. |
| MS Number | Maintenance schedule ID (e.g., MS/BW/2025/01). |
| Bore Well Serial | Unique ID of the bore well. |
| Type of Maintenance | Preventive (routine), Corrective (repairs), AMC (contract), Emergency (unexpected breakdown). |
| Date of Maintenance Scheduled | Planned schedule date. |
| Description of Maintenance | Specific work (e.g., motor rewinding, pump alignment, desilting, water quality test). |
| Estimated Cost of Maintenance (₹) | Budget projection. |
| Date of Maintenance Undertaken | Actual execution date. |
| Responsible Officer / Dept. | Facilities Manager, Civil Engineer, Water Plant Supervisor. |
| Verified By | Registrar, IQAC, Green Campus Committee, or Estate Office. |
| Remarks | Notes on water quality, vendor contracts, delays, or follow-up work. |

Sample Entries

| Serial Number | MS Number | Bore Well Serial | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/BW/2025/01 | BW-01 | Preventive | 05-07-2025 | Desilting & cleaning of bore well near Block A | 15,000 | 06-07-2025 | Civil Engineer | Estate Office | Completed successfully |
| 2 | MS/BW/2025/02 | BW-02 | Corrective | 10-07-2025 | Motor rewinding & replacement of pump bearings | 18,500 | 12-07-2025 | Water Plant Supervisor | Registrar | Vendor warranty applied |
| 3 | MS/BW/2025/03 | BW-03 | AMC | 15-07-2025 | Quarterly servicing of submersible pump | 8,000 | 15-07-2025 | AMC Vendor | IQAC | AMC certificate attached |
| 4 | MS/BW/2025/04 | BW-04 | Preventive | 20-07-2025 | Water quality testing & chlorination | 3,500 | 21-07-2025 | Facilities Dept. | Green Campus Cell | Safe for drinking |
| 5 | MS/BW/2025/05 | BW-02 | Emergency | 25-07-2025 | Repair of sudden pump breakdown (Hostel supply issue) | 20,000 | 25-07-2025 | Electrical Supervisor | Registrar | Restored water supply in 1 day |

# 29. Vendor & Contractor Accountability Policy

## 1. Purpose

To establish a framework of accountability and transparency for all vendors and contractors working with the University.

To ensure timely, quality, and compliant services in alignment with the University’s vision, sustainability goals, and accreditation requirements.

To reduce risks of financial mismanagement, safety violations, and environmental non-compliance.

## 2. Scope

Applies to all vendors and contractors engaged for:

Civil works (construction, maintenance, renovation).

Electrical, water, HVAC, and ICT infrastructure.

Housekeeping, catering, and transport services.

IT/software, hardware, and digital services.

Outsourced manpower, security, and AMC (Annual Maintenance Contracts).

## 3. Policy Objectives

Promote fair vendor selection through transparent procurement and tendering.

Ensure quality assurance and adherence to standards (safety, green campus, ISO).

Establish responsibility for delays, damages, and non-compliance.

Strengthen documentation and record-keeping for audits and accreditation.

Encourage vendors to adopt sustainable and ethical practices.

## 4. Guidelines

### A. Vendor Selection & Onboarding

Follow transparent tendering/procurement process as per government/HEI rules.

Conduct due diligence (past performance, certifications, references).

Maintain a Vendor Master Register with details (PAN, GST, ISO, compliance records).

Mandate signing of a Vendor Code of Conduct covering ethics, labor laws, safety, and environment.

### B. Contracts & Agreements

All contracts must:

Define scope, deliverables, timelines, penalties.

Include safety, environmental, and legal compliance clauses.

Mandate reporting requirements (weekly/monthly status updates).

Maintain Contract Compliance Register for monitoring.

### C. Performance Monitoring

Use Key Performance Indicators (KPIs) for evaluation:

Timeliness of delivery.

Quality of work/service.

Cost adherence.

Safety compliance (PPE, incident-free work).

Environmental compliance (waste disposal, use of eco-friendly materials).

Conduct quarterly vendor performance reviews.

Record findings in Vendor Evaluation Reports.

### D. Accountability & Penalties

Vendors will be held accountable for:

Delays in delivery or project execution.

Non-compliance with safety/environmental norms.

Poor workmanship or substandard material use.

Penalties may include:

Deduction of payment.

Blacklisting from future contracts.

Reporting to statutory authorities (if legal violation occurs).

### E. Documentation & Reporting

Maintain the following registers:

Vendor Master Register – approved vendors with credentials.

Contract Compliance Register – contract details, scope, and monitoring.

Vendor Performance Register – KPIs and periodic evaluation.

Incident/Non-Compliance Register – safety, quality, or environmental violations.

All documents to be digitally stored for IQAC/NAAC/NBA/NIRF evidence.

### F. Sustainability & Green Campus Alignment

Preference given to vendors using eco-friendly materials, renewable energy, and waste management practices.

Contractors must align with the University’s Green Campus Policy, Waste Management Policy, and Energy Management Policy.

## 5. Roles & Responsibilities

| Role | Responsibility |
| --- | --- |
| Registrar / Finance Officer | Vendor approval & payments. |
| Engineering Dept. / IT Cell / Facilities | Technical evaluation of works. |
| Green Campus Cell | Sustainability compliance verification. |
| IQAC | Monitoring vendor accountability evidence for accreditation. |
| Vendors / Contractors | Deliver services as per contract, with compliance to laws and university policies. |

## 6. Compliance & Accreditation Linkages

| Framework | Linkage |
| --- | --- |
| NAAC Criterion 6 & 7 | Governance, institutional values, transparency. |
| NBA Criterion 7 | Facilities, maintenance, and compliance processes. |
| UGC/AICTE Norms | Vendor accountability in procurement and contracts. |
| NIRF (OI) | Governance and institutional transparency. |
| QS I·GAUGE | Governance & Sustainability criteria. |
| ISO 9001, 14001, 45001 | Quality, Environmental, and Occupational Health & Safety Management. |
| SDGs 8, 9, 11, 12 | Decent work, resilient infrastructure, sustainable cities, responsible consumption. |

## 7. Review & Monitoring

Policy reviewed annually by the Vendor & Contractor Review Committee.

Audit reports submitted to Governing Body and IQAC.

Non-compliance cases escalated to Registrar / Principal for action.

### Vendor Accountability Compliance Register

| S. No. | Vendor / Contractor Name | Type of Service (Construction / AMC / IT / Housekeeping / Catering / Security / Other) | Contract / PO No. & Date | Scope of Work / Deliverables | Contract Value (₹) | Compliance Status (Yes / No / Partial) | Performance Rating (Excellent / Good / Average / Poor) | Issues Identified (Delays / Quality / Safety / Environment) | Corrective Actions Taken | Responsible Officer / Dept. | Verified By (Registrar / Finance / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Vendor / Contractor Name | Name of the company/individual providing services. |
| Type of Service | Construction, AMC, IT, Housekeeping, Catering, Security, etc. |
| Contract / PO No. & Date | Unique identifier for contract or purchase order. |
| Scope of Work / Deliverables | Summary of responsibilities and expected outcomes. |
| Contract Value (₹) | Agreed cost/value of contract. |
| Compliance Status | If the vendor met contractual and policy requirements (Yes / No / Partial). |
| Performance Rating | Based on KPIs (timeliness, quality, safety, sustainability). |
| Issues Identified | Problems such as delays, poor quality, safety violations, environmental non-compliance. |
| Corrective Actions Taken | Actions by HEI (warnings, penalties, vendor replacement). |
| Responsible Officer / Dept. | Engineering, IT Cell, Facilities, Registrar, etc. |
| Verified By | Finance Officer, IQAC, Registrar, or Governing Body. |
| Remarks | Additional notes or future recommendations. |

Sample Entries

| S. No. | Vendor / Contractor Name | Type of Service | Contract / PO No. & Date | Scope of Work / Deliverables | Contract Value (₹) | Compliance Status | Performance Rating | Issues Identified | Corrective Actions Taken | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ABC Constructions Pvt. Ltd. | Civil Works – New Lab Block | PO-112/2025, 05-07-2025 | Construction of Physics Lab Block, 12,000 sq. ft. | 1.5 Cr | Partial | Good | Delay due to late material supply | Penalty applied for delay, revised timeline approved | Engineering Dept. | Registrar | Monitoring weekly |
| 2 | Green Power Solutions | AMC – Solar Power Plant | AMC/2025/09, 01-09-2025 | Annual maintenance of 200 kW solar PV system | 12 L | Yes | Excellent | None | Preventive maintenance done on time | Facilities Dept. | IQAC | Vendor retained for next year |
| 3 | SafeClean Services | Housekeeping – Hostels | PO-210/2025, 10-08-2025 | Hostel cleaning & waste disposal services | 8 L | No | Poor | Complaints on hygiene, irregular staff | Contract terminated, new tender floated | Facilities & Hostel Office | Governing Body | Blacklisted for 2 years |
| 4 | Secure Guard Pvt. Ltd. | Security Services | SEC/PO/2025/07, 15-07-2025 | Campus security & gate monitoring | 15 L | Yes | Good | Minor absenteeism in shifts | Additional guards deputed | Admin Dept. | Registrar | Performance improving |
| 5 | TechWorld Solutions | IT Hardware Supply | IT/PO/2025/08, 25-08-2025 | Supply of 50 laptops for labs | 25 L | Yes | Excellent | None | Full delivery on time | IT Cell | Finance Officer | AMC warranty linked |

### Monthly Vendor Performance Audit Report – [Month, Year]

Institution Name: ___________________________

Prepared By: ___________________________ (Vendor Review Committee / Facilities Dept.)

Reviewed By: ___________________________ (Registrar / IQAC / Governing Body)

## 1. Executive Summary

Total Vendors / Contractors Engaged: _______

Compliant Vendors (Yes): _______

Partial Compliance Vendors: _______

Non-Compliant Vendors (No): _______

Overall Compliance Rate: _______ %

High-Performing Vendors (Excellent / Good): _______

Low-Performing Vendors (Average / Poor): _______

Highlights:

Example: “Solar Plant AMC vendor achieved 100% compliance and timely service.”

Example: “Housekeeping vendor flagged for poor hygiene compliance – corrective actions initiated.”

Challenges:

Example: “Delay in IT equipment delivery due to vendor logistics issues.”

Example: “Security contractor had absenteeism in night shifts.”

## 2. Vendor-Wise Performance Summary

| S. No. | Vendor / Contractor Name | Type of Service | Contract Value (₹) | Compliance Status (Yes / No / Partial) | Performance Rating (Excellent / Good / Average / Poor) | Issues Identified | Corrective Actions Taken | Responsible Officer / Dept. | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | GreenPower Solutions | AMC – Solar Power Plant | 12 L | Yes | Excellent | None | Preventive maintenance completed on time | Facilities Dept. | IQAC | Retain vendor for next cycle |
| 2 | SafeClean Services | Housekeeping – Hostels | 8 L | No | Poor | Hygiene complaints, irregular staff | Contract terminated, new tender floated | Hostel Office | Governing Body | Vendor blacklisted |
| 3 | TechWorld Solutions | IT Hardware Supply | 25 L | Yes | Excellent | None | Full delivery on time | IT Cell | Finance Dept. | AMC warranty active |
| 4 | ABC Constructions Pvt. Ltd. | Civil Works – Lab Block | 1.5 Cr | Partial | Good | Delay in material supply | Penalty applied, revised deadline set | Engineering Dept. | Registrar | Progress under monitoring |
| 5 | SecureGuard Pvt. Ltd. | Security Services | 15 L | Yes | Good | Absenteeism in shifts | Additional guards deputed | Admin Dept. | Registrar | Performance improving |

## 3. Department-Wise Compliance Snapshot

| Department / Unit | No. of Vendors | Compliant (Yes) | Partial Compliance | Non-Compliant (No) | Compliance % |
| --- | --- | --- | --- | --- | --- |
| Facilities & Maintenance | ___ | ___ | ___ | ___ | ___% |
| IT & Digital Infrastructure | ___ | ___ | ___ | ___ | ___% |
| Hostels & Canteens | ___ | ___ | ___ | ___ | ___% |
| Security Services | ___ | ___ | ___ | ___ | ___% |
| Civil Works & Construction | ___ | ___ | ___ | ___ | ___% |

## 4. High-Priority Issues & Corrective Actions

| Issue ID | Vendor / Contractor | Problem Identified | Risk Level (Low / Medium / High) | Corrective Action Taken / Proposed | Responsible Officer | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| VND/2025/09/01 | SafeClean Services | Poor hostel hygiene | High | Terminated contract, floated new tender | Hostel Warden | 20-09-2025 | Completed |
| VND/2025/09/02 | ABC Constructions | Project delay | Medium | Penalty + revised timeline | Engineering Dept. | 30-09-2025 | In Progress |

## 5. Preventive & Corrective Measures Implemented

Introduced Vendor Performance Scorecards with weighted KPIs.

Initiated Quarterly Vendor Review Meetings.

Enforced penalties for non-compliance in contracts.

Preference to eco-friendly, ISO-certified vendors for sustainability.

Integrated vendor compliance into ERP for IQAC evidence tracking.

## 6. Action Taken Report (ATR) – Previous Month

IT vendor delivery issue resolved – laptops supplied on time.

Housekeeping vendor underperformed → contract reassigned.

Solar AMC vendor completed preventive maintenance on schedule.

## 7. Recommendations

Introduce digital vendor compliance tracking system linked with ERP.

Establish preferred vendor list based on long-term performance.

Link vendor ratings to contract renewal decisions.

Increase training & awareness for in-house vendor monitoring teams.

## 8. Verification & Approval

Prepared By: __________________ (Vendor Accountability Committee)

Verified By: __________________ (IQAC / Finance Officer / Registrar)

Approved By: __________________ (Principal / Governing Body)

### Civil Engineering Contracts Register

| Contract Number | Contract Date | Description of the Contract | Type of Contract (Construction / Renovation / AMC / Consultancy / Other) | Estimated Amount of the Contract (₹) | Contract Element | Contract Element Description | Responsible Officer / Dept. | Verified By (Registrar / Finance / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Contract Number | Unique identifier for tracking. |
| Contract Date | Date when agreement was signed. |
| Description of the Contract | Short summary (e.g., Construction of new academic block). |
| Type of Contract | Construction, Renovation, Maintenance (AMC), Consultancy, Turnkey project. |
| Estimated Amount of the Contract | Financial value sanctioned. |
| Contract Element | Specific component of work (e.g., Foundation, Electrical, HVAC, Plumbing). |
| Contract Element Description | Detailed explanation of the element (e.g., “RCC framed structure with earthquake resistance, 5-floor design”). |
| Responsible Officer / Dept. | Engineering Department / Facilities / Project In-Charge. |
| Verified By | Registrar, Finance Officer, IQAC, or Governing Body. |
| Remarks | Notes on progress, variations, or compliance issues. |

Sample Entries

| Contract Number | Contract Date | Description of the Contract | Type of Contract | Estimated Amount (₹) | Contract Element | Contract Element Description | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CE/2025/001 | 05-07-2025 | Construction of Physics Lab Block (G+2 floors) | Construction | 1.5 Cr | Foundation & Structure | RCC frame with seismic safety measures | Engineering Dept. | Registrar | In progress |
| CE/2025/002 | 15-07-2025 | Renovation of Hostel Block A bathrooms | Renovation | 35 L | Plumbing & Sanitation | Replacement of old pipelines with PVC, new fixtures | Facilities Manager | Finance Officer | Completed |
| CE/2025/003 | 01-08-2025 | Annual Maintenance of Academic Buildings | AMC | 20 L | General Maintenance | Painting, electrical rewiring, waterproofing | Maintenance Dept. | IQAC | Ongoing |
| CE/2025/004 | 20-08-2025 | Consultancy for Green Building Design – Library | Consultancy | 10 L | Sustainable Architecture | Solar integration, rainwater harvesting, natural ventilation | Project Consultant | Governing Body | Approved |
| CE/2025/005 | 05-09-2025 | Sports Complex Roof Waterproofing | Repair | 12 L | Roofing | Waterproof membrane, UV-resistant coating | Engineering Dept. | Registrar | To be completed by Oct 2025 |

### Contract Specifications Review & Recommendation Register

| Contract Number | Contract Date | Description of the Contract | Type of Contract (Construction / Renovation / AMC / Consultancy / Other) | Contract Specification (Key Terms / Technical Details) | Review Date | Review Status (Approved / Rejected / Revision Required) | Reviewed By (Dept. / Committee) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Contract Number | Unique ID assigned to each contract. |
| Contract Date | Agreement date. |
| Description of the Contract | Summary (e.g., Construction of new library block). |
| Type of Contract | Construction, Renovation, Maintenance (AMC), Consultancy, etc. |
| Contract Specification | Key details (materials, safety standards, sustainability clauses, deliverables). |
| Review Date | Date of review by the committee/department. |
| Review Status | Approved / Rejected / Revision Required. |
| Reviewed By | Committee name, Engineering Dept., Registrar, Finance, or IQAC. |
| Remarks | Notes about observations, required changes, or compliance references. |

Sample Entries

| Contract Number | Contract Date | Description of the Contract | Type of Contract | Contract Specification | Review Date | Review Status | Reviewed By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CE/2025/001 | 05-07-2025 | Construction of Physics Lab Block (G+2 floors) | Construction | RCC structure, earthquake resistance, fire safety, 200 kW solar integration | 10-07-2025 | Approved | Engineering Dept. | Vendor selected, approved with sustainability compliance |
| CE/2025/002 | 15-07-2025 | Renovation of Hostel Block A bathrooms | Renovation | Plumbing upgrade to PVC, dual flush toilets, sensor taps | 18-07-2025 | Approved | Facilities Manager | Supports Green Campus policy |
| CE/2025/003 | 01-08-2025 | AMC of Electrical Systems (campus-wide) | AMC | Annual preventive maintenance of transformers, DG sets, UPS | 05-08-2025 | Revision Required | Facilities & Safety Committee | Add clause for renewable energy backup |
| CE/2025/004 | 20-08-2025 | Consultancy for Green Building Design – Library | Consultancy | Energy-efficient design, rainwater harvesting, VRV HVAC | 25-08-2025 | Approved | Green Campus Cell | Meets ISO 14001 norms |
| CE/2025/005 | 05-09-2025 | Sports Complex Roof Waterproofing | Repair | Waterproofing membrane, UV resistant coating, 10-year warranty | 07-09-2025 | Approved | Registrar + Engineering Dept. |  |

# 30. Facility Audit & Inspection Policy

## 1. Purpose

To ensure that all facilities within the institution are safe, functional, sustainable, and compliant with regulatory, accreditation, and quality standards.

To provide a systematic mechanism for monitoring, documenting, and improving the physical, ICT, and service-related infrastructure of the University.

To support continuous improvement in alignment with institutional goals, NAAC/NBA accreditation criteria, and Green Campus commitments.

## 2. Scope

Applies to all facilities of the University:

Academic: Classrooms, laboratories, libraries, research centers, smart classrooms.

Student Amenities: Hostels, canteens, health centers, sports complexes, common areas.

Administrative: Offices, exam cells, meeting halls, staff rooms.

Digital Infrastructure: Data centers, ERP/LMS, ICT facilities, Wi-Fi, e-resources.

Utilities & Services: Power, water supply, HVAC, elevators, sanitation.

Green & Sustainable Infrastructure: Solar plants, rainwater harvesting, STPs, waste management units.

## 3. Objectives

Conduct systematic audits and inspections for safety, functionality, and compliance.

Identify gaps, risks, and improvement opportunities in facilities management.

Ensure documentation and evidence-based reporting for accreditation and statutory compliance.

Promote green, sustainable, and inclusive infrastructure across campus.

Strengthen student and staff well-being through reliable facilities.

## 4. Audit & Inspection Guidelines

### A. Audit Frequency

| Frequency | Scope |
| --- | --- |
| Monthly Inspections | Routine checks (housekeeping, ICT uptime, basic utilities). |
| Quarterly Audits | Department-level facilities, safety checks, hostel/canteen review. |
| Annual Audits | Comprehensive campus-wide audit (physical facilities, sustainability, ICT, health & safety). |

### B. Audit Parameters

| Parameter | Coverage |
| --- | --- |
| Safety & Compliance | Fire safety, electrical safety, hazardous materials, accessibility. |
| Functionality | Working condition of classrooms, labs, ICT systems, furniture. |
| Sustainability | Water conservation, renewable energy, waste management, green cover. |
| Accessibility | Facilities for differently-abled persons (ramps, lifts, signage). |
| Maintenance Records | AMC, service logs, repair history. |
| User Feedback | Students, faculty, and staff suggestions/complaints. |

### C. Audit Methodology

Visual inspections and physical verification.

Checklists for each facility category.

Review of records (maintenance logs, AMC registers, safety compliance).

Stakeholder interviews with facility users.

Rating & scoring system for benchmarking.

### D. Documentation

Maintain Facility Audit Register with detailed entries.

Submit Monthly / Quarterly / Annual Facility Audit Reports to IQAC & Governing Body.

Upload supporting evidence (photos, reports, vendor certificates) in digital repository/ERP.

### E. Corrective & Preventive Action

Non-compliance → Immediate notification to concerned departments.

Action Taken Report (ATR) must be submitted within 15 working days.

Persistent issues escalated to Registrar / Governing Body.

## 5. Roles & Responsibilities

| Role | Responsibility |
| --- | --- |
| Facility Audit Committee (FAC) | Oversees policy implementation. |
| Engineering & Facilities Dept. | Lead audits of physical and utility infrastructure. |
| IT Cell | Audit of ICT facilities and digital systems. |
| Green Campus Cell | Sustainability, energy, and environmental compliance. |
| IQAC | Integration of audit results with accreditation documentation. |
| Students & Staff | Provide feedback during inspections. |

## 6. Compliance & Accreditation Linkages

| Framework | Linkage |
| --- | --- |
| NAAC Criterion 4 | Infrastructure & learning resources. |
| NAAC Criterion 7 | Institutional values & best practices. |
| NBA Criterion 7 | Facilities adequacy & technical support. |
| UGC/AICTE Norms | Mandatory safety, ICT, and infrastructure standards. |
| NIRF (OI) | Infrastructure, inclusivity, and sustainability indicators. |
| QS I·GAUGE | Infrastructure, sustainability, and green campus ratings. |
| ISO 9001 | Quality management system. |
| ISO 14001 | Environmental management system. |
| ISO 45001 | Health and safety management. |
| SDGs 3, 4, 6, 7, 9, 11, 12, 13 | Health, education, clean water, energy, infrastructure, sustainable cities, responsible consumption, climate action. |

## 7. Review & Monitoring

Facility audits reviewed at monthly committee meetings.

Quarterly compliance reports submitted to IQAC.

Annual audit summary presented to the Governing Body.

Policy reviewed every 3 years or after major infrastructure expansion.

### Facility Audit & Inspection Compliance Register

| S. No. | Date of Audit | Facility / Location (Block / Hostel / Lab / Office / Utility) | Category (Academic / Student Amenities / Admin / ICT / Utilities / Green Infra) | Audit Parameter (Safety / Functionality / Sustainability / Accessibility / Maintenance) | Findings / Observations | Compliance Status (Yes / No / Partial) | Corrective Action Required | Responsible Officer / Dept. | Target Date | Verified By (IQAC / Registrar / FAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Date of Audit | When inspection was conducted. |
| Facility / Location | Building, block, lab, classroom, hostel, canteen, etc. |
| Category | Type of facility (Academic, Hostel, Sports, Admin, Digital Infra, Utilities, Green Infra). |
| Audit Parameter | Area of compliance (Safety, Functionality, Sustainability, Accessibility, Maintenance). |
| Findings / Observations | Inspection notes (e.g., Broken furniture, water leakage, missing fire extinguisher). |
| Compliance Status | Yes / No / Partial. |
| Corrective Action Required | Repairs, procurement, preventive maintenance, training. |
| Responsible Officer / Dept. | Facilities, IT Cell, Engineering, Hostel Warden, Green Campus Cell. |
| Target Date | Deadline for corrective action. |
| Verified By | IQAC, Registrar, Facility Audit Committee. |
| Remarks | Status updates or follow-ups. |

Sample Entries

| S. No. | Date of Audit | Facility / Location | Category | Audit Parameter | Findings / Observations | Compliance Status | Corrective Action Required | Responsible Officer | Target Date | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-09-2025 | Academic Block A – Classroom 204 | Academic | Safety | Fire extinguisher expired | No | Replace extinguisher | Facilities Dept. | 12-09-2025 | Registrar | Purchase order raised |
| 2 | 07-09-2025 | Hostel Block B | Student Amenities | Maintenance | Broken plumbing in bathrooms | Partial | Repair plumbing lines | Hostel Office | 15-09-2025 | IQAC | Vendor assigned |
| 3 | 10-09-2025 | Data Center – IT Block | ICT / Digital Infra | Functionality | UPS battery backup low | Partial | Replace batteries | IT Cell | 20-09-2025 | IQAC | AMC vendor notified |
| 4 | 12-09-2025 | Library | Academic | Accessibility | Ramp too steep for wheelchair access | No | Redesign ramp as per norms | Engineering Dept. | 30-09-2025 | FAC | Design submitted |
| 5 | 15-09-2025 | Sports Complex | Student Amenities | Sustainability | Lighting system uses non-LED bulbs | Partial | Retrofit LED fixtures | Facilities Dept. | 25-09-2025 | Green Campus Cell | To be completed in phases |
| 6 | 18-09-2025 | Solar Plant – Roof Top | Green Infra | Sustainability | Panels dusty, reducing efficiency | No | Cleaning & AMC contract | Green Campus Cell | 22-09-2025 | IQAC | Vendor engaged |

### Monthly Facility Audit & Inspection Report – [Month, Year]

Institution Name: ___________________________

Prepared By: ___________________________ (Facility Audit Committee / Facilities Dept.)

Reviewed By: ___________________________ (Registrar / IQAC / Governing Body)

## 1. Executive Summary

Total Facilities Audited: _______

Compliant Facilities: _______

Partially Compliant Facilities: _______

Non-Compliant Facilities: _______

Overall Compliance Rate: _______ %

Highlights:

Example: “95% compliance in Academic Blocks; LED retrofitting completed in Library.”

Example: “Hostel Block B bathrooms require urgent plumbing work.”

Challenges:

Example: “UPS replacement delayed due to vendor backlog.”

Example: “Accessibility issues in old administrative building ramps.”

## 2. Facility-Wise Audit Summary

| Facility / Location | Category (Academic / Hostel / Admin / ICT / Utilities / Green Infra) | Audit Parameter (Safety / Functionality / Sustainability / Accessibility / Maintenance) | Compliance Status (Yes / No / Partial) | Corrective Action Required | Responsible Officer / Dept. | Target Date | Status (Open / In Progress / Closed) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Academic Block A – Classroom 204 | Academic | Safety | No | Replace expired fire extinguisher | Facilities Dept. | 12-09-2025 | In Progress |
| Hostel Block B | Student Amenities | Maintenance | Partial | Repair plumbing & sanitation | Hostel Office | 15-09-2025 | Open |
| Data Center – IT Block | ICT | Functionality | Partial | Replace UPS batteries | IT Cell | 20-09-2025 | In Progress |
| Library | Academic | Accessibility | No | Redesign wheelchair ramp | Engineering Dept. | 30-09-2025 | Open |
| Sports Complex | Student Amenities | Sustainability | Partial | Retrofit LED lighting | Facilities Dept. | 25-09-2025 | In Progress |
| Solar Plant – Rooftop | Green Infra | Sustainability | No | Cleaning & AMC vendor engagement | Green Campus Cell | 22-09-2025 | Closed |

## 3. Compliance Statistics (Dashboard Snapshot)

| Category | No. of Facilities Audited | Compliant (Yes) | Partial | Non-Compliant (No) | Compliance % |
| --- | --- | --- | --- | --- | --- |
| Academic Facilities | ___ | ___ | ___ | ___ | ___% |
| Hostels & Student Amenities | ___ | ___ | ___ | ___ | ___% |
| Administrative Offices | ___ | ___ | ___ | ___ | ___% |
| ICT & Digital Infra | ___ | ___ | ___ | ___ | ___% |
| Utilities (Power/Water) | ___ | ___ | ___ | ___ | ___% |
| Green & Sustainable Infra | ___ | ___ | ___ | ___ | ___% |
| TOTAL | ___ | ___ | ___ | ___ | ___% |

## 4. High-Priority Issues & Corrective Actions

| Issue ID | Facility / Location | Problem Identified | Risk Level (Low / Medium / High) | Corrective Action Proposed | Responsible Officer | Target Resolution Date | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| FA/2025/09/01 | Hostel Block B | Plumbing leaks & hygiene issues | High | Emergency plumbing contract floated | Hostel Warden | 20-09-2025 | Open |
| FA/2025/09/02 | Library Ramp | Non-compliance with accessibility standards | High | Ramp redesign proposal sent | Engineering Dept. | 30-09-2025 | In Progress |

## 5. Preventive & Corrective Measures Implemented

Fire extinguisher replacement initiated across all classrooms.

Quarterly plumbing inspection scheduled for all hostels.

Solar panel cleaning AMC finalized to improve energy efficiency.

Green Campus LED retrofitting project underway.

Accessibility audit conducted in compliance with UGC/AICTE norms.

## 6. Action Taken Report (ATR) – Previous Month

Canteen waste disposal improved with new composting system.

Administrative building electrical rewiring completed.

Sports Complex ventilation issue resolved with new exhaust fans.

## 7. Recommendations

Establish IoT-based monitoring for utilities (power, water, HVAC).

Expand Green Campus initiatives (more solar, rainwater harvesting).

Implement digital Facility Audit Register in ERP for real-time compliance tracking.

Schedule quarterly mock safety drills for hostels and academic blocks.

## 8. Verification & Approval

Prepared By: __________________ (Facilities Manager / Audit Committee)

Verified By: __________________ (IQAC Coordinator / Safety Officer)

Approved By: __________________ (Registrar / Governing Body)

### Inspection Details Register – XXXX–YY

| Serial Number | Inspection Number | Inspection Date | Type of Inspection (Safety / Electrical / Fire / ICT / Facilities / Green Audit / NAAC/NBA Prep / Other) | Finding Serial | Finding Description | Responsible Person / Dept. for Rectification | Target Resolution Date | Status (Open / In Progress / Closed) | Verified By (IQAC / Registrar / Safety Officer) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record for the year. |
| Inspection Number | Unique code for tracking (e.g., FAC/2025/INS-01). |
| Inspection Date | Date when inspection was conducted. |
| Type of Inspection | Specify nature: safety, fire, ICT, NAAC, NBA, NIRF, Green Campus, etc. |
| Finding Serial | ID for each finding (linked to inspection). |
| Finding Description | Observation/defect noted (e.g., “Fire extinguisher expired in Block A”). |
| Responsible Person/Dept. | Who is accountable for corrective action (Facilities, IT Cell, Engineering, Hostel Office). |
| Target Resolution Date | Deadline to fix. |
| Status | Open, In Progress, or Closed. |
| Verified By | Officer/committee who confirms rectification. |
| Remarks | Notes, follow-ups, escalations. |

Sample Entries

| Serial Number | Inspection Number | Inspection Date | Type of Inspection | Finding Serial | Finding Description | Responsible Person / Dept. | Target Resolution Date | Status | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | FAC/2025/INS-01 | 05-07-2025 | Fire Safety | FS-001 | Fire extinguisher expired in Academic Block A | Facilities Dept. | 15-07-2025 | Closed | Safety Officer | New extinguisher installed |
| 2 | FAC/2025/INS-02 | 10-07-2025 | Electrical | EL-004 | UPS battery backup below threshold in IT Block | IT Cell | 20-07-2025 | In Progress | IQAC | Vendor AMC engaged |
| 3 | FAC/2025/INS-03 | 18-07-2025 | Hostel Sanitation | HS-002 | Plumbing leaks in Hostel Block B bathrooms | Hostel Office | 25-07-2025 | Open | Registrar | Vendor yet to complete repair |
| 4 | FAC/2025/INS-04 | 01-08-2025 | Green Campus Audit | GC-005 | Solar panels dusty, reducing output by 20% | Green Campus Cell | 05-08-2025 | Closed | IQAC | Cleaning AMC signed |
| 5 | FAC/2025/INS-05 | 12-08-2025 | NAAC Criterion 4 Prep | NAAC-01 | Library ramp slope non-compliant with accessibility norms | Engineering Dept. | 30-08-2025 | I |  |  |

### Pest Control Activities Register

| Date | Location (Block / Hostel / Canteen / Lab / Library / Grounds) | Litres of Pest Spray Used | Reason for Pest Control (Rodents / Mosquitoes / Termites / Cockroaches / General Hygiene) | Responsible Officer / Dept. | Pest Control Vendor / Team | Verified By (Facilities / Safety Officer / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Date | When pest control was carried out. |
| Location | Facility treated (hostel, canteen, classrooms, labs, playground, library). |
| Litres of Pest Spray Used | Quantity of chemical/eco-friendly spray applied. |
| Reason for Pest Control | Cause (mosquitoes, termites, rodents, cockroaches, seasonal hygiene drive). |
| Responsible Officer / Dept. | Facilities Manager, Hostel Warden, Canteen In-Charge. |
| Pest Control Vendor / Team | Name of contractor or in-house team. |
| Verified By | Registrar, Safety Officer, or IQAC. |
| Remarks | Notes on safety precautions, next scheduled treatment. |

Sample Entries

| Date | Location | Litres of Pest Spray Used | Reason for Pest Control | Responsible Officer / Dept. | Vendor / Team | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 05-07-2025 | Hostel Block A | 15 L | Mosquito breeding due to stagnant water | Hostel Warden | SafeSpray Pest Solutions | Safety Officer | Nets installed in windows |
| 12-07-2025 | Canteen & Kitchen | 10 L | Cockroach & rodent control | Canteen In-Charge | GreenShield Pest Services | Facilities Dept. | Food areas sanitized post-spray |
| 20-07-2025 | Library | 8 L | Termite treatment for wooden racks | Librarian | TermiCare Contractors | IQAC | Next inspection after 6 months |
| 25-07-2025 | Playground & Sports Complex | 12 L | Mosquito & insect control post-monsoon | Sports Facilities Manager | EcoPest Control Team | Registrar | Awareness drive for students |
| 01-08-2025 | Biology Lab | 5 L | Prevent chemical contamination pests | Lab In-Charge | In-house Maintenance Team | IQAC | Gloves/masks used during spraying |

### Furniture Repair Register

| Serial Number | Furniture Serial Number | Repair Date | Repair Code (PR = Preventive, CR = Corrective, AMC = Contract-based) | Repair Description (Type of work carried out) | Quantity Repaired | Cost (₹) | Responsible Person ID | Verified By (Dept. Head / Estate Office / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

Serial Number → Running record of repair activities.

Furniture Serial Number → Unique ID for each furniture item (e.g., FUR/2025/01).

Repair Date → Actual date of repair.

Repair Code → Categorization:

PR = Preventive (routine checks like tightening joints, polishing).

CR = Corrective (fixing damages like broken legs, re-upholstery).

AMC = Repairs covered under Annual Maintenance Contract.

Repair Description → Details (e.g., replacement of broken chair legs, polishing of desks, fixing lab stools).

Quantity Repaired → Number of items repaired.

Cost (₹) → Actual expenditure.

Responsible Person ID → Staff ID of the person overseeing/approving the repair.

Verified By → Verification by Department Head, Estate Office, or IQAC.

Remarks → Notes on vendor used, warranty, or follow-up needed.

Sample Entries

| Serial Number | Furniture Serial Number | Repair Date | Repair Code | Repair Description | Quantity | Cost (₹) | Responsible Person ID | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | FUR/2025/01 | 05-07-2025 | CR | Replacement of broken legs of classroom benches | 10 | 6,000 | EMP/EST/102 | Estate Office | Completed |
| 2 | FUR/2025/02 | 10-07-2025 | PR | Polishing and tightening of screws for faculty office tables | 5 | 2,500 | EMP/PHY/210 | HOD – Physics | Preventive maintenance |
| 3 | FUR/2025/03 | 15-07-2025 | AMC | Repair of hostel steel cots under AMC | 15 | 0 (covered under AMC) | EMP/HOS/305 | Hostel Warden | Vendor AMC record filed |
| 4 | FUR/2025/04 | 20-07-2025 | CR | Replacement of lab stools and backrest | 8 | 4,800 | EMP/CHE/114 | HOD – Chemistry | Certified after inspection |
| 5 | FUR/2025/05 | 25-07-2025 | CR | Upholstery repair for seminar hall chairs | 20 | 12,000 | EMP/ADM/101 | Registrar | Pending vendor invoice |

### Plumbing Maintenance Register

| Serial Number | Date of Plumbing Undertaken | Location (Block / Hostel / Lab / Canteen / Other) | Time Taken (Hours/Minutes) | Description of Plumbing Works Undertaken | Cost of Plumbing Undertaken (₹) | Responsible Officer / Dept. | Verified By (Estate Office / Facilities / Registrar) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record. |
| Date of Plumbing Undertaken | Exact date of work. |
| Location | Where the plumbing work was carried out (e.g., Hostel A bathroom, Science Block Lab). |
| Time Taken | Duration to complete the task. |
| Description of Plumbing Works Undertaken | Details (e.g., repair of leaking taps, replacement of pipes, unclogging drains). |
| Cost of Plumbing Undertaken (₹) | Total cost of labor and materials. |
| Responsible Officer / Dept. | Facilities Manager, Civil Engineer, Hostel Warden. |
| Verified By | Registrar, Estate Office, IQAC. |
| Remarks | Notes on pending work, warranty, or follow-up. |

Sample Entries

| Serial Number | Date of Plumbing Undertaken | Location | Time Taken | Description of Plumbing Works Undertaken | Cost of Plumbing Undertaken (₹) | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 05-07-2025 | Hostel Block A – Bathroom | 2 hrs | Replaced 5 leaking taps & repaired flush tanks | 4,800 | Hostel Warden | Estate Office | Completed |
| 2 | 08-07-2025 | Science Block – Lab 203 | 3 hrs | Replaced corroded water pipe & sink outlet | 6,200 | Civil Engineer | Registrar | Certified |
| 3 | 12-07-2025 | Central Canteen | 1.5 hrs | Fixed kitchen sink clogging and drain leakage | 3,500 | Facilities Dept. | IQAC | Quarterly check |
| 4 | 18-07-2025 | Admin Block – Washrooms | 4 hrs | Changed 10 faucets and repaired water pressure pump | 12,000 | Facilities Manager | Registrar | AMC vendor engaged |
| 5 | 22-07-2025 | Girls Hostel – Laundry Area | 2 hrs | Repaired underground pipeline leakage | 9,000 | Hostel Office | Estate Office | Preventive action |

### Playground & Indoor Stadium Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Playground / Stadium Serial | Type of Maintenance (Ground / Equipment / Electrical / Cleaning / Renovation / AMC / Other) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer / Dept. | Verified By (Sports Officer / Facilities / Registrar / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record of activities. |
| MS Number | Maintenance Schedule ID (e.g., MS/PG/2025/01). |
| Playground / Stadium Serial | Unique identifier for playground/indoor stadium facility. |
| Type of Maintenance | Ground leveling, grass cutting, equipment repair, lighting, pest control, AMC, renovation. |
| Date of Maintenance Scheduled | Planned schedule for upkeep. |
| Description of Maintenance | Details (e.g., leveling football field, repainting indoor court, repairing nets, floodlight servicing). |
| Estimated Cost of Maintenance (₹) | Projected cost of the work. |
| Date of Maintenance Undertaken | Actual completion date. |
| Responsible Officer / Dept. | Sports Officer, Facilities Manager, Estate Office. |
| Verified By | IQAC, Registrar, Sports Committee. |
| Remarks | Notes on vendor quality, AMC status, future requirements. |

Sample Entries

| Serial Number | MS Number | Playground / Stadium Serial | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/PG/2025/01 | PG-01 | Ground | 05-07-2025 | Grass cutting & leveling of football ground | 7,500 | 06-07-2025 | Sports Officer | Registrar | Completed |
| 2 | MS/PG/2025/02 | PG-02 | Equipment | 10-07-2025 | Repair of basketball poles & nets | 4,200 | 12-07-2025 | Sports Dept. | IQAC | Certified |
| 3 | MS/PG/2025/03 | ST-01 | Electrical | 15-07-2025 | Servicing of floodlights in indoor stadium | 15,000 | 16-07-2025 | Electrical Supervisor | Safety Officer | AMC valid |
| 4 | MS/PG/2025/04 | ST-01 | Cleaning | 20-07-2025 | Deep cleaning & repainting of badminton courts | 8,800 | 21-07-2025 | Facilities Dept. | Sports Officer | Quarterly activity |
| 5 | MS/PG/2025/05 | PG-03 | Renovation | 25-07-2025 | Upgradation of cricket pitch turf | 22,000 | 28-07-2025 | Estate Office | Registrar | Contractor assigned |

### Maintenance Agreements Register

| Serial Number | Company Name | Agreement Number | Agreement Date | Purpose of Agreement (AMC / Facilities / IT Systems / Labs / Electrical / Other) | Period of Agreement (From – To) | Cost of Agreement (₹) | Responsible Officer / Dept. | Verified By (Registrar / IQAC / Audit Team) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running entry of all agreements. |
| Company Name | External agency or vendor (e.g., ABC Elevators Pvt. Ltd.). |
| Agreement Number | Contract reference code. |
| Agreement Date | Date of signing/approval. |
| Purpose of Agreement | Specific area (e.g., Annual Maintenance of elevators, CCTV, HVAC, water pumps, lab equipment, firefighting systems). |
| Period of Agreement | Validity (start & end date). |
| Cost of Agreement (₹) | Total annual/contract value. |
| Responsible Officer / Dept. | Facilities, IT Cell, Estate Officer, Registrar. |
| Verified By | Registrar, IQAC, or Audit Committee. |
| Remarks | Notes on vendor performance, renewal needs, penalties, etc. |

Sample Entries

| Serial Number | Company Name | Agreement Number | Agreement Date | Purpose of Agreement | Period of Agreement | Cost of Agreement (₹) | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ABC Fire Safety Solutions | AMC/FFE/2025/01 | 01-07-2025 | Annual Maintenance of Firefighting Equipment | 01-07-2025 to 30-06-2026 | 1,20,000 | Safety Officer | Registrar | AMC includes refilling & training |
| 2 | XYZ IT Services Pvt. Ltd. | AMC/IT/2025/04 | 05-07-2025 | Maintenance of Data Center Servers & ERP | 05-07-2025 to 04-07-2026 | 3,50,000 | IT Cell | IQAC | Includes 24×7 monitoring |
| 3 | Green Campus Landscaping | AMC/GRN/2025/09 | 10-07-2025 | Lawn, Trees & Gardening Services | 10-07-2025 to 09-07-2026 | 2,00,000 | Estate Office | Audit Team | Monthly inspections required |
| 4 | CoolTech HVAC Systems | AMC/HVAC/2025/03 | 12-07-2025 | Air Conditioning System Maintenance (Academic Block A & Library) | 12-07-2025 to 11-07-2026 | 1,80,000 | Facilities Dept. | Registrar | Quarterly filter replacement |
| 5 | LiftCare Pvt. Ltd. | AMC/LFT/2025/06 | 15-07-2025 | Elevator Maintenance – Admin Block & Hostel Block | 15-07-2025 to 14-07-2026 | 2,50,000 | Estate Engineer |  |  |

# 31. Building Safety & Security Policy

## 1. Purpose

To establish a framework for ensuring safety, security, and risk management of all academic, administrative, residential, and research buildings within the University campus.

To safeguard students, faculty, staff, visitors, assets, and institutional reputation.

To comply with national building codes, fire safety standards, and accreditation requirements.

## 2. Scope

Applies to all academic blocks, hostels, libraries, laboratories, auditoriums, sports complexes, canteens, administrative buildings, and utility structures.

Covers structural safety, fire safety, electrical safety, physical security, access control, and emergency preparedness.

## 3. Policy Objectives

Maintain buildings in compliance with NBC, IS Codes, AICTE/UGC norms, and ISO standards.

Ensure safety audits, preventive maintenance, and risk assessments are conducted regularly.

Implement modern surveillance and access control systems for campus security.

Promote a safe, inclusive, and sustainable learning environment.

## 4. Key Provisions

### 4.1 Structural Safety

All buildings must conform to IS 456 (RCC design), seismic safety norms, and certified structural stability reports.

Annual structural audits by licensed engineers.

Preventive maintenance schedules for walls, roofs, flooring, plumbing, and drainage systems.

### 4.2 Fire & Electrical Safety

Installation and periodic inspection of:

Fire extinguishers, hydrants, sprinklers, and alarms.

Emergency exits with clear signage and lighting.

Lightning arrestors and surge protectors.

Fire drills conducted every 6 months.

Electrical audits conducted annually; faulty wiring and overloading strictly prohibited.

### 4.3 Security & Access Control

Deployment of trained security personnel with CCTV surveillance covering all critical areas.

Smart ID-based access for hostels, labs, data centers, and restricted facilities.

Visitor management system with logbooks and digital records.

24×7 campus security helpline and quick response team.

### 4.4 Emergency Preparedness

Institutional Disaster Management Plan covering fire, earthquake, flood, and health emergencies.

Emergency evacuation maps displayed in all buildings.

First-aid kits, stretchers, and trained first responders available at key locations.

Collaboration with local fire departments, hospitals, and police stations.

### 4.5 Sustainability & Safety

Integration of green building practices (solar panels, rainwater harvesting, waste management).

Use of eco-friendly and fire-resistant construction materials.

Universal accessibility (ramps, lifts, tactile flooring) for persons with disabilities.

## 5. Roles & Responsibilities

Registrar / Dean (Planning & Development): Policy oversight, approvals, and compliance monitoring.

Estate & Facilities Department: Implementation of safety audits, maintenance, and AMC compliance.

Safety Officer: Conducts regular inspections, drills, and incident investigations.

IT Cell: Oversees access control systems, surveillance, and digital monitoring.

Heads of Departments: Ensure departmental compliance with safety protocols.

## 6. Monitoring & Review

Quarterly safety audits by the Safety Committee.

Annual Building Safety & Security Report submitted to IQAC, Governing Body, and Accreditation Agencies.

Regular updates aligned with changes in NBC, UGC/AICTE, and ISO standards.

## 7. Accreditation & Standards Linkages

| Framework | Linkage |
| --- | --- |
| NAAC Criterion 4 & 7 | Infrastructure adequacy, institutional values, and best practices. |
| NBA Criterion 7 | Facility safety and maintenance. |
| UGC/AICTE Norms | Mandatory fire & building safety certifications. |
| NIRF (OI) | Infrastructure & campus safety. |
| QS I·GAUGE | Safety and security benchmarks. |
| ISO 45001 | Occupational health & safety management. |
| SDGs 3, 4, 11, 13 | Health, quality education, sustainable cities, climate resilience. |

### Building Safety & Security Compliance Register

| Serial Number | Building Number | Building Description (Block / Hostel / Library / Lab / Admin) | Type of Safety/Security Audit (Structural / Fire / Electrical / CCTV / Access Control / Other) | Date of Audit / Inspection | Findings / Observations | Compliance Status (Yes / No / Partial) | Corrective Actions Taken | Responsible Officer / Dept. | Verified By (Safety Officer / Registrar / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record. |
| Building Number | Unique building code (e.g., BLD/2025/01). |
| Building Description | Name/type of building (e.g., Science Block, Hostel A, Central Library). |
| Type of Audit | Structural stability, fire safety, electrical safety, CCTV, access control, etc. |
| Date of Audit / Inspection | When safety/security check was conducted. |
| Findings / Observations | Key outcomes (e.g., fire extinguisher expired, wiring overloaded). |
| Compliance Status | Whether fully compliant, not compliant, or partially compliant. |
| Corrective Actions Taken | Actions done (e.g., fire extinguisher refilled, wiring replaced). |
| Responsible Officer / Dept. | Estate Office, Safety Officer, Facilities Dept. |
| Verified By | Registrar, IQAC, Governing Body, external auditor. |
| Remarks | Notes on deadlines, AMC contracts, follow-up actions. |

Sample Entries

| Serial Number | Building Number | Building Description | Type of Audit | Date of Audit | Findings / Observations | Compliance Status | Corrective Actions Taken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BLD/2025/01 | Academic Block A | Fire Safety | 05-07-2025 | 5 extinguishers expired | No | Refilling done on 07-07-2025 | Safety Officer | Registrar | AMC renewed |
| 2 | BLD/2025/02 | Hostel Block B | Structural Audit | 10-07-2025 | Minor cracks in staircase wall | Partial | Repair scheduled for Aug-2025 | Civil Engineer | IQAC | Contractor assigned |
| 3 | BLD/2025/03 | Central Library | Electrical Safety | 15-07-2025 | Overloaded plug points in reading hall | No | Rewiring completed on 18-07-2025 | Electrical Supervisor | Safety Officer | Verified OK |
| 4 | BLD/2025/04 | IT Block – Data Center | Security (CCTV & Access) | 20-07-2025 | 2 cameras non-functional | Partial | Cameras replaced | IT Cell | Registrar | Continuous monitoring enabled |
| 5 | BLD/2025/05 | Sports Complex | Fire & Emergency | 25-07-2025 | Emergency exit signage missing | No | Signage installed on 27-07-2025 | Facilities Dept. | Safety Committee | Certified compliant |

### Monthly Building Safety & Security Report – [Month, Year]

## 1. Report Overview

Institution Name: ____________________

Month & Year: ____________________

Prepared By: ____________________

Verified By: ____________________

Submitted To: IQAC / Registrar / Governing Body

## 2. Summary of Audits & Inspections

| Type of Audit | Total Conducted | Fully Compliant (Yes) | Partial Compliance | Non-Compliant (No) | Corrective Actions in Progress | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Structural Safety |  |  |  |  |  |  |
| Fire Safety |  |  |  |  |  |  |
| Electrical Safety |  |  |  |  |  |  |
| Security & Access Control (CCTV/ID systems) |  |  |  |  |  |  |
| Emergency Preparedness (Evacuation/Drills) |  |  |  |  |  |  |

## 3. Building-wise Compliance Summary

| Building Number | Building Description | Last Audit Date | Type of Audit Conducted | Key Findings | Compliance Status (Yes/No/Partial) | Corrective Actions Taken / Planned | Responsible Officer | Verification Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BLD/2025/01 | Academic Block A | 05-07-2025 | Fire Safety | 5 expired extinguishers | No | Refilling completed on 07-07-2025 | Safety Officer | Verified |
| BLD/2025/02 | Hostel Block B | 10-07-2025 | Structural Audit | Minor cracks in walls | Partial | Repair scheduled for Aug-2025 | Civil Engineer | Pending |
| BLD/2025/03 | Central Library | 15-07-2025 | Electrical Audit | Overloaded plug points | No | Rewiring done on 18-07-2025 | Electrical Supervisor | Verified |

## 4. Incidents & Corrective Actions

| Date | Location | Incident Description | Impact (Safety / Security / Financial / Academic) | Corrective Actions Taken | Status (Closed / Pending) | Responsible Person |
| --- | --- | --- | --- | --- | --- | --- |
| 12-07-2025 | Hostel Block B | Minor electrical fire in room | Safety risk, hostel evacuation | Fire extinguished, rewiring done | Closed | Hostel Warden |
| 20-07-2025 | Sports Complex | CCTV blackout for 2 hrs | Security monitoring gap | Cameras replaced | Closed | IT Cell |
| 25-07-2025 | Admin Block | Unauthorized entry attempt | Security breach | Additional guard posted | Pending | Security Officer |

## 5. Risk Assessment & Mitigation

High Risks Identified:

Fire extinguisher lapses in classrooms.

Delayed structural repair in Hostel Block B.

Access control gaps in Admin Block.

Mitigation Actions:

Renewal of AMC for firefighting equipment.

Emergency contractor assigned for hostel repairs.

Proposal for biometric access system in sensitive areas.

## 6. Compliance Performance Dashboard

| Indicator | Target | Current Status | Compliance % |
| --- | --- | --- | --- |
| Fire Safety Compliance | 100% | 85% | 85% |
| Electrical Safety Compliance | 100% | 90% | 90% |
| Structural Audit Completion | 100% | 70% | 70% |
| Security System Functionality | 100% | 95% | 95% |

(Visual graphs can be added in Excel/Power BI: Pie charts for compliance status, bar graphs for building-wise gaps.)

## 7. Accreditation & Standards Alignment

| Framework | Alignment |
| --- | --- |
| NAAC Criterion 4 & 7 | Adequacy and safety of infrastructure. |
| NBA Criterion 7 | Facilities & student safety. |
| UGC/AICTE Norms | Fire & safety compliance certifications. |
| NIRF (OI) | Infrastructure and campus safety indicators. |
| QS I·GAUGE | Campus safety benchmarks. |
| ISO 45001 / NBC | Occupational health & safety; fire & building codes. |
| SDGs 3, 11, 13 | Health, safe cities, climate resilience. |

## 8. Recommendations

Immediate renewal of expired firefighting equipment.

Prioritize hostel structural repairs to avoid safety risks.

Upgrade CCTV and access control to cover blind spots.

Conduct a mock evacuation drill in the next quarter.

Initiate Green & Safe Campus certification to strengthen compliance.

### Firefighting Equipment Maintenance Register

| Serial Number | MS Number (Maintenance Schedule Ref.) | Firefighting Equipment Serial | Type of Maintenance (Preventive / Corrective / AMC / Emergency) | Date of Maintenance Scheduled | Description of Maintenance | Estimated Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer / Dept. | Verified By (Safety Officer / Estate Office / IQAC) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Column Explanation

| Column | Explanation |
| --- | --- |
| Serial Number | Running record of maintenance activities. |
| MS Number | Maintenance schedule ID (e.g., MS/FFE/2025/01). |
| Firefighting Equipment Serial | Unique ID for extinguishers, hydrants, sprinklers, alarms. |
| Type of Maintenance | Preventive (routine check), Corrective (repairs), AMC (contract-based), Emergency (fault fix). |
| Date of Maintenance Scheduled | Planned inspection or servicing date. |
| Description of Maintenance | Task details (e.g., refilling fire extinguishers, hydrant pressure check). |
| Estimated Cost of Maintenance (₹) | Cost projection. |
| Date of Maintenance Undertaken | Actual execution date. |
| Responsible Officer / Dept. | Safety Officer, Facilities Dept., Fire Officer, Estate Office. |
| Verified By | Registrar, IQAC, Fire Safety Committee. |
| Remarks | Delays, certification status, pending tasks. |

Sample Entries

| Serial Number | MS Number | Firefighting Equipment Serial | Type of Maintenance | Date of Maintenance Scheduled | Description of Maintenance | Cost of Maintenance (₹) | Date of Maintenance Undertaken | Responsible Officer | Verified By | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MS/FFE/2025/01 | FFE-EXT-001 | Preventive | 05-07-2025 | Refilling of CO₂ fire extinguishers (10 nos.) | 12,000 | 06-07-2025 | Fire Officer | Safety Committee | Completed |
| 2 | MS/FFE/2025/02 | FFE-HYD-003 | Preventive | 10-07-2025 | Hydrant line pressure check & lubrication of valves | 4,500 | 11-07-2025 | Facilities Dept. | Registrar | Certified OK |
| 3 | MS/FFE/2025/03 | FFE-SPR-002 | Corrective | 15-07-2025 | Replacement of sprinkler heads in Library Block | 8,200 | 16-07-2025 | Safety Officer | IQAC | Done after audit |
| 4 | MS/FFE/2025/04 | FFE-ALM-004 | AMC | 20-07-2025 | Annual servicing of fire alarm systems | 15,000 | 20-07-2025 | AMC Vendor | Estate Office | AMC valid till Dec 2025 |
| 5 | MS/FFE/2025/05 | FFE-EXT-010 | Emergency | 25-07-2025 | Urgent replacement of expired extinguishers in Hostel Block A | 10,000 | 25-07-2025 | Fire Officer | Registrar | Replaced immediately |

# 32. References

1.	Qualitative Metrics (QlM) and Quantitative Metrics (QnM) in Higher Educational Institutions (HEIs) : As Applied in NAAC, NBA, and NIRF Frameworks, Kindle Edition, ASIN  :  B0F6CR212X

https://amzn.in/d/gUWl02e

2.	Statutory and Non-Statutory Committees in Higher Educational Institutions (HEIs): Mandatory by regulatory bodies like AICTE, UGC, NAAC, NBA, etc. Kindle Edition, ASIN  :  B0F7GHJ863

https://amzn.in/d/gf0LiBn

3.	Empowering Academic Skilling and Mathematical Modelling through Technical Computing Languages in Higher Education Institutions, Kindle Edition, ASIN  :  B0FC7TNZNG

https://amzn.in/d/brIlQwZ

4.	Research and Development Transformation in Higher Education Institutions, Kindle Edition, ASIN  :  B0FB9QFS88

https://amzn.in/d/1uOQZ0o

5.	Institutional Development Plans in Higher Education: Empowering Institutions for the 21st Century Kindle Edition, ASIN  :  B0FDBV6D47

https://amzn.in/d/ckm98I2

6.	Comprehensive Academic System in Higher Education Institutions, Kindle Edition, ASIN  :  B0FF2HDMSG

https://amzn.in/d/dbPMaVL

7.	Structured Approaches to Teaching, Learning, and Student Engagement in HEIs, Kindle Edition, ASIN  :  B0DB8QK1B4

https://amzn.in/d/7jNZrQo

8.	Admission Process in Indian Higher Education: A Comprehensive Institutional Guide Kindle Edition, ASIN  :  B0FFNCPP6P,

https://amzn.in/d/0XO6APq

9.	Strategic Implementation of Best Practices in HEIs: Enhancing Quality, Innovation, and Impact, Kindle Edition, ASIN  :  B0CZP85QK7

https://amzn.in/d/5uj5Lkb

10.	National Education Policy 2020: A Transformative Roadmap for Holistic, Inclusive, and Future-Ready Learning in India, Kindle Edition, ASIN  :  B0F1L321B6

https://amzn.in/d/eugIo4y

11.	Outcome-Based Education in Higher Learning: Philosophy, Design, and Impact, Kindle Edition, ASIN  :  B0FPCB5GHH

https://amzn.in/d/3oGmnue

12.	QS I-GAUGE: An Independent Rating Framework for Indian Higher Education, Kindle Edition, ASIN  :  B0FN4WBGLT

https://amzn.in/d/2mlYjez

13.	NBA Accreditation Process for Tier-1 Institutions – Criterion 1: Outcome-Based Curriculum: Vision, Mission, PEOs, Curriculum Structure, CO–PO–PSO Mapping, and Articulation Framework, Kindle Edition, ASIN  :  B0FPDCG13D

https://amzn.in/d/4fcc0jE

14.	NBA Accreditation Process for Tier-1 Institutions – Criterion 2: Outcome-Based Teaching–Learning (OBTL): A Framework of Systematic Processes, Evidence-Based Practices, and CQI in OBE Kindle Edition, ASIN  :  B0FPG4KFB1

https://amzn.in/d/g1bchNl

15.	Systematic and Transparent Feedback Mechanism in Higher Education Institutions : Ensuring Continuous Quality Improvement (CQI) and Strengthening NAAC/NBA Accreditation Kindle Edition,ASIN  :  B0FPGJ77RC,

https://amzn.in/d/emeRiJ3

16.	Internal Quality Assurance Cell (IQAC): A Framework for Sustaining and Enhancing Quality in Higher Education Kindle Edition, ASIN  :  B0FPLRX4YF

https://amzn.in/d/8n5aQRb

17.	Comprehensive Guide for Teaching-Learning and Evaluation under NAAC Accreditation – Criterion 2 for Higher Education Institutions Kindle Edition, ASIN  :  B0FPRBZ2JH

https://amzn.in/d/37LtI4z

18.	Curricular Aspects under NAAC Accreditation – Criterion 1 for Higher Education Institutions: Ensuring Academic Flexibility, Curriculum Enrichment, and Alignment with NEP 2020 Kindle Edition,ASIN  :  B0FPR342MM

https://amzn.in/d/0S10khp

19.	National Institutional Ranking Framework (NIRF): Transforming Indian Higher Education: A Comprehensive Analysis of Methodology, Parameters, and Impact,Kindle Edition, ASIN  :  B0FQ5MNVGR

https://amzn.in/d/hhrZvux

20.	NBA Accreditation Process for Tier-1 Institutions – Criterion 3: Outcome-Based Assessment: Framework for Evaluating COs, POs, and PSOs in Compliance with NBA Accreditation Standards, Kindle Edition, ASIN  :  B0FQBQ21S1

https://amzn.in/d/a2nGhnx

21.	NBA Accreditation Process for Tier-1 Institutions – Criterion 9: Student Support System and Governance: A Framework for Student Support, Governance, and Institutional Accountability in HEIs, Kindle Edition, ASIN  :  B0FQJ2KHPC

https://amzn.in/d/dYBQik0

22.	NBA Accreditation Process for Tier-1 Institutions – Criterion 8: Continuous Improvement: Closing the Loop in Outcome-Based Education for Quality Enhancement, Kindle Edition, ASIN  :  B0FQJ75CNV

https://amzn.in/d/1Vco5Ye

23.	Holistic Performance Appraisal and Development: Driving Continuous Quality in Higher Education Institutions, Kindle Edition, ASIN:  B0FQN2S8WH

https://amzn.in/d/bipHsu8

24.	NBA Accreditation Process for Tier-1 Institutions – Criterion 7: Facilities and Technical Support: A Comprehensive Guide to Facilities, Laboratories, and Technical Support in Accreditation, Kindle Edition, ASIN:  B0FQPHYBRC

https://amzn.in/d/9kAkdLZ

25.	Comprehensive Code of Ethics and Conduct for Students in Higher Education Institutions, Kindle Edition, ASIN:  B0FQS7V248

https://amzn.in/d/6jfKQnI

26.	Industry Internship Program: Structure, Guidelines, and Evaluation Framework: Enhancing Employability and Industry Linkages in HEIs, Kindle Edition, ASIN  :  B0FQLF8385

https://amzn.in/d/8scRAIj

27.	Energy Management and Audit in Indian Educational Institutions: A Blueprint for Sustainable Growth: Mapping Institutional Energy Management to NAAC Criteria, SDG Goals, and QS I-GAUGE Standards, Kindle Edition, ASIN:  B0FQZNSBJ5

https://amzn.in/d/eKx5NC9

28.	Financial Operations and Management Policy in Higher Education Institutions: A Comprehensive Framework Linking Finance Policy to NAAC, NBA, NIRF, QS I-GAUGE, and SDGs, Kindle Edition, ASIN:  B0FR1P216J

https://amzn.in/d/8st88zc

29.	NBA Accreditation Process for Tier-1 Institutions – Criterion 6: Faculty Contribution: Recognizing Professional Development, Research, and Institutional Growth, Kindle Edition, ASIN  :  B0FR1JLR73

https://amzn.in/d/98KXO4k

30.	Comprehensive Policy Framework for Sustainable Water Management, Conservation, and Auditing in Higher Education Institutions, Kindle Edition, ASIN:  B0FR31X1BC

https://amzn.in/d/3i40Lf1

31.	NBA Accreditation Process for Tier-1 Institutions – Criterion 5: Faculty Information: Evaluating Faculty Strength, Qualifications, and Development in Higher Education Institutions, Kindle Edition, ASIN:  B0FR3DBZ3B

https://amzn.in/d/a1344lj

32.	NBA Accreditation Process for Tier-1 Institutions – Criterion 4: Students’ Performance: Evaluating Enrolment, Academic Success, and Career Outcomes in Higher Education, Kindle Edition, ASIN:  B0FR3JHMXS

https://amzn.in/d/dry9lRW

33.	Comprehensive Framework for Student Grievance, Counselling, Anti-Ragging, and Internal Complaints in HEIs: Mapping Student Support and Protection Mechanisms to NAAC, NBA, NIRF, QS I-GAUGE, and SDGs, Kindle Edition, ASIN:  B0FR58L1G8

https://amzn.in/d/gXvdCpx

34.	Student Affairs Policy for Higher Education Institutions (HEIs): Aligning Student Development with NAAC, NBA, NIRF, QS I-GAUGE, and SDG Standards, Kindle Edition, ASIN:  B0FR4GW6RB

https://amzn.in/d/2zTHV0B

35.	Comprehensive Guide for Institutional Values and Best Practices under NAAC Accreditation – Criterion 7 for Higher Education Institutions: Frameworks, Case Studies, and Evidence for Quality Assurance, Kindle Edition, ASIN:  B0FR7WJQJ2

https://amzn.in/d/6gMGSy4

36.	Comprehensive Guide for Governance, Leadership and Management under NAAC Accreditation – Criterion 6 for Higher Education Institutions, Kindle Edition, ASIN:  B0FR8KKXS4

https://amzn.in/d/5dscvoN

37.	Comprehensive Guide for Research, Innovations, and Extension under NAAC Accreditation – Criterion 3 for Higher Education Institutions: Quality Assurance in Research, Innovation, and Extension, Kindle Edition, ASIN:  B0FR9GFTST

https://amzn.in/d/06MFYRq

38.	Comprehensive Guide for Student Support and Progression under NAAC Accreditation – Criterion 5 for Higher Education Institutions, Kindle Edition, ASIN:  B0FRDZKYNG

https://amzn.in/d/3zP8hvF

39.	Comprehensive Guide for Infrastructure and Learning Resources under NAAC Accreditation – Criterion 4 for Higher Education Institutions: Sustainable, Inclusive, and Future-Ready Learning Ecosystems, Kindle Edition, ASIN:  B0FRFFRDPB

https://amzn.in/d/5xlUunj

40.	Extension and Outreach Services in Higher Education: Leadership, Governance, and Community Engagement Strategies, Kindle Edition, ASIN:  B0FRLHXR1G,

https://amzn.in/d/9NE2wGs

41.	Central Library: Policies, Procedures, and Best Practices in Higher Education Institutions: Aligning with NAAC, NIRF, NBA, and QS-I Gauge Standards, Kindle Edition, ASIN:  B0FRMKX2BX

https://amzn.in/d/9Qfr8S0

42.	Institutional Policy on Publishing in Higher Education Institutions: Frameworks, Standards, and Best Practices for NAAC, NBA, NIRF, and QS I-GAUGE Compliance, Kindle Edition, ASIN  :  B0FRRBM6HD

https://amzn.in/d/0bYPpGu

43.	IT Services in Higher Education Institutions (HEIs): Policies, Registers, and Best Practices : Aligning IT Services in HEIs with NAAC, NBA, NIRF, and QS I-GAUGE Accreditation Frameworks, Kindle Edition,ASIN  :  B0FRRD3W8C

https://amzn.in/d/5wXPUFs